## IT
Import | [7 empty] | IT | Export
Day | Position | Volume of Reduction (MW) | Exceptional Contingencies or Forced Outages | Detailed Reason(s) | Out Domain | Coordinated/Individual | Invoked by |  | Day | Position | Volume of Reduction (MW) | Exceptional Contingencies or Forced Outages | Detailed Reason(s) | In Domain | Coordinated/Individual | Invoked by
2022-01-22 | 8 | 160 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | CH | Coordinated | CH
2022-01-22 | 9 | 160 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | CH | Coordinated | CH
2022-01-22 | 10 | 160 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | CH | Coordinated | CH
2022-01-22 | 11 | 160 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | CH | Coordinated | CH
2022-01-22 | 12 | 160 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | CH | Coordinated | CH
2022-01-22 | 13 | 160 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | CH | Coordinated | CH
2022-01-22 | 14 | 160 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | CH | Coordinated | CH
2022-01-22 | 15 | 160 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | CH | Coordinated | CH
2022-01-22 | 16 | 160 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | CH | Coordinated | CH
2022-01-22 | 17 | 160 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | CH | Coordinated | CH
2022-01-22 | 18 | 160 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | CH | Coordinated | CH
2022-01-22 | 19 | 160 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | CH | Coordinated | CH
2022-01-22 | 20 | 160 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | CH | Coordinated | CH
2022-01-22 | 21 | 160 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | CH | Coordinated | CH
2022-01-22 | 22 | 160 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | CH | Coordinated | CH
2022-01-22 | 23 | 160 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | CH | Coordinated | CH
2022-01-22 | 24 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | CH | Coordinated | CH
2022-01-23 | 1 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | CH | Coordinated | CH
2022-01-23 | 2 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | CH | Coordinated | CH
2022-01-23 | 3 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | CH | Coordinated | CH
2022-01-23 | 4 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | CH | Coordinated | CH
2022-01-23 | 5 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | CH | Coordinated | CH
2022-01-23 | 6 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | CH | Coordinated | CH
2022-01-23 | 7 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | CH | Coordinated | CH
2022-01-23 | 8 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | CH | Coordinated | CH
2022-01-23 | 9 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | CH | Coordinated | CH
2022-01-23 | 10 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | CH | Coordinated | CH
2022-01-23 | 11 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | CH | Coordinated | CH
2022-01-23 | 12 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | CH | Coordinated | CH
2022-01-23 | 13 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | CH | Coordinated | CH
2022-01-23 | 14 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | CH | Coordinated | CH
2022-01-23 | 15 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | CH | Coordinated | CH
2022-01-23 | 16 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | CH | Coordinated | CH
2022-01-23 | 17 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | CH | Coordinated | CH
2022-01-23 | 18 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | CH | Coordinated | CH
2022-01-23 | 19 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | CH | Coordinated | CH
2022-01-23 | 20 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | CH | Coordinated | CH
2022-01-23 | 21 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | CH | Coordinated | CH
2022-01-23 | 22 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | CH | Coordinated | CH
2022-01-23 | 23 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | CH | Coordinated | CH
2022-01-23 | 24 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | CH | Coordinated | CH
2022-01-24 | 1 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | CH | Coordinated | CH
2022-01-24 | 2 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | CH | Coordinated | CH
2022-01-24 | 3 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | CH | Coordinated | CH
2022-01-24 | 4 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | CH | Coordinated | CH
2022-01-24 | 5 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | CH | Coordinated | CH
2022-01-24 | 6 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | CH | Coordinated | CH
2022-01-24 | 7 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | CH | Coordinated | CH
2022-02-09 | 10 | 1000 | n.a. | urgent work: migration of the protection coupling (380 kV Sils-Soazza) | CH | Coordinated | CH
2022-02-09 | 11 | 1000 | n.a. | urgent work: migration of the protection coupling (380 kV Sils-Soazza) | CH | Coordinated | CH
2022-02-09 | 12 | 1000 | n.a. | urgent work: migration of the protection coupling (380 kV Sils-Soazza) | CH | Coordinated | CH
2022-02-09 | 13 | 1000 | n.a. | urgent work: migration of the protection coupling (380 kV Sils-Soazza) | CH | Coordinated | CH
2022-02-09 | 14 | 1000 | n.a. | urgent work: migration of the protection coupling (380 kV Sils-Soazza) | CH | Coordinated | CH
2022-02-09 | 15 | 1000 | n.a. | urgent work: migration of the protection coupling (380 kV Sils-Soazza) | CH | Coordinated | CH
2022-02-09 | 16 | 1000 | n.a. | urgent work: migration of the protection coupling (380 kV Sils-Soazza) | CH | Coordinated | CH
2022-02-09 | 17 | 1000 | n.a. | urgent work: migration of the protection coupling (380 kV Sils-Soazza) | CH | Coordinated | CH

## FR
Import | [6 empty] | FR | Export
Day | Position | Volume of Reduction (MW) | Exceptional Contingencies or Forced Outages | Detailed Reason(s) | Coordinated/Individual | Invoked by |  | Day | Position | Volume of Reduction (MW) | Exceptional Contingencies or Forced Outages | Detailed Reason(s) | Coordinated/Individual | Invoked by

## CH
Import | [6 empty] | CH | Export
Day | Position | Volume of Reduction (MW) | Exceptional Contingencies or Forced Outages | Detailed Reason(s) | Coordinated/Individual | Invoked by |  | Day | Position | Volume of Reduction (MW) | Exceptional Contingencies or Forced Outages | Detailed Reason(s) | Coordinated/Individual | Invoked by
[8 empty] | 2022-01-22 | 8 | 160 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | Coordinated | CH
[8 empty] | 2022-01-22 | 9 | 160 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | Coordinated | CH
[8 empty] | 2022-01-22 | 10 | 160 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | Coordinated | CH
[8 empty] | 2022-01-22 | 11 | 160 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | Coordinated | CH
[8 empty] | 2022-01-22 | 12 | 160 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | Coordinated | CH
[8 empty] | 2022-01-22 | 13 | 160 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | Coordinated | CH
[8 empty] | 2022-01-22 | 14 | 160 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | Coordinated | CH
[8 empty] | 2022-01-22 | 15 | 160 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | Coordinated | CH
[8 empty] | 2022-01-22 | 16 | 160 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | Coordinated | CH
[8 empty] | 2022-01-22 | 17 | 160 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | Coordinated | CH
[8 empty] | 2022-01-22 | 18 | 160 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | Coordinated | CH
[8 empty] | 2022-01-22 | 19 | 160 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | Coordinated | CH
[8 empty] | 2022-01-22 | 20 | 160 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | Coordinated | CH
[8 empty] | 2022-01-22 | 21 | 160 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | Coordinated | CH
[8 empty] | 2022-01-22 | 22 | 160 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | Coordinated | CH
[8 empty] | 2022-01-22 | 23 | 160 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | Coordinated | CH
[8 empty] | 2022-01-22 | 24 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | Coordinated | CH
[8 empty] | 2022-01-23 | 1 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | Coordinated | CH
[8 empty] | 2022-01-23 | 2 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | Coordinated | CH
[8 empty] | 2022-01-23 | 3 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | Coordinated | CH
[8 empty] | 2022-01-23 | 4 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | Coordinated | CH
[8 empty] | 2022-01-23 | 5 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | Coordinated | CH
[8 empty] | 2022-01-23 | 6 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | Coordinated | CH
[8 empty] | 2022-01-23 | 7 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | Coordinated | CH
[8 empty] | 2022-01-23 | 8 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | Coordinated | CH
[8 empty] | 2022-01-23 | 9 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | Coordinated | CH
[8 empty] | 2022-01-23 | 10 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | Coordinated | CH
[8 empty] | 2022-01-23 | 11 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | Coordinated | CH
[8 empty] | 2022-01-23 | 12 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | Coordinated | CH
[8 empty] | 2022-01-23 | 13 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | Coordinated | CH
[8 empty] | 2022-01-23 | 14 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | Coordinated | CH
[8 empty] | 2022-01-23 | 15 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | Coordinated | CH
[8 empty] | 2022-01-23 | 16 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | Coordinated | CH
[8 empty] | 2022-01-23 | 17 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | Coordinated | CH
[8 empty] | 2022-01-23 | 18 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | Coordinated | CH
[8 empty] | 2022-01-23 | 19 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | Coordinated | CH
[8 empty] | 2022-01-23 | 20 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | Coordinated | CH
[8 empty] | 2022-01-23 | 21 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | Coordinated | CH
[8 empty] | 2022-01-23 | 22 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | Coordinated | CH
[8 empty] | 2022-01-23 | 23 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | Coordinated | CH
[8 empty] | 2022-01-23 | 24 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | Coordinated | CH
[8 empty] | 2022-01-24 | 1 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | Coordinated | CH
[8 empty] | 2022-01-24 | 2 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | Coordinated | CH
[8 empty] | 2022-01-24 | 3 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | Coordinated | CH
[8 empty] | 2022-01-24 | 4 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | Coordinated | CH
[8 empty] | 2022-01-24 | 5 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | Coordinated | CH
[8 empty] | 2022-01-24 | 6 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | Coordinated | CH
[8 empty] | 2022-01-24 | 7 | 120 | n.a. | prolonged outage period (220 kV Magadino-Soazza) | Coordinated | CH
[8 empty] | 2022-02-09 | 10 | 1000 | n.a. | urgent work: migration of the protection coupling (380 kV Sils-Soazza) | Coordinated | CH
[8 empty] | 2022-02-09 | 11 | 1000 | n.a. | urgent work: migration of the protection coupling (380 kV Sils-Soazza) | Coordinated | CH
[8 empty] | 2022-02-09 | 12 | 1000 | n.a. | urgent work: migration of the protection coupling (380 kV Sils-Soazza) | Coordinated | CH
[8 empty] | 2022-02-09 | 13 | 1000 | n.a. | urgent work: migration of the protection coupling (380 kV Sils-Soazza) | Coordinated | CH
[8 empty] | 2022-02-09 | 14 | 1000 | n.a. | urgent work: migration of the protection coupling (380 kV Sils-Soazza) | Coordinated | CH
[8 empty] | 2022-02-09 | 15 | 1000 | n.a. | urgent work: migration of the protection coupling (380 kV Sils-Soazza) | Coordinated | CH
[8 empty] | 2022-02-09 | 16 | 1000 | n.a. | urgent work: migration of the protection coupling (380 kV Sils-Soazza) | Coordinated | CH
[8 empty] | 2022-02-09 | 17 | 1000 | n.a. | urgent work: migration of the protection coupling (380 kV Sils-Soazza) | Coordinated | CH

## AT
Import | [6 empty] | AT | Export
Day | Position | Volume of Reduction (MW) | Exceptional Contingencies or Forced Outages | Detailed Reason(s) | Coordinated/Individual | Invoked by |  | Day | Position | Volume of Reduction (MW) | Exceptional Contingencies or Forced Outages | Detailed Reason(s) | Coordinated/Individual | Invoked by

## SI
Import | [6 empty] | SI | Export
Day | Position | Volume of Reduction (MW) | Exceptional Contingencies or Forced Outages | Detailed Reason(s) | Coordinated/Individual | Invoked by |  | Day | Position | Volume of Reduction (MW) | Exceptional Contingencies or Forced Outages | Detailed Reason(s) | Coordinated/Individual | Invoked by