## Slide 1
Core Parallel Run KPI report
January 2022
Core FB MC

## Slide 2: Parallel Run KPI report
Introduction
Context
  According to Article 28(4) of the Core FB DA CCM, Core TSOs
    shall continuously monitor the effects and the performance of the application of this methodology during the parallel run
    shall develop, in coordination with the Core regulatory authorities, the Agency and stakeholders, the monitoring and performance criteria and report on the outcome of this monitoring on quarterly basis in a report
  Core TSOs & NEMOs have aligned on the
    Specific KPIs with NRAs and this alignment resulted in the format of this KPI report
    Frequency of provision of the report, which was increased to monthly, going beyond formal requirements
    Agreement to have the increased frequency reflected in the Core CCM amendment (November 2020)
In the next slide the overview of the KPIs covered in this monthly KPI report is provided:
  KPIs related to Capacity Calculation in blue
  KPIs related to Market Coupling simulations in green

## Slide 3: Parallel Run KPI report
Overview of Core FB MC Parallel Run KPIs
  Adjustment for minimum RAM and LTA Inclusion | Slide 7 - 34
    1. Average maximum AMR per CNE per BD
    2. Average maximum AMR per TSO per BD
    3. Average maximum AMR+LTAmargin per CNE per BD
    4. Average maximum AMR+LTAmargin per TSO per BD
  TSOs’ adjustment after validation | Slide 35
    5. Share of MTUs with intervention per TSO
    6. Total IVA applied per BD for each CNE affected by TSO intervention (The information is available on JAO).
  Power System Impact Analysis | Slide 36 - 60
    13. Min & max Net Position per BZ hub
    14. Virtual margins at MCP per TSO, per BD
    15. Flow deviation on non-Core borders
  Non-costly Remedial Action Optimization Analysis | Slide 61 - 68
    16. Relative Time Share of Applied RAs, by TSO, Type and Mode
    17. Most limiting CNEC per TSO (NRAO)
    18. Average variation of relative RAM before and after NRAO
Market Impact Assessment (FB Plain) | Slide 69 - 221
    7. Most often presolved CNEs (top 20)
    8a. Most limiting CNEs (top 20)
    8b. Allocation Constraints
    9. Clearing prices, price spread and price convergence
    10. CNECs with highest non-zero shadow price in each hour per day
    11. Core Social Welfare
    12. Paradoxically Rejected Block orders (PRB)

## Slide 4: Parallel Run KPI report
Context
The progressive transition towards ext//run started on the 16th of November 2020 and since 14th of April 2021 TSOs publish 7 out of 7 Business Days.
A Reading Guide with a description of the KPIs is available on JAO.
The KPI report contains 26 Business days with successful market coupling simulation.
Normal Business Days are highlighted in green. Business Days with Default Flow-based Parameters are highlighted in blue, Business Days for which the MC simulation failed* are marked in yellow, Business days with failed CC marked in red):
Reporting period (Business days covered)
*MC simulations during the ext//run are performed using Simulation Facility (SF). For these days, SF was not able to find a solution in the required timings.
January ‘22 |  |  |  |  |  | 
M | T | W | T | F | S | S
 |  |  |  |  | 1 | 2
3 | 4 | 5 | 6 | 7 | 8 | 9
10 | 11 | 12 | 13 | 14 | 15 | 16
17 | 18 | 19 | 20 | 21 | 22 | 23
24 | 25 | 26 | 27 | 28 | 29 | 30
31 |  |  |  |  |  | 

## Slide 5: Parallel Run KPI report
Overview limitations & assumptions
Core project parties maintain an overview on the JAO website with the assumptions and limitations for specific Business days during the parallel run – see JAO website (LINK).
Note:Unknown issues can be present and can be discovered in the future as analysis continues. This might lead to the ex-post conclusion that results for certain BDs are invalid. German TSO names uses abbreviations: D2: Tennet GmbH, D4: TransnetBW, D7: Amprion, D8: 50Hertz
Description of issue / limitation | FROM BD | TO BD
An issue occurred that prevented Elia applying minRAM reduction on (some of) its CNECs in relation to excessive loopflows. Impacted BDs: Jan 3, Jan 5, Jan 7, Jan 9, Jan 17, Jan 23, Jan 24, Jan 28, Jan 30 | 01/01/2021 | TBD
Following issues with the individual validation, fallback has been activated to reduce capacities as explained in the assumptions list. Until August, Elia experienced inconsistencies in the application of fallback capacities, leading to sometimes smaller values that were applied compared to the assumptions list. Impacted BDs (TSOs): Jan 9 (Elia), Jan 11 (APG), Jan 17 (DAVinCy TSOs), Jan 27 (DAVinCy TSOs), Jan 29 (DAVinCy TSOs), Jan 31 (DAVinCy TSOs), Jan 31 (Elia) | 16/11/2020 | TBD
BDs since 01/01/2022 for which ultimate fallback was applied for the following BDs by the following TSOs, leading to results similar to DFP domains: Jan 11 (APG, 24 TS), Jan 17 (DAVinCy TSOs, 24 TS), Jan 27 , Jan 29, Jan 31 (DAVinCy TSOs, 24 TS) | 01/01/2022 | 02/03/2022
An issue occurred resulting in overestimated capacities, as both individual validation and the fallback for individual validation was not applied. Impacted BDs (TSOs): Jan 7 (Elia), Jan 18 (Elia), Jan 31 (Elia) | 01/09/2021 | TBD
There is a modelling issue for the power exchange between DE and DK2 via the Combined Grid Solution (HVDC). This issue inhibits all shifts of this net position for loop-flow and Fuaf calculation. | 15/04/2021 | TBD
Due to issue in CB file replacement, multiple TSOs had a limitation leading to 2021 minRAM values being applied. Impacted TSOs: TTG (02-04/01), Amprion (03-05/01, 07/01) | 01/01/2022 | 07/01/2022
A quality issue in the CGM for several TS has led to significant misestimation of capacities (probably overestimation of DE import and other countries export capability + underestimation of DE export and other countries import capability) Impacted BDs (TS): Jan 19 (3 TS) | 01/12/2021 | 27/03/2022

## Slide 6: Parallel Run KPI report
Overview limitations & assumptions (part II)
Core project parties maintain an overview on the JAO website with the assumptions and limitations for specific Business days during the parallel run – see JAO website (LINK).
For the reporting period TSOs apply the following Ramr values:
TSOs | Ramr values |  | Comments
 | BDs | Value | 
APG | 01/12/2021 - 30/11/2022 | 28.7% | In line with AT Action Plan
CEPS | Remaining EXT // run 2022 & | 70% | 
 | After Core FBDA Go Live |  | 
Eles | During EXT // run | 70% | For now, we are still investigating the possibility to apply for derogation for special cases like validation tool failure or special situations in the grid/market. (decision to be taken in Nov-Dec 2021)
 | & After FBMC go-live |  | 
Elia | Whole year | 70% minus excessive LF | In line with its derogation on loopflows, Elia defines the Ramr per CNEC per MTU taking 70% as a starting point and reducing in case of excessive loopflows
German TSOs | until BD 31/12/2021 | 21.3% | According to the German action plan linear trajectory each year: 2020: 11,5%, 2021: 21,3%, 2022: 31%, 2023: 40%, 2024: 50,5%, 2025: 60,3%, 2026: 70%
 | from BD 01/01/2022 | 31.0% | 
 |  |  | German Action Plan
HOPS |  | 70% | For majority of CNECs, while for specific CNECs identified based on internal analysis will be defined differently (20% - 70%). The start of the action plan is still under consideration (not yet defined). Derogation submitted for 2022.
MAVIR | During EXT // run | 70 % (for most CNEs) | Action plan to be adapted in Nov-Dec, 2021
 | & After FBMC go-live | 25-33% for selected CNEs | 
 |  | as described in action plan | 
PSE | During EXT // run | 14%-41% | linear trajectory till 2026 (70%). If element is commisioned, its Ramr = 0 for that year
 | & After FBMC go-live |  | 
RTE | whole year | 70% | 
SEPS | During EXT // run | 40-70% for vast majority of CNECs | Derogation submitted and approved for 2022
 | & After FBMC go-live | 30% for certain CNECs listed in the derogation ( min. 30% applies for at least 80% of all MTUs in 2022 ) | 
TenneT NL | Whole year | 20% - 70% | Ramr values of action plan per CNEC per MTU are updated to consider derogation on loopflows.
 |  |  | From BD16/12/2021 the linear trajectory values of 2022 will be used
Transelectrica | 01.01.2022-31.12.2022 | 33% | Ramr value is updated each year taking into consideration our Action Plan. For 2022 Transelectrica will have a derogation for keeping the minimum capacity that is stated for the year 2021 in the Action Plan, which is 33%.

## Slide 7: KPI 1 +2_1
KPI 1: Average maximum AMR per CNE per BD
KPI 2: Average maximum AMR per CNE per TSO
Notes: tableEx
No alt text provided
Top 10 CNE by Average Maximum AMR (MW) per BD
No alt text provided
multiRowCard
No alt text provided
tableEx
No alt text provided
Average Maximum AMR per BD (MW) by TSO
No alt text provided
tableEx
No alt text provided
basicShape
No alt text provided

## Slide 8: KPI 1 +2_2
KPI 1: Average maximum AMR per CNE per BD
KPI 2: Average maximum AMR per CNE per TSO
Notes: tableEx
No alt text provided
Top 10 CNE by Average Maximum AMR (MW) per BD
No alt text provided
multiRowCard
No alt text provided
tableEx
No alt text provided
Average Maximum AMR per BD (MW) by TSO
No alt text provided
tableEx
No alt text provided
basicShape
No alt text provided

## Slide 9: KPI 1 +2_3
KPI 1: Average maximum AMR per CNE per BD
KPI 2: Average maximum AMR per CNE per TSO
Notes: tableEx
No alt text provided
Top 10 CNE by Average Maximum AMR (MW) per BD
No alt text provided
multiRowCard
No alt text provided
tableEx
No alt text provided
Average Maximum AMR per BD (MW) by TSO
No alt text provided
tableEx
No alt text provided
basicShape
No alt text provided

## Slide 10: KPI 1 +2_4
KPI 1: Average maximum AMR per CNE per BD
KPI 2: Average maximum AMR per CNE per TSO
Notes: tableEx
No alt text provided
Top 10 CNE by Average Maximum AMR (MW) per BD
No alt text provided
multiRowCard
No alt text provided
tableEx
No alt text provided
Average Maximum AMR per BD (MW) by TSO
No alt text provided
tableEx
No alt text provided
basicShape
No alt text provided

## Slide 11: KPI 1 +2_5
KPI 1: Average maximum AMR per CNE per BD
KPI 2: Average maximum AMR per CNE per TSO
Notes: tableEx
No alt text provided
Top 10 CNE by Average Maximum AMR (MW) per BD
No alt text provided
multiRowCard
No alt text provided
tableEx
No alt text provided
Average Maximum AMR per BD (MW) by TSO
No alt text provided
tableEx
No alt text provided
basicShape
No alt text provided

## Slide 12: KPI 1 +2_6
KPI 1: Average maximum AMR per CNE per BD
KPI 2: Average maximum AMR per CNE per TSO
Notes: tableEx
No alt text provided
Top 10 CNE by Average Maximum AMR (MW) per BD
No alt text provided
multiRowCard
No alt text provided
tableEx
No alt text provided
Average Maximum AMR per BD (MW) by TSO
No alt text provided
tableEx
No alt text provided
basicShape
No alt text provided

## Slide 13: KPI 1 +2_7
KPI 1: Average maximum AMR per CNE per BD
KPI 2: Average maximum AMR per CNE per TSO
Notes: tableEx
No alt text provided
Top 10 CNE by Average Maximum AMR (MW) per BD
No alt text provided
multiRowCard
No alt text provided
tableEx
No alt text provided
Average Maximum AMR per BD (MW) by TSO
No alt text provided
tableEx
No alt text provided
basicShape
No alt text provided

## Slide 14: KPI 1 +2_8
KPI 1: Average maximum AMR per CNE per BD
KPI 2: Average maximum AMR per CNE per TSO
Notes: tableEx
No alt text provided
Top 10 CNE by Average Maximum AMR (MW) per BD
No alt text provided
multiRowCard
No alt text provided
tableEx
No alt text provided
Average Maximum AMR per BD (MW) by TSO
No alt text provided
tableEx
No alt text provided
basicShape
No alt text provided

## Slide 15: KPI 1 +2_9
KPI 1: Average maximum AMR per CNE per BD
KPI 2: Average maximum AMR per CNE per TSO
Notes: tableEx
No alt text provided
Top 10 CNE by Average Maximum AMR (MW) per BD
No alt text provided
multiRowCard
No alt text provided
tableEx
No alt text provided
Average Maximum AMR per BD (MW) by TSO
No alt text provided
tableEx
No alt text provided
basicShape
No alt text provided

## Slide 16: KPI 1 +2_10
KPI 1: Average maximum AMR per CNE per BD
KPI 2: Average maximum AMR per CNE per TSO
Notes: tableEx
No alt text provided
Top 10 CNE by Average Maximum AMR (MW) per BD
No alt text provided
multiRowCard
No alt text provided
tableEx
No alt text provided
Average Maximum AMR per BD (MW) by TSO
No alt text provided
tableEx
No alt text provided
basicShape
No alt text provided

## Slide 17: KPI 1 +2_11
KPI 1: Average maximum AMR per CNE per BD
KPI 2: Average maximum AMR per CNE per TSO
Notes: tableEx
No alt text provided
Top 10 CNE by Average Maximum AMR (MW) per BD
No alt text provided
multiRowCard
No alt text provided
tableEx
No alt text provided
Average Maximum AMR per BD (MW) by TSO
No alt text provided
tableEx
No alt text provided
basicShape
No alt text provided

## Slide 18: KPI 1 +2_12
KPI 1: Average maximum AMR per CNE per BD
KPI 2: Average maximum AMR per CNE per TSO
Notes: tableEx
No alt text provided
Top 10 CNE by Average Maximum AMR (MW) per BD
No alt text provided
multiRowCard
No alt text provided
tableEx
No alt text provided
Average Maximum AMR per BD (MW) by TSO
No alt text provided
tableEx
No alt text provided
basicShape
No alt text provided

## Slide 19: KPI 1 +2_14
KPI 1: Average maximum AMR per CNE per BD
KPI 2: Average maximum AMR per CNE per TSO
Notes: tableEx
No alt text provided
Top 10 CNE by Average Maximum AMR (MW) per BD
No alt text provided
multiRowCard
No alt text provided
tableEx
No alt text provided
Average Maximum AMR per BD (MW) by TSO
No alt text provided
tableEx
No alt text provided
basicShape
No alt text provided

## Slide 20: KPI 1 +2_15
KPI 1: Average maximum AMR per CNE per BD
KPI 2: Average maximum AMR per CNE per TSO
Notes: tableEx
No alt text provided
Top 10 CNE by Average Maximum AMR (MW) per BD
No alt text provided
multiRowCard
No alt text provided
tableEx
No alt text provided
Average Maximum AMR per BD (MW) by TSO
No alt text provided
tableEx
No alt text provided
basicShape
No alt text provided

## Slide 21: KPI 1 +2_16
KPI 1: Average maximum AMR per CNE per BD
KPI 2: Average maximum AMR per CNE per TSO
Notes: tableEx
No alt text provided
Top 10 CNE by Average Maximum AMR (MW) per BD
No alt text provided
multiRowCard
No alt text provided
tableEx
No alt text provided
Average Maximum AMR per BD (MW) by TSO
No alt text provided
tableEx
No alt text provided
basicShape
No alt text provided

## Slide 22: KPI 1 +2_17
KPI 1: Average maximum AMR per CNE per BD
KPI 2: Average maximum AMR per CNE per TSO
Notes: tableEx
No alt text provided
Top 10 CNE by Average Maximum AMR (MW) per BD
No alt text provided
multiRowCard
No alt text provided
tableEx
No alt text provided
Average Maximum AMR per BD (MW) by TSO
No alt text provided
tableEx
No alt text provided
basicShape
No alt text provided

## Slide 23: KPI 1 +2_18
KPI 1: Average maximum AMR per CNE per BD
KPI 2: Average maximum AMR per CNE per TSO
Notes: tableEx
No alt text provided
Top 10 CNE by Average Maximum AMR (MW) per BD
No alt text provided
multiRowCard
No alt text provided
tableEx
No alt text provided
Average Maximum AMR per BD (MW) by TSO
No alt text provided
tableEx
No alt text provided
basicShape
No alt text provided

## Slide 24: KPI 1 +2_19
KPI 1: Average maximum AMR per CNE per BD
KPI 2: Average maximum AMR per CNE per TSO
Notes: tableEx
No alt text provided
Top 10 CNE by Average Maximum AMR (MW) per BD
No alt text provided
multiRowCard
No alt text provided
tableEx
No alt text provided
Average Maximum AMR per BD (MW) by TSO
No alt text provided
tableEx
No alt text provided
basicShape
No alt text provided

## Slide 25: KPI 1 +2_20
KPI 1: Average maximum AMR per CNE per BD
KPI 2: Average maximum AMR per CNE per TSO
Notes: tableEx
No alt text provided
Top 10 CNE by Average Maximum AMR (MW) per BD
No alt text provided
multiRowCard
No alt text provided
tableEx
No alt text provided
Average Maximum AMR per BD (MW) by TSO
No alt text provided
tableEx
No alt text provided
basicShape
No alt text provided

## Slide 26: KPI 1 +2_22
KPI 1: Average maximum AMR per CNE per BD
KPI 2: Average maximum AMR per CNE per TSO
Notes: tableEx
No alt text provided
Top 10 CNE by Average Maximum AMR (MW) per BD
No alt text provided
multiRowCard
No alt text provided
tableEx
No alt text provided
Average Maximum AMR per BD (MW) by TSO
No alt text provided
tableEx
No alt text provided
basicShape
No alt text provided

## Slide 27: KPI 1 +2_23
KPI 1: Average maximum AMR per CNE per BD
KPI 2: Average maximum AMR per CNE per TSO
Notes: tableEx
No alt text provided
Top 10 CNE by Average Maximum AMR (MW) per BD
No alt text provided
multiRowCard
No alt text provided
tableEx
No alt text provided
Average Maximum AMR per BD (MW) by TSO
No alt text provided
tableEx
No alt text provided
basicShape
No alt text provided

## Slide 28: KPI 1 +2_24
KPI 1: Average maximum AMR per CNE per BD
KPI 2: Average maximum AMR per CNE per TSO
Notes: tableEx
No alt text provided
Top 10 CNE by Average Maximum AMR (MW) per BD
No alt text provided
multiRowCard
No alt text provided
tableEx
No alt text provided
Average Maximum AMR per BD (MW) by TSO
No alt text provided
tableEx
No alt text provided
basicShape
No alt text provided

## Slide 29: KPI 1 +2_25
KPI 1: Average maximum AMR per CNE per BD
KPI 2: Average maximum AMR per CNE per TSO
Notes: tableEx
No alt text provided
Top 10 CNE by Average Maximum AMR (MW) per BD
No alt text provided
multiRowCard
No alt text provided
tableEx
No alt text provided
Average Maximum AMR per BD (MW) by TSO
No alt text provided
tableEx
No alt text provided
basicShape
No alt text provided

## Slide 30: KPI 1 +2_26
KPI 1: Average maximum AMR per CNE per BD
KPI 2: Average maximum AMR per CNE per TSO
Notes: tableEx
No alt text provided
Top 10 CNE by Average Maximum AMR (MW) per BD
No alt text provided
multiRowCard
No alt text provided
tableEx
No alt text provided
Average Maximum AMR per BD (MW) by TSO
No alt text provided
tableEx
No alt text provided
basicShape
No alt text provided

## Slide 31: KPI 1 +2_28
KPI 1: Average maximum AMR per CNE per BD
KPI 2: Average maximum AMR per CNE per TSO
Notes: tableEx
No alt text provided
Top 10 CNE by Average Maximum AMR (MW) per BD
No alt text provided
multiRowCard
No alt text provided
tableEx
No alt text provided
Average Maximum AMR per BD (MW) by TSO
No alt text provided
tableEx
No alt text provided
basicShape
No alt text provided

## Slide 32: KPI 1 +2_29
KPI 1: Average maximum AMR per CNE per BD
KPI 2: Average maximum AMR per CNE per TSO
Notes: tableEx
No alt text provided
Top 10 CNE by Average Maximum AMR (MW) per BD
No alt text provided
multiRowCard
No alt text provided
tableEx
No alt text provided
Average Maximum AMR per BD (MW) by TSO
No alt text provided
tableEx
No alt text provided
basicShape
No alt text provided

## Slide 33: KPI 1 +2_30
KPI 1: Average maximum AMR per CNE per BD
KPI 2: Average maximum AMR per CNE per TSO
Notes: tableEx
No alt text provided
Top 10 CNE by Average Maximum AMR (MW) per BD
No alt text provided
multiRowCard
No alt text provided
tableEx
No alt text provided
Average Maximum AMR per BD (MW) by TSO
No alt text provided
tableEx
No alt text provided
basicShape
No alt text provided

## Slide 34: KPI 1 +2_31
KPI 1: Average maximum AMR per CNE per BD
KPI 2: Average maximum AMR per CNE per TSO
Notes: basicShape
No alt text provided
tableEx
No alt text provided
multiRowCard
No alt text provided
Average Maximum AMR per BD (MW) by TSO
No alt text provided
tableEx
No alt text provided
Top 10 CNE by Average Maximum AMR (MW) per BD
No alt text provided
tableEx
No alt text provided

## Slide 35: KPI 5
KPI 5: Share of MTUs with intervention per TSO
Notes: pivotTable
No alt text provided
clusteredColumnChart
No alt text provided
card
No alt text provided
card
No alt text provided
card
No alt text provided
card
No alt text provided
card
No alt text provided
card
No alt text provided

## Slide 36: AT + BE
KPI 13: Min & max net positions per BZ hub
Notes: AT
No alt text provided
BE
No alt text provided

## Slide 37: CZ+DE
KPI 13: Min & max net positions per BZ hub
Notes: CZ
No alt text provided
DE
No alt text provided

## Slide 38: FR + HR
KPI 13: Min & max net positions per BZ hub
Notes: FR
No alt text provided
HR
No alt text provided

## Slide 39: HU + NL
KPI 13: Min & max net positions per BZ hub
Notes: HU
No alt text provided
NL
No alt text provided

## Slide 40: PL + RO
KPI 13: Min & max net positions per BZ hub
Notes: PL
No alt text provided
RO
No alt text provided

## Slide 41: SI + SK
KPI 13: Min & max net positions per BZ hub
Notes: clusteredColumnChart
No alt text provided
SI
No alt text provided

## Slide 42
KPI 14a: Highest virtual margins at market balance for CORE TSOs
CORE TSOs

## Slide 43
KPI 14b: AT: Virtual margins at market balance
CORE TSOs

## Slide 44
KPI 14b: BE: Virtual margins at market balance
CORE TSOs

## Slide 45
KPI 14b: CZ: Virtual margins at market balance
CORE TSOs

## Slide 46
KPI 14b: D2: Virtual margins at market balance
CORE TSOs

## Slide 47
KPI 14b: D4: Virtual margins at market balance
CORE TSOs

## Slide 48
KPI 14b: D7: Virtual margins at market balance
CORE TSOs

## Slide 49
KPI 14b: D8: Virtual margins at market balance
CORE TSOs

## Slide 50
KPI 14b: FR: Virtual margins at market balance
CORE TSOs

## Slide 51
KPI 14b: HR: Virtual margins at market balance
CORE TSOs

## Slide 52
KPI 14b: HU: Virtual margins at market balance
CORE TSOs

## Slide 53
KPI 14b: PL: Virtual margins at market balance
CORE TSOs

## Slide 54
KPI 14b: NL: Virtual margins at market balance
CORE TSOs

## Slide 55
KPI 14b: RO: Virtual margins at market balance
CORE TSOs

## Slide 56
KPI 14b: SI: Virtual margins at market balance
CORE TSOs

## Slide 57
KPI 14b: SK: Virtual margins at market balance
CORE TSOs

## Slide 58
BD20220101– BD20220131
KPI 15: Non-Core exchanges delta flow

## Slide 59
BD20220101– BD20220131
KPI 15: Non-Core exchanges delta flow

## Slide 60: KPI 15: Non-Core delta exchanges
BD20220101– BD20220131

## Slide 61: Background
NRAO – Applied Remedial Actions
On the analysis:
  The total number of MTUs (744 hours) was distributed as shown in the pie chart
  In the following plots, the relative time share relates to the hours labeled ‘NRAO Ran and Applied RAs’ (413 hours)

## Slide 62: KPI 16: Relative Time Share of Applied RAs, by TSO, Type and Mode
NRAO – Applied Remedial Actions

## Slide 63: KPI 16: Relative Time Share of Applied RAs, by TSO, Type and Mode
Relative Time Share of Applied PSTs in Preventive Mode

## Slide 64: KPI 16: Relative Time Share of Applied RAs, by TSO, Type and Mode
Relative Time Share of Applied Topological RAs in Preventive Mode

## Slide 65: KPI 16: Relative Time Share of Applied RAs, by TSO, Type and Mode
Relative Time Share of Applied PSTs in Curative Mode

## Slide 66: KPI 16: Relative Time Share of Applied RAs, by TSO, Type and Mode
Relative Time Share of Applied Topological RAs in Curative Mode

## Slide 67: KPI 17: Most limiting CNEC per TSO (NRAO)
Most limiting CNEC per TSO – January 2022
  The graph below shows the distribution of CNECs which are the most limiting from NRAO perspective, these are the CNECs with lowest relative RAM per MTUs.
  As expected, there is redistributing of the most limiting CNECs. This is because the application of Remedial Actions does not eliminate flows but re-routes, reducing the flows on some limiting CNECs and increasing the load on others, which at the end impacts also the RAM values.
  In case of CZ, D4, HR and HU, there were no most limiting elements from NRAO perspective
TSCNET
Chart: Distribution of Limiting CNECs per TSOs - January 2022
| AT | BE | CZ | D2 | D4 | D7 | D8 | FR | HR | HU | NL | PL | RO | SI | SK
Before RAO | 46 | 90 | 0 | 315 | 0 | 94 | 24 | 5 | 0 | 0 | 193 | 62 | 12 | 8 | 5
After RAO | 46 | 92 | 0 | 241 | 0 | 118 | 31 | 4 | 0 | 0 | 201 | 92 | 16 | 8 | 6

## Slide 68: KPI 18: Average variation of relative RAM before and after NRAO
Average variation of relative RAM before and after RAO – January 2022
  The graph shows average values of relative RAM before and after NRAO, per TSO on the most limiting CNECs from NRAO perspective. Selected CNECs before RAO are the same as after RAO, and average computed for MTUs when NRAO was used further in the process.
  Most limiting element from NRAO perspective is the one which has the lowest relRAM per MTU.
  To determent value of relative RAM, the following formula was used:
  The increment of relRAM values after RAO shows that the optimization performed did increase the capacity on some areas.
  In case of AT, relRAM after RAO is not 0, but a small negative value (thus it cannot be properly viewed on the graph).
  In case of CZ, D4, HR and HU, there were no most limiting elements from NRAO perspective.
TSCNET
Chart: RelRAM comparison before/after RAO
| AT | BE | CZ | D2 | D4 | D7 | D8 | FR | HR | HU | NL | PL | RO | SI | SK
Avg RelRAM before RAO | -53.086 | -179.1047 | 0 | -915.1873 | 0 | -446.0851 | -860.8333 | -953.8 | 0 | 0 | -565.9948 | -74.5454 | -46.8333 | 83.3872 | -58.3464
Avg RelRAM after RAO | -3.8438 | -174.2605 | 0 | -723.7096 | 0 | -441.2021 | -845.6667 | -715.5 | 0 | 0 | -494.1898 | -62.1069 | -43.6667 | 288.8187 | -57.4947

## Slide 69: Parallel Run KPI report
KPI 7: Most often presolved CNEs (TOP 20) 202201
CORE FB MC
Total BDs: 26 (624 hours)
CNE | Distinct Hours | Hours CNE was presolved | Average RAM | Max of RAM | Min of RAM | Max of z2zPTDF | Max of sum z2z PTDF
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] | 554 | 746 | 56% | 90% | 0% | 0.06457 | 0.25671
[CZ-PL] Wielopole - Nosovice [DIR] [PL] | 552 | 882 | 60% | 96% | 0% | 0.06359 | 1.27799
[HR-SI] 220kV Pehlin - Divaca [OPP] [HR] | 550 | 996 | 100% | 146% | 60% | 0.02771 | 0.45787
[HR-SI] 220kV Pehlin - Divaca [DIR] [HR] | 549 | 565 | 70% | 105% | 34% | 0.18377 | 0.45787
[RO-RO] TR Rosiori 400 | 549 | 626 | 36% | 80% | 16% | 0.00913 | 0.22161
[SK-HU] Gabcikovo - Gonyu [OPP] [HU] | 548 | 732 | 84% | 112% | 64% | 0.14326 | 0.84383
[CZ-SK] Nosovice - Varin [DIR] [SK] | 548 | 1005 | 81% | 117% | 62% | 0.34331 | 1.39791
[CZ-D2] Hradec - Etzenricht 441 [DIR] [D2] | 547 | 793 | 55% | 99% | 0% | 0.29078 | 1.20721
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [DIR] | 544 | 1108 | 82% | 181% | 0% | 0.02884 | 0.91459
[HR-BA] 220kV Zakucac - Mostar [DIR] [HR] | 542 | 542 | 73% | 181% | 4% | 0.15024 | 0.40666
[CZ-SK] Nosovice - Varin [OPP] [SK] | 540 | 1057 | 103% | 129% | 66% | 0.35343 | 1.39791
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [OPP] | 538 | 715 | 30% | 94% | 0% | 0.2192 | 0.93758
[HU-HU] Gonyu - Gyor [DIR] | 528 | 724 | 75% | 98% | 60% | 0.13645 | 1.29212
[CZ-SK] Sokolnice - Senice [DIR] [CZ] | 514 | 514 | 77% | 94% | 62% | 0.08671 | 0.32836
[BE-FR] Avelgem - Avelin 80 [OPP] [FR] | 512 | 512 | 80% | 128% | 18% | 0.11208 | 0.75118
[SI-AT] 220 kV Podlog - Obersielach [OPP] [SI] | 508 | 511 | 80% | 153% | 15% | 0.17231 | 0.49929
[SK-SK] V.Dur - Levice 2 [DIR] | 504 | 504 | 39% | 63% | 22% | 0.16858 | 0.70171
[CZ-SK] Sokolnice - Krizovany [OPP] [CZ] | 494 | 494 | 98% | 118% | 78% | 0.22731 | 1.23725
[HU-HU] Felsozsolca - Sajoivanka [DIR] | 491 | 491 | 85% | 111% | 58% | 0.05894 | 0.6222
[HR-BA] 220kV Zakucac - Mostar [OPP] [HR] | 477 | 477 | 103% | 194% | 1% | 0.04623 | 0.40666
Note 1: the shown z2zPTDF values do not correspond to the maximum zone-to-zone PTDFs according to equation 5 of the Day-ahead CCM and hence are not the ones used for the CNEC Selection. The z2zPTDFs are calculated only between neighbouring BZs by the scripts used for external parallel run reporting. See KPI reading guide on JAO.
Note 2: RAM for Core exchanges can be higher than 100% due to the relieving effect of Fuaf: RAM_Core = CEP_target - Fuaf. So if Fuaf is very negative you can get above 100%.

## Slide 70: Parallel Run KPI report
KPI 8a: Most limiting CNEs (TOP 20) 202201
CORE FB MC
Total BDs: 26 (624 hours)
CNE | Distinct Hours | Hours CNE has ShadowPrice | Max of Shadow Price | Average of RAM | Min of RAM | Max of RAM | Max of z2zPTDF | Max of sum z2z PTDF
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] | 144 | 144 | 858.823 | 63% | 36% | 98% | 0.12111 | 1.04185
[NL-NL] Diemen-Lelystad 380 W [OPP] | 105 | 106 | 2057.831 | 20% | 0% | 47% | 0.26281 | 0.62002
[SK-SK] V.Dur - Levice 2 [DIR] | 101 | 101 | 1438.454 | 32% | 22% | 47% | 0.16858 | 0.70012
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] | 86 | 86 | 25124.764 | 19% | 0% | 83% | 0.06457 | 0.25671
[CZ-PL] Wielopole - Nosovice [DIR] [PL] | 83 | 84 | 120826.264 | 53% | 0% | 74% | 0.06121 | 1.19169
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] | 78 | 78 | 386.573 | 70% | 35% | 114% | 0.30991 | 0.73501
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] | 64 | 64 | 908524.114 | 22% | 0% | 54% | 0.13606 | 0.45133
[D8-PL] Mikulowa PST1 [OPP] [PL] | 60 | 60 | 379.108 | 31% | 12% | 52% | 0.39563 | 1.45069
[D2-D7] Grosskrotzenburg - Urberach UMAIN N2 [DIR] [D7] | 49 | 49 | 1802.111 | 24% | 0% | 42% | 0.07248 | 0.33861
[D7-D7] Mengede - Y Huellen WESTFL W [DIR] | 48 | 48 | 1929.734 | 24% | 20% | 34% | 0.1292 | 0.46443
[RO-RO] Resita - Timisoara c1 [DIR] | 45 | 46 | 1352.864 | 36% | 0% | 57% | 0.10974 | 0.1598
[NL-BE] Maasbracht-Van Eyck 380 W [OPP] [NL] | 44 | 49 | 122011.052 | 3% | 0% | 15% | 0.27591 | 0.66558
[NL-D2] Meeden-Diele 380 Z [OPP] [NL] | 44 | 44 | 861.506 | 28% | 0% | 64% | 0.2809 | 0.613
[D8-PL] Krajnik - Vierraden 1 [OPP] [PL] | 42 | 42 | 31043.447 | 19% | 0% | 28% | 0.18014 | 0.65661
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [OPP] | 41 | 41 | 80685.233 | 10% | 0% | 31% | 0.19917 | 0.85908
[AT-HU] Zurndorf - Gyoer 439B [OPP] [AT] | 40 | 40 | 746807.033 | 1% | 0% | 14% | 0.10667 | 1.23006
[D7-D2] Urberach - Grosskrotzenburg [OPP] [D2] | 40 | 40 | 1714.832 | 17% | 2% | 23% | 0.07152 | 0.32902
[BE-FR] Avelgem - Avelin 380.80 [DIR] [BE] | 36 | 36 | 297.695 | 54% | 22% | 85% | 0.30687 | 0.73165
[AT-SI] Obersielach - Podlog 247 [DIR] [AT] | 36 | 36 | 497036.664 | 6% | 0% | 100% | 0.16749 | 0.48865
[BE-BE] PST Zandvliet 1 [DIR] [BE] | 35 | 35 | 250.604 | 53% | 20% | 86% | 0.10505 | 0.91693
Note 1: the shown z2zPTDF values do not correspond to the maximum zone-to-zone PTDFs according to equation 5 of the Day-ahead CCM and hence are not the ones used for the CNEC Selection. The z2zPTDFs are calculated only between neighbouring BZs by the scripts used for external parallel run reporting. See KPI reading guide on JAO.
Note 2: RAM for Core exchanges can be higher than 100% due to the relieving effect of Fuaf: RAM_Core = CEP_target - Fuaf. So if Fuaf is very negative you can get above 100%.
Note 3: on few BDs application of IVA (due to inability to verify FB domain by given TSO) led to results where there are many active CNECs with large shadow prices and 0 RAM, however in the observed cases it didn’t lead to observable price spikes

## Slide 71: Parallel Run KPI report
KPI 8b: Allocation Constraints 202202
CORE FB MC
Please note that Belgium only uses import constraints.
0

## Slide 72
Parallel Run KPI report
KPI 9: Clearing prices, price spreads and price convergence
BD20220102

## Slide 73
Parallel Run KPI report
KPI 9: Clearing prices, price spreads and price convergence
BD20220103

## Slide 74
Parallel Run KPI report
KPI 9: Clearing prices, price spreads and price convergence
BD20220104

## Slide 75
Parallel Run KPI report
KPI 9: Clearing prices, price spreads and price convergence
BD20220105

## Slide 76
Parallel Run KPI report
KPI 9: Clearing prices, price spreads and price convergence
BD20220106

## Slide 77
Parallel Run KPI report
KPI 9: Clearing prices, price spreads and price convergence
BD20220107

## Slide 78
Parallel Run KPI report
KPI 9: Clearing prices, price spreads and price convergence
BD20220108

## Slide 79
Parallel Run KPI report
KPI 9: Clearing prices, price spreads and price convergence
BD20220109

## Slide 80
Parallel Run KPI report
KPI 9: Clearing prices, price spreads and price convergence
BD20220110

## Slide 81
Parallel Run KPI report
KPI 9: Clearing prices, price spreads and price convergence
BD20220111

## Slide 82
Parallel Run KPI report
KPI 9: Clearing prices, price spreads and price convergence
BD20220112

## Slide 83
Parallel Run KPI report
KPI 9: Clearing prices, price spreads and price convergence
BD20220113

## Slide 84
Parallel Run KPI report
KPI 9: Clearing prices, price spreads and price convergence
BD20220114

## Slide 85
Parallel Run KPI report
KPI 9: Clearing prices, price spreads and price convergence
BD20220115

## Slide 86
Parallel Run KPI report
KPI 9: Clearing prices, price spreads and price convergence
BD20220116

## Slide 87
Parallel Run KPI report
KPI 9: Clearing prices, price spreads and price convergence
BD20220118

## Slide 88
Parallel Run KPI report
KPI 9: Clearing prices, price spreads and price convergence
BD20220119

## Slide 89
Parallel Run KPI report
KPI 9: Clearing prices, price spreads and price convergence
BD20220120

## Slide 90
Parallel Run KPI report
KPI 9: Clearing prices, price spreads and price convergence
BD20220121

## Slide 91
Parallel Run KPI report
KPI 9: Clearing prices, price spreads and price convergence
BD20220123

## Slide 92
Parallel Run KPI report
KPI 9: Clearing prices, price spreads and price convergence
BD20220124

## Slide 93
Parallel Run KPI report
KPI 9: Clearing prices, price spreads and price convergence
BD20220125

## Slide 94
Parallel Run KPI report
KPI 9: Clearing prices, price spreads and price convergence
BD20220126

## Slide 95
Parallel Run KPI report
KPI 9: Clearing prices, price spreads and price convergence
BD20220128

## Slide 96
Parallel Run KPI report
KPI 9: Clearing prices, price spreads and price convergence
BD20220130

## Slide 97
Parallel Run KPI report
KPI 9: Clearing prices, price spreads and price convergence
BD20220131

## Slide 98
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220102 (part I)
CORE FB MC
Hour | MAX of ShadowPrice | RAM %
10 | 223.6 | 154%
[D8-D8] Pasewalk - Vierraden 306 [DIR] / N-1 Vierraden - Neuenhagen 304 | 223.6 | 19%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 88.58 | 38%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 13.33 | 30%
[BE-BE] PST Van Eyck 2 [OPP] [BE] / N-1 ALEGRO DC | 21.96 | 47%
[NL-D7] Maasbracht - Siersdorf SELFK SW [DIR] [D7] / N-1 Maasbracht - Oberzier SELFK WS/W | 0.77 | 20%
11 | 57.96 | 165%
[D8-D8] Pasewalk - Vierraden 306 [DIR] / N-1 Vierraden - Neuenhagen 304 | 57.96 | 19%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 31.24 | 37%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 9.19 | 31%
[BE-BE] PST Van Eyck 2 [OPP] [BE] / N-1 PST Van Eyck 1 | 0.19 | 32%
[BE-BE] PST Van Eyck 2 [OPP] [BE] / N-1 ALEGRO DC | 4.47 | 45%
12 | 5.7 | 238%
[D8-D8] Pasewalk - Vierraden 306 [DIR] / N-1 Vierraden - Neuenhagen 304 | 5.7 | 19%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 2.94 | 44%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 0.3 | 37%
[BE-BE] PST Van Eyck 2 [OPP] [BE] / N-1 PST Van Eyck 1 | 0.01 | 36%
[BE-BE] PST Van Eyck 2 [OPP] [BE] / N-1 ALEGRO DC | 0.04 | 48%
[BE-BE] PST Zandvliet 2 [OPP] [BE] / N-1 PST Zandvliet 1 | 0.02 | 54%
13 | 29.97 | 245%
[D8-D8] Pasewalk - Vierraden 306 [DIR] / N-1 Vierraden - Neuenhagen 304 | 29.97 | 19%
[SK-PL] Lemesany - Krosno Iskrz 1 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 2 | 15.79 | 43%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 1.99 | 38%
[NL-NL] Krimpen a/d IJssel-Geertruidenberg 380 W [OPP] / N-1 Krimpen a/d IJssel-Geertruidenberg 380 Z | 0.04 | 47%
[BE-BE] PST Van Eyck 2 [OPP] [BE] / N-1 PST Van Eyck 1 | 0.09 | 45%
[BE-BE] PST Van Eyck 2 [OPP] [BE] / N-1 ALEGRO DC | 0.23 | 54%
14 | 292.42 | 143%
[D8-D8] Pasewalk - Vierraden 306 [DIR] / N-1 Vierraden - Neuenhagen 304 | 292.42 | 19%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 130.08 | 39%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 35.84 | 36%
[NL-NL] Krimpen a/d IJssel-Geertruidenberg 380 W [OPP] / N-1 Krimpen a/d IJssel-Geertruidenberg 380 Z | 12.74 | 48%
15 | 1157.11 | 147%
[D8-D8] Pasewalk - Vierraden 306 [DIR] / N-1 Vierraden - Neuenhagen 304 | 1157.11 | 19%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 323.37 | 36%
[RO-RO] TR Rosiori 400/220 1 [DIR] / N-1 Rosiori - Gadalin | 40.06 | 21%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 171.36 | 34%
[NL-NL] Krimpen a/d IJssel-Geertruidenberg 380 W [OPP] / N-1 Krimpen a/d IJssel-Geertruidenberg 380 Z | 94.53 | 37%

## Slide 99
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220102 (part II)
CORE FB MC
16 | 1814.75 | 167%
[D8-D8] Pasewalk - Vierraden 306 [DIR] / N-1 Vierraden - Neuenhagen 304 | 1814.75 | 19%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 516.62 | 38%
[RO-RO] TR Rosiori 400/220 1 [DIR] / N-1 Rosiori - Gadalin | 30.48 | 24%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 114.81 | 34%
[NL-NL] Krimpen a/d IJssel-Geertruidenberg 380 W [OPP] / N-1 Krimpen a/d IJssel-Geertruidenberg 380 Z | 140.91 | 52%
17 | 2052.75 | 148%
[D8-D8] Pasewalk - Vierraden 306 [DIR] / N-1 Vierraden - Neuenhagen 304 | 2052.75 | 19%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 674.84 | 42%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 67.52 | 35%
[NL-NL] Krimpen a/d IJssel-Geertruidenberg 380 W [OPP] / N-1 Krimpen a/d IJssel-Geertruidenberg 380 Z | 115.5 | 51%
18 | 2294.96 | 175%
[D8-D8] Pasewalk - Vierraden 306 [DIR] / N-1 Vierraden - Neuenhagen 304 | 2294.96 | 19%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 858.76 | 42%
[NL-NL] Krimpen a/d IJssel-Geertruidenberg 380 W [OPP] / N-1 Krimpen a/d IJssel-Geertruidenberg 380 Z | 94.21 | 51%
[BE-BE] PST Zandvliet 2 [OPP] [BE] / N-1 PST Zandvliet 1 | 123.18 | 62%
19 | 1711.96 | 142%
[D8-D8] Pasewalk - Vierraden 306 [DIR] / N-1 Vierraden - Neuenhagen 304 | 1711.96 | 19%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 652.23 | 41%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 186.98 | 35%
[NL-NL] Krimpen a/d IJssel-Geertruidenberg 380 W [OPP] / N-1 Krimpen a/d IJssel-Geertruidenberg 380 Z | 129.82 | 47%
20 | 1209.79 | 173%
[D8-D8] Pasewalk - Vierraden 306 [DIR] / N-1 Vierraden - Neuenhagen 304 | 1209.79 | 19%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 476.76 | 37%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 475.19 | 32%
[NL-NL] Krimpen a/d IJssel-Geertruidenberg 380 W [OPP] / N-1 Krimpen a/d IJssel-Geertruidenberg 380 Z | 49.28 | 53%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Krimpen a/d IJssel-Geertruidenberg 380 W | 21.45 | 31%
21 | 587.95 | 184%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 336 | 47%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 149.98 | 37%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Krimpen a/d IJssel-Geertruidenberg 380 W | 2.68 | 28%
[D8-PL] Krajnik - Vierraden 2 [OPP] [PL] / N-1 Mikulowa - Pasikurowice | 587.95 | 19%
[BE-BE] PST Van Eyck 2 [OPP] [BE] / N-1 Achene - Lonny 380.19 | 3.1 | 54%
22 | 783.09 | 246%
[D8-D8] Pasewalk - Vierraden 306 [DIR] / N-1 Vierraden - Neuenhagen 304 | 783.09 | 22%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 322.23 | 47%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 43.2 | 41%
[NL-NL] Krimpen a/d IJssel-Geertruidenberg 380 W [OPP] / N-1 Krimpen a/d IJssel-Geertruidenberg 380 Z | 1.89 | 52%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Krimpen a/d IJssel-Geertruidenberg 380 W | 3.75 | 24%
[BE-BE] PST Van Eyck 2 [OPP] [BE] / N-1 Achene - Lonny 380.19 | 2.33 | 60%
Total sum | 2294.96 | 2326%

## Slide 100
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220103 (part I)
CORE FB MC
Hour | MAX of ShadowPrice | RAM %
1 | 89.1 | 322%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 13.06 | 34%
[NL-D2] Meeden-Diele 380 Z [OPP] [NL] / N-1 Diele - Meeden WEISS/W | 0.27 | 51%
[BE-BE] Achene - Gramme 380.10 [OPP] / N-1 Aubange - Moulaine 220.513 | 0.73 | 81%
[AT-CH] Westtirol 1 - Pradella 427 [DIR] [AT] / N-1 Westtirol 1 - Pradella 428 | 12.76 | 20%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 5.97 | 107%
[D8-PL] Mikulowa PST1 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 89.1 | 29%
2 | 71.64 | 439%
[D4-D7] Daxlanden - Weingarten ge (Germersheim Sued) [OPP] [D4] / N-1 Rheinau - Hoheneck KUGELB W | 0.99 | 20%
[SI-AT] 220 kV Podlog - Obersielach [OPP] [SI] / N-1 Maribor-Kainachtal 1 | 3.34 | 99%
[HU-HU] Gonyu - Gyor [DIR] / N-1 Gabcikovo - Gyor | 5.19 | 70%
[SK-HU] Gabcikovo - Gonyu [DIR] [HU] / N-1 Gabcikovo - Gyor | 5.06 | 74%
[BE-BE] Achene - Gramme 380.10 [OPP] / N-1 PST Van Eyck 2 | 0.79 | 83%
[BE-BE] PST Van Eyck 2 [OPP] [BE] / N-1 ALEGRO DC | 1.32 | 63%
[D8-PL] Mikulowa PST1 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 71.64 | 30%
3 | 72.08 | 432%
[SI-AT] 400 kV Maribor - Kainachtal 1 [OPP] [SI] / N-1 Maribor-Kainachtal 2 | 4.22 | 69%
[SK-HU] Levice - God [DIR] [SK] / N-1 R.Sobota - Sajoivanka | 2.58 | 60%
[SK-HU] Gabcikovo - Gonyu [DIR] [HU] / N-1 Gabcikovo - Gyor | 2.66 | 75%
[BE-BE] Achene - Gramme 380.10 [OPP] / N-1 PST Van Eyck 2 | 2.48 | 82%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 0.29 | 114%
[D8-PL] Mikulowa PST1 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 72.08 | 31%
4 | 70.99 | 349%
[PL-PL] Mikulowa AT1 [DIR] / N-1 Mikulowa AT2 | 20.81 | 34%
[NL-D2] Meeden-Diele 380 Z [OPP] [NL] / N-1 Diele - Meeden WEISS/W | 0.52 | 30%
[SK-HU] Gabcikovo - Gonyu [DIR] [HU] / N-1 Gabcikovo - Gyor | 8.21 | 75%
[BE-FR] Achene - Lonny 380.19 [DIR] [BE] / N-1 PST Van Eyck 2 | 0.29 | 76%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 3.45 | 103%
[D8-PL] Mikulowa PST1 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 70.99 | 31%
5 | 64.99 | 382%
[PL-PL] Mikulowa AT1 [DIR] / N-1 Mikulowa AT2 | 64.99 | 33%
[NL-D2] Meeden-Diele 380 Z [OPP] [NL] / N-1 Diele - Meeden WEISS/W | 0.03 | 26%
[SK-HU] Levice - God [DIR] [SK] / N-1 R.Sobota - Sajoivanka | 7.65 | 59%
[BE-FR] Achene - Lonny 380.19 [DIR] [BE] / N-1 PST Van Eyck 2 | 0.43 | 76%
[BE-BE] PST Van Eyck 2 [OPP] [BE] / N-1 ALEGRO DC | 0.61 | 52%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 1.63 | 105%
[D8-PL] Mikulowa PST1 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 51.9 | 32%

## Slide 101
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220103 (part II)
CORE FB MC
6 | 91.45 | 333%
[RO-RO] TR Rosiori 400/220 1 [DIR] / N-1 Rosiori - Gadalin | 5.6 | 16%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 16.48 | 27%
[NL-D2] Meeden-Diele 380 Z [OPP] [NL] / N-1 Diele - Meeden WEISS/W | 0.71 | 23%
[BE-BE] Achene - Gramme 380.10 [OPP] / N-1 Aubange - Moulaine 220.513 | 0.98 | 84%
[AT-CH] Westtirol 1 - Pradella 427 [DIR] [AT] / N-1 Westtirol 1 - Pradella 428 | 11.45 | 21%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 6 | 111%
[D8-PL] Mikulowa PST1 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 91.45 | 31%
[D8-PL] Krajnik - Vierraden 2 [OPP] [PL] / N-1 Mikulowa - Pasikurowice | 26.63 | 20%
7 | 310.13 | 298%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 48.84 | 58%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 91.71 | 24%
[D7-D7] Lambsheim - Weingarten LAMBSH W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 64.62 | 20%
[NL-D2] Meeden-Diele 380 Z [OPP] [NL] / N-1 Diele - Meeden WEISS/W | 15.9 | 30%
[D8-D8] Roehrsdorf - Roehrsdorf PST442 [DIR] / N-1 Hradec - Rohrsdorf 1 | 310.13 | 32%
[BE-BE] Achene - Gramme 380.10 [OPP] / N-1 Aubange - Moulaine 220.513 | 26.45 | 85%
[AT-CH] Westtirol 1 - Pradella 427 [DIR] [AT] / N-1 Westtirol 1 - Pradella 428 | 84.4 | 20%
[D8-PL] Mikulowa PST3 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 2 | 176.59 | 29%
8 | 279.78 | 78%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 238.53 | 24%
[D8-D8] Roehrsdorf - Roehrsdorf PST442 [DIR] / N-1 Hradec - Rohrsdorf 1 | 279.78 | 35%
[AT-CH] Westtirol 1 - Pradella 427 [DIR] [AT] / N-1 Westtirol 1 - Pradella 428 | 33.72 | 19%
9 | 1364.17 | 182%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 422.88 | 24%
[D8-D8] Roehrsdorf - Roehrsdorf PST442 [DIR] / N-1 Hradec - Rohrsdorf 1 | 26.11 | 38%
[BE-BE] Achene - Gramme 380.10 [OPP] / N-1 PST Van Eyck 2 | 49.16 | 76%
[AT-CH] Westtirol 1 - Pradella 427 [DIR] [AT] / N-1 Westtirol 1 - Pradella 428 | 1364.17 | 19%
[D8-PL] Mikulowa PST1 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 191.78 | 25%
10 | 1241.04 | 180%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 319.72 | 23%
[D8-D8] Roehrsdorf - Roehrsdorf PST442 [DIR] / N-1 Hradec - Rohrsdorf 1 | 14.69 | 36%
[BE-BE] Achene - Gramme 380.10 [OPP] / N-1 PST Van Eyck 2 | 46.54 | 75%
[AT-CH] Westtirol 1 - Pradella 427 [DIR] [AT] / N-1 Westtirol 1 - Pradella 428 | 1241.04 | 21%
[D8-PL] Mikulowa PST1 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 379.11 | 25%
11 | 698.7 | 69%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 698.7 | 22%
[AT-CH] Westtirol 1 - Pradella 427 [DIR] [AT] / N-1 Westtirol 1 - Pradella 428 | 182.19 | 21%
[D8-PL] Mikulowa PST1 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 44.14 | 26%

## Slide 102
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220103 (part III)
CORE FB MC
12 | 692.97 | 190%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 692.97 | 23%
[D8-D8] Roehrsdorf - Roehrsdorf PST442 [DIR] / N-1 Hradec - Rohrsdorf 1 | 39.56 | 41%
[NL-D2] Meeden-Diele 380 Z [OPP] [NL] / N-1 COBRA HVDC | 211.84 | 23%
[BE-BE] Achene - Gramme 380.10 [OPP] / N-1 PST Van Eyck 2 | 6.44 | 76%
[D8-PL] Mikulowa PST1 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 71.23 | 26%
13 | 557 | 196%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 557 | 23%
[D8-D8] Roehrsdorf - Roehrsdorf PST442 [DIR] / N-1 Hradec - Rohrsdorf 1 | 203.13 | 37%
[NL-D2] Meeden-Diele 380 Z [OPP] [NL] / N-1 COBRA HVDC | 277.81 | 24%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 3.06 | 87%
[D8-PL] Mikulowa PST1 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 125.31 | 25%
14 | 460.36 | 103%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 460.36 | 24%
[D8-D8] Roehrsdorf - Roehrsdorf PST442 [DIR] / N-1 Hradec - Rohrsdorf 1 | 287.8 | 35%
[NL-D2] Meeden-Diele 380 Z [OPP] [NL] / N-1 COBRA HVDC | 330.22 | 24%
[PL-PL] Czarna - Pasikurowice [DIR] / N-1 Mikulowa - Pasikurowice | 356.41 | 20%
15 | 745.87 | 122%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 745.87 | 23%
[NL-D2] Meeden-Diele 380 Z [OPP] [NL] / N-1 COBRA HVDC | 324.3 | 24%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Dobrzen | 31.26 | 46%
[D8-PL] Mikulowa PST1 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 58.29 | 28%
16 | 650.66 | 116%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 650.66 | 23%
[D8-D8] Roehrsdorf - Roehrsdorf PST442 [DIR] / N-1 Hradec - Rohrsdorf 1 | 80.99 | 42%
[NL-D2] Meeden-Diele 380 Z [OPP] [NL] / N-1 COBRA HVDC | 384.08 | 23%
[D8-PL] Mikulowa PST1 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 143.06 | 27%
17 | 780.2 | 130%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 780.2 | 23%
[D8-D8] Roehrsdorf - Roehrsdorf PST442 [DIR] / N-1 Hradec - Rohrsdorf 1 | 15.87 | 45%
[NL-D2] Meeden-Diele 380 Z [OPP] [NL] / N-1 COBRA HVDC | 72.48 | 30%
[D8-PL] Mikulowa PST1 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 124.37 | 31%

## Slide 103
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220103 (part IV)
CORE FB MC
18 | 876.91 | 120%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 876.91 | 22%
[D8-D8] Roehrsdorf - Roehrsdorf PST442 [DIR] / N-1 Hradec - Rohrsdorf 1 | 23.25 | 45%
[NL-D2] Meeden-Diele 380 Z [OPP] [NL] / N-1 COBRA HVDC | 23.42 | 32%
[AT-CH] Westtirol 1 - Pradella 427 [DIR] [AT] / N-1 Westtirol 1 - Pradella 428 | 111.65 | 20%
19 | 845.75 | 69%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 544.42 | 25%
[NL-D2] Meeden-Diele 380 Z [OPP] [NL] / N-1 COBRA HVDC | 845.75 | 24%
[AT-CH] Westtirol 1 - Pradella 427 [DIR] [AT] / N-1 Westtirol 1 - Pradella 428 | 387.06 | 20%
20 | 665.04 | 69%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 487.5 | 25%
[NL-D2] Meeden-Diele 380 Z [OPP] [NL] / N-1 COBRA HVDC | 615.03 | 23%
[AT-CH] Westtirol 1 - Pradella 427 [DIR] [AT] / N-1 Westtirol 1 - Pradella 428 | 665.04 | 21%
21 | 676.81 | 88%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 287.62 | 25%
[NL-D2] Meeden-Diele 380 Z [OPP] [NL] / N-1 Diele - Meeden WEISS/W | 141.11 | 44%
[AT-CH] Westtirol 1 - Pradella 427 [DIR] [AT] / N-1 Westtirol 1 - Pradella 428 | 676.81 | 19%
22 | 395.31 | 73%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 104.68 | 25%
[NL-D2] Meeden-Diele 380 Z [OPP] [NL] / N-1 COBRA HVDC | 395.31 | 29%
[AT-CH] Westtirol 1 - Pradella 427 [DIR] [AT] / N-1 Westtirol 1 - Pradella 428 | 220.73 | 19%
23 | 44.29 | 56%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Zwolle-Hengelo 380 W | 44.29 | 37%
[AT-CH] Westtirol 1 - Pradella 427 [DIR] [AT] / N-1 Westtirol 1 - Pradella 428 | 6.63 | 20%
24 | 299.34 | 72%
[NL-D2] Meeden-Diele 380 Z [OPP] [NL] / N-1 Diele - Meeden WEISS/W | 34.42 | 52%
[AT-CH] Westtirol 1 - Pradella 427 [DIR] [AT] / N-1 Westtirol 1 - Pradella 428 | 299.34 | 19%
Total sum | 1364.17 | 4467%

## Slide 104
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220104 (part I)
CORE FB MC
Hour | MAX of ShadowPrice | RAM %
1 | 452.17 | 133%
[D8-D8] Pasewalk - Vierraden 306 [DIR] / N-1 Vierraden - Neuenhagen 304 | 363.12 | 19%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 212.52 | 42%
[RO-RO] TR Portile de Fier 400/220 1 [OPP] / N-1 TR Portile de Fier 400/220 2 | 452.17 | 30%
[D2-NL] Diele - Meeden SCHWARZ [DIR] [D2] / N-1 Diele - Meeden WEISS/W | 386.66 | 23%
[AT-CH] Westtirol 1 - Pradella 427 [DIR] [AT] / N-1 Westtirol 1 - Pradella 428 | 413.57 | 19%
2 | 580.95 | 147%
[SK-PL] Lemesany - Krosno Iskrz 1 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 2 | 197.61 | 43%
[RO-RO] TR Portile de Fier 400/220 1 [OPP] / N-1 TR Portile de Fier 400/220 2 | 580.95 | 35%
[D2-NL] Diele - Meeden SCHWARZ [DIR] [D2] / N-1 Diele - Meeden WEISS/W | 304.12 | 20%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Dobrzen | 136.44 | 30%
[AT-CH] Westtirol 1 - Pradella 427 [DIR] [AT] / N-1 Westtirol 1 - Pradella 428 | 44.24 | 19%
3 | 440.7 | 205%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 27.37 | 41%
[RO-RO] TR Portile de Fier 400/220 1 [OPP] / N-1 TR Portile de Fier 400/220 2 | 440.7 | 35%
[D2-NL] Diele - Meeden SCHWARZ [DIR] [D2] / N-1 Diele - Meeden WEISS/W | 186.66 | 20%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Dobrzen | 62.72 | 30%
[SK-HU] Levice - God [DIR] [SK] / N-1 R.Sobota - Sajoivanka | 6.92 | 59%
[AT-CH] Westtirol 1 - Pradella 427 [DIR] [AT] / N-1 Westtirol 1 - Pradella 428 | 12.02 | 19%
4 | 365.22 | 370%
[HR-BA] 220kV Zakucac - Mostar [DIR] [HR] / N-1 Konjsko - Mostar | 5.37 | 29%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 21.62 | 43%
[HR-SI] 220kV Pehlin - Divaca [DIR] [HR] / N-1 Melina - Divaca | 13.2 | 80%
[RO-RO] TR Portile de Fier 400/220 1 [OPP] / N-1 TR Portile de Fier 400/220 2 | 365.22 | 24%
[D2-NL] Diele - Meeden SCHWARZ [DIR] [D2] / N-1 Diele - Meeden WEISS/W | 121.76 | 34%
[AT-AT] Zell am Ziller 1 - Zell am Ziller 2 ZZRHU41 [DIR] / N-1 Zell am Ziller 1 - Zell am Ziller 2 ZZRHU42 | 6.62 | 22%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Dobrzen | 30.97 | 33%
[SK-HU] Levice - God [DIR] [SK] / N-1 R.Sobota - Sajoivanka | 4.54 | 60%
[BE-BE] PST Van Eyck 2 [OPP] [BE] / N-1 Achene - Lonny 380.19 | 4.73 | 45%
5 | 203.17 | 208%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 53.8 | 42%
[RO-RO] TR Portile de Fier 400/220 1 [OPP] / N-1 TR Portile de Fier 400/220 2 | 203.17 | 21%
[D2-NL] Diele - Meeden SCHWARZ [DIR] [D2] / N-1 Diele - Meeden WEISS/W | 79.26 | 29%
[AT-AT] Zell am Ziller 1 - Zell am Ziller 2 ZZRHU41 [DIR] / N-1 Zell am Ziller 1 - Zell am Ziller 2 ZZRHU42 | 11.47 | 23%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Dobrzen | 3.69 | 33%
[SK-HU] Levice - God [DIR] [SK] / N-1 R.Sobota - Sajoivanka | 2.67 | 60%

## Slide 105
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220104 (part II)
CORE FB MC
6 | 109.67 | 167%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 109.67 | 59%
[RO-RO] TR Portile de Fier 400/220 1 [OPP] / N-1 TR Portile de Fier 400/220 2 | 1.46 | 24%
[D2-NL] Diele - Meeden SCHWARZ [DIR] [D2] / N-1 Diele - Meeden WEISS/W | 96.11 | 34%
[BE-BE] PST Van Eyck 2 [OPP] [BE] / N-1 PST Van Eyck 1 | 2.4 | 49%
8 | 259.64 | 67%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 259.64 | 30%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 231.55 | 30%
[NL-BE] Maasbracht-Van Eyck 380 W [OPP] [NL] / N-1 Achene - Gramme 380.10 | 0.21 | 7%
9 | 1031.75 | 117%
[D7-FR] Ensdorf - Vigy VIGY2 S [OPP] [FR] / N-1 Ensdorf - Vigy VIGY1 N | 2.95 | 20%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 474.8 | 29%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 1031.75 | 31%
[AT-AT] Bisamberg 2 - Wien Suedost 227 [DIR] / N-1 Bisamberg - Kledering 228B | 250.65 | 37%
10 | 491.57 | 63%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 491.57 | 30%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 482.99 | 32%
11 | 463.47 | 92%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 428.68 | 30%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 463.47 | 35%
[BE-FR] Avelgem - Avelin 80 [OPP] [FR] / N-1 Avelgem - Mastaing 380.79 | 5.8 | 27%
12 | 310.9 | 89%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Gyor - Neusiedl | 183.66 | 40%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 310.9 | 31%
[BE-FR] Avelgem - Avelin 80 [OPP] [FR] / N-1 Avelgem - Mastaing 380.79 | 17.9 | 18%
13 | 179.96 | 92%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Gyor - Neusiedl | 179.96 | 39%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 125.55 | 32%
[BE-FR] Avelgem - Avelin 80 [OPP] [FR] / N-1 Avelgem - Mastaing 380.79 | 0.41 | 21%
14 | 48.89 | 74%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Gyor - Neusiedl | 48.89 | 41%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 28.29 | 33%
15 | 167.24 | 73%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Gyor - Neusiedl | 167.24 | 42%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 106.65 | 32%

## Slide 106
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220104 (part III)
CORE FB MC
16 | 444.51 | 30%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 444.51 | 30%
17 | 1438.45 | 29%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 1438.45 | 29%
18 | 4468.47 | 469%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [DIR] / N-1 Pradella-Y/Punt LN300153 | 36.21 | 69%
[SI-AT] 220 kV Podlog - Obersielach [DIR] [SI] / N-1 Maribor-Kainachtal 1 | 64.39 | 114%
[RO-RO] TR Portile de Fier 400/220 1 [OPP] / N-1 TR Portile de Fier 400/220 2 | 378.53 | 25%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 4468.47 | 10%
[D4-AT] Buers - Westtirol rt [DIR] [D4] / N-1 Westtirol - Leupolz | 111.82 | 39%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Dobrzen | 5.34 | 64%
[SK-HU] Levice - God [DIR] [SK] / N-1 R.Sobota - Sajoivanka | 176.45 | 58%
[D7-D7] Paffendorf - Rommerskirchen PAFFEN S [OPP] / N-1 Brauweiler - Rommerskirchen BRAUWL W | 142.63 | 14%
[AT-AT] Rosegg - Villach Sued 267B [DIR] / N-1 Feistritz - Villach 266C | 114.3 | 76%
19 | 193.38 | 70%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 193.38 | 29%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 8.51 | 41%
20 | 415.46 | 88%
[RO-RO] TR Portile de Fier 400/220 1 [OPP] / N-1 TR Portile de Fier 400/220 2 | 389.79 | 19%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 415.46 | 29%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 151.9 | 40%
21 | 85.71 | 30%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 85.71 | 30%
22 | 416.98 | 45%
[RO-RO] TR Portile de Fier 400/220 1 [OPP] / N-1 TR Portile de Fier 400/220 2 | 114.03 | 22%
[AT-CH] Westtirol 1 - Pradella 427 [DIR] [AT] / N-1 Westtirol 1 - Pradella 428 | 416.98 | 24%
23 | 151.33 | 66%
[RO-RO] TR Portile de Fier 400/220 1 [OPP] / N-1 TR Portile de Fier 400/220 2 | 151.33 | 25%
[D2-NL] Diele - Meeden SCHWARZ [DIR] [D2] / N-1 Diele - Meeden WEISS/W | 78.66 | 41%
24 | 175.96 | 84%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 12.1 | 50%
[D2-NL] Diele - Meeden SCHWARZ [DIR] [D2] / N-1 Diele - Meeden WEISS/W | 175.96 | 34%
Total sum | 4468.47 | 2807%

## Slide 107
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220105 (part I)
CORE FB MC
Hour | MAX of ShadowPrice | RAM %
1 | 307.69 | 111%
[RO-RO] TR Portile de Fier 400/220 1 [OPP] / N-1 TR Portile de Fier 400/220 2 | 307.69 | 24%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Zwolle-Hengelo 380 W | 216.22 | 23%
[BE-FR] Achene - Lonny 19 [DIR] [FR] / N-1 Avelgem - Avelin 380.80 | 14.62 | 64%
2 | 281.84 | 175%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [DIR] / N-1 Pradella-Y/Punt LN300153 | 4.71 | 67%
[RO-RO] TR Portile de Fier 400/220 1 [OPP] / N-1 TR Portile de Fier 400/220 2 | 281.84 | 22%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Boxmeer-Dodewaard 380 Z | 64.47 | 20%
[BE-FR] Achene - Lonny 19 [DIR] [FR] / N-1 Avelgem - Avelin 380.80 | 14.6 | 66%
3 | 197.62 | 183%
[HR-SI] 220kV Pehlin - Divaca [DIR] [HR] / N-1 Melina - Divaca | 1.62 | 66%
[RO-RO] TR Portile de Fier 400/220 1 [OPP] / N-1 TR Portile de Fier 400/220 2 | 197.62 | 22%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Boxmeer-Dodewaard 380 Z | 3.27 | 20%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 3.09 | 75%
4 | 123.78 | 184%
[RO-RO] TR Portile de Fier 400/220 1 [OPP] / N-1 TR Portile de Fier 400/220 2 | 123.78 | 22%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Boxmeer-Dodewaard 380 Z | 1.86 | 20%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Dobrzen | 0.15 | 64%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 1.76 | 78%
6 | 224.18 | 89%
[NL-D2] Meeden-Diele 380 Z [OPP] [NL] / N-1 Diele - Meeden WEISS/W | 20.92 | 35%
[D2-D8] Altenfeld - Redwitz 459 [DIR] [D8] / N-1 Altenfeld - Redwitz 460 | 224.18 | 24%
[D8-PL] Mikulowa PST1 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 19.09 | 30%
7 | 513.43 | 112%
[NL-D2] Meeden-Diele 380 Z [OPP] [NL] / N-1 Diele - Meeden WEISS/W | 513.43 | 29%
[PL-PL] Mikulowa - Pasikurowice [DIR] / N-1 Czarna - Mikulowa | 222.89 | 19%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 268.69 | 64%
8 | 3191.52 | 192%
[RO-RO] TR Rosiori 400/220 1 [DIR] / N-1 Rosiori - Gadalin | 191.51 | 17%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Osburg - Uchtelfangen UCHTLF O | 538.8 | 13%
[SI-AT] 220 kV Podlog - Obersielach [OPP] [SI] / N-1 Maribor-Kainachtal 1 | 266.6 | 70%
[AT-HU] Zurndorf - Gyoer 439B [OPP] [AT] / BASECASE | 313.81 | 14%
[D7-D7] Lambsheim - Weingarten LAMBSH W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 263.52 | 5%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 3191.52 | 0%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Maasbracht-Eindhoven 380 W | 716.28 | 10%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 65.89 | 57%
[NL-D7] Maasbracht - Oberzier SELFK WS [DIR] [D7] / N-1 Achene - Gramme 380.10 | 338.5 | 5%

## Slide 108
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220105 (part II)
CORE FB MC
9 | 4363.08 | 237%
[HR-SI] 400kV Tumbri - Krsko 1 [OPP] [HR] / N-1 Tumbri - Krsko 2 | 18.14 | 57%
[RO-RO] TR Rosiori 400/220 1 [DIR] / N-1 Rosiori - Gadalin | 185.8 | 17%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Osburg - Uchtelfangen UCHTLF O | 274.06 | 6%
[D7-D7] Lambsheim - Weingarten LAMBSH W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 1823.3 | 2%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 4363.08 | 0%
[NL-D7] Maasbracht - Siersdorf SELFK SW [DIR] [D7] / N-1 Maasbracht - Oberzier SELFK WS/W | 456.48 | 3%
[D8-D8] Roehrsdorf - Roehrsdorf PST442 [DIR] / N-1 Hradec - Rohrsdorf 1 | 8.05 | 38%
[AT-HU] Zurndorf - Gyoer 439B [OPP] [AT] / N-1 Sarasdorf - Zurndorf 440A | 674.96 | 4%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Zwolle-Hengelo 380 W | 2057.83 | 4%
[BE-BE] PST Van Eyck 2 [OPP] [BE] / N-1 ALEGRO DC | 175.76 | 63%
[D8-PL] Mikulowa PST1 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 36.28 | 27%
[AT-SI] Obersielach - Podlog 247 [DIR] [AT] / N-1 Cirkovce-Krsko | 297.65 | 0%
[AT-AT] Strass - Thaur 274B [DIR] / N-1 Westtirol - Zell 275 | 631.79 | 16%
10 | 2254.77 | 496%
[HR-BA] 220kV Zakucac - Mostar [DIR] [HR] / N-1 Konjsko - Mostar | 50.34 | 51%
[HR-SI] 220kV Pehlin - Divaca [DIR] [HR] / N-1 Melina - Divaca | 25.7 | 57%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Osburg - Uchtelfangen UCHTLF O | 568.9 | 0%
[SI-AT] 220 kV Podlog - Obersielach [OPP] [SI] / N-1 Maribor-Kainachtal 1 | 284.67 | 59%
[D7-D7] Paffendorf - Rommerskirchen PAFFEN S [OPP] / N-1 Knapsack - Sechtem WABERG W | 344.54 | 0%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 2254.77 | 0%
[D8-D8] Roehrsdorf - Roehrsdorf PST442 [DIR] / N-1 Hradec - Rohrsdorf 1 | 85.85 | 40%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Maasbracht-Eindhoven 380 W | 333.79 | 20%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Krimpen a/d IJssel-Geertruidenberg 380 W | 84.2 | 20%
[HU-HU] Gonyu - Gyor [DIR] / N-1 Gabcikovo - Gyor | 248.9 | 68%
[BE-BE] PST Van Eyck 2 [OPP] [BE] / N-1 Achene - Gramme 380.10 | 106.8 | 61%
[CZ-SK] Sokolnice - Krizovany [OPP] [CZ] / N-1 Nosovice - Varin | 4.75 | 103%
[AT-AT] Strass - Thaur 274B [DIR] / N-1 Westtirol - Zell 275 | 119.09 | 17%
11 | 1743.52 | 564%
[D2-D7] Grosskrotzenburg - Urberach UMAIN N2 [DIR] [D7] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 1743.52 | 0%
[HR-BA] 220kV Zakucac - Mostar [OPP] [HR] / N-1 Konjsko - Mostar | 61.96 | 123%
[SI-AT] 220 kV Podlog - Obersielach [OPP] [SI] / N-1 Maribor-Kainachtal 1 | 339.92 | 56%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 1473.08 | 0%
[D8-D8] Roehrsdorf - Roehrsdorf PST442 [DIR] / N-1 Hradec - Rohrsdorf 1 | 372.77 | 43%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Krimpen a/d IJssel-Geertruidenberg 380 W | 281.26 | 20%
[HU-HU] Gonyu - Gyor [DIR] / N-1 Gabcikovo - Gyor | 3.04 | 72%
[BE-BE] PST Van Eyck 2 [OPP] [BE] / N-1 Achene - Gramme 380.10 | 66.25 | 65%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 63.25 | 49%
[CZ-SK] Nosovice - Varin [OPP] [SK] / N-1 Krizovany - Sokolnice | 18.98 | 106%
[D8-PL] Mikulowa PST3 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 2 | 78.1 | 31%

## Slide 109
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220105 (part III)
CORE FB MC
12 | 1132.44 | 254%
[D2-D7] Grosskrotzenburg - Urberach UMAIN N2 [DIR] [D7] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 196.81 | 2%
[D7-D7] Huellen - Y Huellen WESTFL W [OPP] / N-1 Hattingen - Witten KEMNAD S | 1132.44 | 2%
[HR-SI] 220kV Pehlin - Divaca [DIR] [HR] / N-1 Melina - Divaca | 2.78 | 52%
[D4-D7] Daxlanden - Weingarten ge (Germersheim Sued) [OPP] [D4] / N-1 Rheinau - Hoheneck KUGELB W | 673.61 | 2%
[SI-AT] 220 kV Podlog - Obersielach [OPP] [SI] / N-1 Maribor-Kainachtal 1 | 96.23 | 51%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 693.96 | 48%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Krimpen a/d IJssel-Geertruidenberg 380 W | 541.98 | 20%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 107.47 | 59%
[AT-AT] Strass - Thaur 274B [DIR] / N-1 Westtirol - Zell 275 | 339.74 | 16%
13 | 827.25 | 119%
[D7-D7] Huellen - Y Huellen WESTFL W [OPP] / N-1 Hattingen - Witten KEMNAD S | 827.25 | 20%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Boxmeer-Dodewaard 380 Z | 551.05 | 20%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 52.62 | 57%
[D8-PL] Mikulowa PST1 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 47.8 | 22%
14 | 795.11 | 120%
[D7-D7] Huellen - Y Huellen WESTFL W [OPP] / N-1 Hattingen - Witten KEMNAD S | 795.11 | 20%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Boxmeer-Dodewaard 380 Z | 528.58 | 20%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 47.95 | 55%
[D8-PL] Mikulowa PST1 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 40.29 | 25%
15 | 1976.12 | 199%
[D2-D7] Grosskrotzenburg - Urberach UMAIN N2 [DIR] [D7] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 1422.24 | 8%
[HR-SI] 220kV Pehlin - Divaca [DIR] [HR] / N-1 Melina - Divaca | 123.74 | 76%
[RO-RO] TR Rosiori 400/220 1 [DIR] / N-1 Rosiori - Gadalin | 211.58 | 17%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 1976.12 | 0%
[NL-D7] Maasbracht - Siersdorf SELFK SW [DIR] [D7] / N-1 Maasbracht - Oberzier SELFK WS/W | 85.9 | 9%
[D8-D8] Roehrsdorf - Roehrsdorf PST442 [DIR] / N-1 Hradec - Rohrsdorf 1 | 202.86 | 44%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Krimpen a/d IJssel-Geertruidenberg 380 W | 347.09 | 20%
[D8-PL] Mikulowa PST1 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 79.24 | 25%
16 | 1811.9 | 221%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [OPP] / N-1 Buers - Westtirol ws (421) | 76.61 | 31%
[D7-D7] Huellen - Y Huellen WESTFL W [OPP] / N-1 Hattingen - Witten KEMNAD S | 1323.05 | 6%
[D2-D4] Grafenrheinfeld - Stalldorf 416 [DIR] [D2] / N-1 Grafenrheinfeld - Hoepfingen ge (411) | 429.75 | 6%
[RO-RO] TR Rosiori 400/220 1 [DIR] / N-1 Rosiori - Gadalin | 126.19 | 17%
[SI-AT] 220 kV Podlog - Obersielach [OPP] [SI] / N-1 Maribor-Kainachtal 1 | 424.24 | 76%
[D7-D7] Lambsheim - Weingarten LAMBSH W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 68.03 | 6%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 1811.9 | 0%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Krimpen a/d IJssel-Geertruidenberg 380 W | 392.36 | 20%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Dobrzen | 60.19 | 60%

## Slide 110
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220105 (part IV)
CORE FB MC
17 | 1085.81 | 126%
[D7-D7] Huellen - Y Huellen WESTFL W [OPP] / N-1 Hattingen - Witten KEMNAD S | 826.95 | 22%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 190.94 | 24%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Osburg - Uchtelfangen UCHTLF O | 2.03 | 41%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 1085.81 | 26%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Zwolle-Hengelo 380 W | 584.46 | 14%
18 | 649.31 | 89%
[D7-D7] Huellen - Y Huellen WESTFL W [OPP] / N-1 Hattingen - Witten KEMNAD S | 452.19 | 23%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 500.95 | 26%
[D7-D2] Urberach - Grosskrotzenburg [OPP] [D2] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 614.62 | 20%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Boxmeer-Dodewaard 380 Z | 649.31 | 20%
19 | 1049.85 | 141%
[D7-D7] Y Paffendorf - Oberzier SECHTM N [DIR] / N-1 Sechtem - Paffendorf - Oberzier SECHTM S | 192.66 | 48%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Boxmeer-Dodewaard 380 Z | 562.74 | 20%
[AT-CH] Westtirol 1 - Pradella 427 [DIR] [AT] / N-1 Westtirol 1 - Pradella 428 | 1049.85 | 17%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 31.32 | 56%
20 | 702.69 | 127%
[D2-D7] Grosskrotzenburg - Urberach UMAIN N2 [DIR] [D7] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 220.85 | 20%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 702.69 | 32%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Boxmeer-Dodewaard 380 Z | 508.36 | 20%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 16.66 | 54%
21 | 1006.65 | 48%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 1006.65 | 28%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Boxmeer-Dodewaard 380 Z | 550.4 | 20%
22 | 710.63 | 51%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 710.63 | 31%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Boxmeer-Dodewaard 380 Z | 554.86 | 20%
23 | 629.7 | 57%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 447.74 | 36%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Zwolle-Hengelo 380 W | 629.7 | 21%
24 | 675.56 | 66%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 675.56 | 36%
[NL-D2] Meeden-Diele 380 Z [OPP] [NL] / N-1 Diele - Meeden WEISS/W | 526.89 | 30%
Total sum | 4363.08 | 3960%

## Slide 111
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220106 (part I)
CORE FB MC
Hour | MAX of ShadowPrice | RAM %
1 | 946.84 | 115%
[D7-D2] Urberach - Grosskrotzenburg [OPP] [D2] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 946.84 | 20%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Boxmeer-Dodewaard 380 Z | 64.56 | 20%
[AT-AT] Tauern - Tauern TAPST [DIR] / N-1 Tauern - Weissenbach 221 | 30.58 | 48%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 360.5 | 27%
2 | 1531.46 | 66%
[AT-AT] Tauern - Tauern TAPST [DIR] / N-1 Tauern - Weissenbach 221 | 81.22 | 46%
[D2-D7] Grosskrotzenburg - Urberach UMAIN N2 [DIR] [D7] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 1531.46 | 20%
3 | 1325.18 | 72%
[AT-AT] Tauern - Tauern TAPST [DIR] / N-1 Tauern - Weissenbach 221 | 6.7 | 47%
[D2-D7] Grosskrotzenburg - Urberach UMAIN N2 [DIR] [D7] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 1325.18 | 25%
4 | 1152.78 | 64%
[D2-NL] Diele - Meeden SCHWARZ [DIR] [D2] / N-1 Diele - Meeden WEISS/W | 52.07 | 39%
[D2-D7] Grosskrotzenburg - Urberach UMAIN N2 [DIR] [D7] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 1152.78 | 25%
5 | 797.59 | 194%
[D2-NL] Diele - Meeden SCHWARZ [DIR] [D2] / N-1 Diele - Meeden WEISS/W | 226.72 | 52%
[AT-AT] Tauern - Weissenbach 221 [OPP] / N-1 Tauern - Weissenbach 221 | 60.45 | 38%
[D7-D7] Y Paffendorf - Oberzier SECHTM N [DIR] / N-1 Sechtem - Paffendorf - Oberzier SECHTM S | 49.48 | 69%
[D2-D7] Grosskrotzenburg - Urberach UMAIN N2 [DIR] [D7] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 797.59 | 35%
6 | 928.15 | 145%
[D7-D7] Y Paffendorf - Oberzier SECHTM N [DIR] / N-1 Sechtem - Paffendorf - Oberzier SECHTM S | 52.42 | 62%
[D2-D7] Grosskrotzenburg - Urberach UMAIN N2 [DIR] [D7] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 928.15 | 27%
[D2-NL] Diele - Meeden WEISS [DIR] [D2] / N-1 Diele - Meeden SCHWARZ/Z | 204.84 | 55%
7 | 925.51 | 120%
[D2-D8] Mecklar - Eisenach 450 [OPP] [D8] / N-1 Mecklar - Vieselbach 449 | 81.15 | 23%
[D7-D7] Y Paffendorf - Oberzier SECHTM N [DIR] / N-1 Sechtem - Paffendorf - Oberzier SECHTM S | 31.88 | 73%
[D2-D7] Grosskrotzenburg - Urberach UMAIN N2 [DIR] [D7] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 925.51 | 23%
8 | 991.43 | 46%
[D2-D8] Mecklar - Eisenach 450 [OPP] [D8] / N-1 Mecklar - Vieselbach 449 | 195.55 | 23%
[D2-D7] Grosskrotzenburg - Urberach UMAIN N2 [DIR] [D7] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 991.43 | 23%
9 | 1802.11 | 20%
[D2-D7] Grosskrotzenburg - Urberach UMAIN N2 [DIR] [D7] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 1802.11 | 20%

## Slide 112
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220106 (part II)
CORE FB MC
10 | 1460.02 | 94%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [OPP] / N-1 Buers - Westtirol ws (421) | 47.82 | 18%
[D7-D7] Y Paffendorf - Oberzier SECHTM N [DIR] / N-1 Sechtem - Paffendorf - Oberzier SECHTM S | 69.98 | 55%
[D2-D7] Grosskrotzenburg - Urberach UMAIN N2 [DIR] [D7] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 1460.02 | 21%
11 | 1078.79 | 88%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [OPP] / N-1 Buers - Westtirol ws (421) | 12.26 | 18%
[D7-D2] Urberach - Grosskrotzenburg [OPP] [D2] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 1078.79 | 20%
[D7-D7] Y Paffendorf - Oberzier SECHTM N [DIR] / N-1 Sechtem - Paffendorf - Oberzier SECHTM S | 51.28 | 50%
12 | 320.53 | 39%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [OPP] / N-1 Buers - Westtirol ws (421) | 65.91 | 19%
[D7-D2] Urberach - Grosskrotzenburg [OPP] [D2] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 320.53 | 20%
13 | 230.66 | 42%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [OPP] / N-1 Buers - Westtirol ws (421) | 0.51 | 22%
[D7-D2] Urberach - Grosskrotzenburg [OPP] [D2] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 230.66 | 20%
14 | 77.06 | 40%
[D2-D7] Grosskrotzenburg - Urberach UMAIN N2 [DIR] [D7] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 77.06 | 20%
[D2-D7] Oberbachern - Meitingen OBACHE N [DIR] [D7] / N-1 Meitingen - Oberbachern OBACHE S | 42.28 | 20%
15 | 23.15 | 106%
[PL-PL] Mikulowa AT1 [OPP] / N-1 Mikulowa AT2 | 23.15 | 86%
[D2-D7] Oberbachern - Meitingen OBACHE N [DIR] [D7] / N-1 Meitingen - Oberbachern OBACHE S | 18.87 | 20%
20 | 42.15 | 126%
[BE-FR] Avelgem - Avelin 380.80 [DIR] [BE] / N-1 Avelgem - Mastaing 380.79 | 42.15 | 71%
[BE-BE] PST Zandvliet 1 [DIR] [BE] / N-1 PST Zandvliet 2 | 14.33 | 55%

## Slide 113
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220106 (part III)
CORE FB MC
21 | 112.29 | 130%
[BE-FR] Avelgem - Avelin 380.80 [DIR] [BE] / N-1 Avelgem - Mastaing 380.79 | 112.29 | 74%
[BE-BE] PST Zandvliet 1 [DIR] [BE] / N-1 PST Zandvliet 2 | 38.19 | 56%
22 | 80.32 | 157%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Boxmeer-Dodewaard 380 Z | 19.22 | 20%
[BE-FR] Avelgem - Avelin 380.80 [DIR] [BE] / N-1 Avelgem - Mastaing 380.79 | 80.32 | 79%
[BE-BE] PST Zandvliet 1 [DIR] [BE] / N-1 PST Zandvliet 2 | 16.02 | 59%
23 | 204.01 | 147%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Boxmeer-Dodewaard 380 Z | 115.92 | 20%
[BE-FR] Avelgem - Avelin 380.80 [DIR] [BE] / N-1 Avelgem - Mastaing 380.79 | 204.01 | 70%
[BE-BE] PST Zandvliet 1 [DIR] [BE] / N-1 PST Zandvliet 2 | 1.22 | 57%
24 | 1966.62 | 286%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 80.23 | 98%
[HR-SI] 220kV Pehlin - Divaca [DIR] [HR] / N-1 Melina - Divaca | 5.19 | 53%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 327.1 | 34%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Boxmeer-Dodewaard 380 Z | 56.78 | 20%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 21.41 | 67%
[AT-AT] St. Peter 2 - St. Peter 1 SPRHU41 [OPP] / N-1 St. Peter 2 - St. Peter 1 SPRHU42 | 1102.55 | 7%
[D7-D7] Huellen - Y Huellen WESTFL W [OPP] / N-1 Rosenblumendelle - Karnap - Buescherhof BUESHR W | 1966.62 | 7%
Total sum | 1966.62 | 2097%

## Slide 114
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220107 (part I)
CORE FB MC
Hour | MAX of ShadowPrice | RAM %
1 | 380.42 | 81%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Boxmeer-Dodewaard 380 Z | 185.13 | 20%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 380.42 | 61%
2 | 296.81 | 138%
[D7-D7] Y Paffendorf - Oberzier SECHTM N [DIR] / N-1 Sechtem - Paffendorf - Oberzier SECHTM S | 6.35 | 52%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Boxmeer-Dodewaard 380 Z | 187.21 | 20%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 296.81 | 66%
3 | 386.57 | 83%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Boxmeer-Dodewaard 380 Z | 233.59 | 20%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 386.57 | 63%
4 | 300.64 | 137%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Boxmeer-Dodewaard 380 Z | 236.91 | 20%
[BE-FR] Achene - Lonny 19 [DIR] [FR] / N-1 Avelgem - Avelin 380.80 | 29.73 | 57%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 300.64 | 60%
5 | 287.14 | 135%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Boxmeer-Dodewaard 380 Z | 234.94 | 20%
[BE-FR] Achene - Lonny 19 [DIR] [FR] / N-1 Avelgem - Avelin 380.80 | 32.04 | 56%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 287.14 | 59%
6 | 237.7 | 143%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Boxmeer-Dodewaard 380 Z | 130.99 | 20%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Dobrzen | 19.37 | 66%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 237.7 | 57%
7 | 1046.97 | 197%
[HR-SI] 220kV Pehlin - Divaca [DIR] [HR] / N-1 Melina - Divaca | 55.47 | 52%
[D7-D7] Paffendorf - Rommerskirchen PAFFEN S [OPP] / N-1 Knapsack - Sechtem WABERG W | 964.68 | 8%
[D7-D7] Lambsheim - Weingarten LAMBSH W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 696.71 | 11%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 1046.97 | 14%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Dobrzen | 154.19 | 55%
[NL-BE] Maasbracht-Van Eyck 380 W [OPP] [NL] / N-1 Achene - Gramme 380.10 | 94.07 | 4%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 47.49 | 52%

## Slide 115
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220107 (part II)
CORE FB MC
8 | 4017.53 | 242%
[CZ-D8] Hradec - Rohrsdorf 446 [OPP] [D8] / N-1 Hradec - Rohrsdorf 1 | 132.81 | 50%
[AT-HU] Zurndorf - Gyoer 439B [OPP] [AT] / BASECASE | 475.99 | 5%
[D7-D7] Lambsheim - Weingarten LAMBSH W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 1097.05 | 5%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 4017.53 | 0%
[RO-RO] TR Portile de Fier 400/220 1 [OPP] / N-1 TR Portile de Fier 400/220 3 | 58.6 | 22%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Maasbracht-Eindhoven 380 W | 937.29 | 9%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Dobrzen | 121.29 | 50%
[NL-BE] Rilland-Zandvliet 380 W [DIR] [NL] / N-1 PST Zandvliet 2 | 94.92 | 12%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 224.28 | 50%
[AT-SI] Obersielach - Podlog 247 [DIR] [AT] / N-1 Maribor-Kainachtal 1 | 48.81 | 33%
[NL-D7] Maasbracht - Oberzier SELFK WS [DIR] [D7] / N-1 Achene - Lonny 380.19 | 298.97 | 6%
9 | 4349.62 | 284%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [OPP] / N-1 Buers - Westtirol ws (421) | 532.81 | 20%
[AT-CZ] Duernrohr 1 - Slavetice 437 [OPP] [AT] / N-1 Slavetice - Durnrohr 2 | 280.25 | 0%
[HR-SI] 220kV Pehlin - Divaca [OPP] [HR] / N-1 Melina - Divaca | 145.7 | 125%
[CZ-D8] Hradec - Rohrsdorf 446 [OPP] [D8] / N-1 Hradec - Rohrsdorf 1 | 349.33 | 49%
[AT-HU] Zurndorf - Gyoer 439B [OPP] [AT] / N-1 Szombathely - Zurndorf | 539.67 | 5%
[RO-RO] TR Rosiori 400/220 1 [DIR] / N-1 TR Iernut 400/220 1 | 350.54 | 37%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 4349.62 | 0%
[D7-D7] Lambsheim - Weingarten LAMBSH W [DIR] / N-1 Grafenrheinfeld - Hoepfingen ge (411) | 942.33 | 0%
[AT-AT] Suedburgenland - Wien Suedost 478 [OPP] / N-1 Oststeiermark - Wien Suedost 477 | 143.1 | 1%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Maasbracht-Eindhoven 380 W | 1084.9 | 0%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Dobrzen | 1.14 | 48%
[NL-BE] Rilland-Zandvliet 380 W [DIR] [NL] / N-1 PST Zandvliet 2 | 156.74 | 0%
[NL-BE] Maasbracht-Van Eyck 380 W [OPP] [NL] / N-1 Achene - Gramme 380.10 | 216.21 | 0%
10 | 4923.56 | 459%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [OPP] / N-1 Buers - Westtirol ws (421) | 212.84 | 0%
[D7-D7] Y Paffendorf - Oberzier SECHTM N [DIR] / N-1 Sechtem - Paffendorf - Oberzier SECHTM S | 111.17 | 0%
[HR-SI] 220kV Pehlin - Divaca [OPP] [HR] / N-1 Melina - Divaca | 238.36 | 122%
[RO-RS] Portile de Fier - Djerdap [OPP] [RO] / N-1 Tantareni-Kozlodui | 28.06 | 86%
[CZ-D8] Hradec - Rohrsdorf 446 [OPP] [D8] / N-1 Hradec - Rohrsdorf 1 | 140.09 | 50%
[AT-HU] Zurndorf - Gyoer 439B [OPP] [AT] / N-1 Szombathely - Zurndorf | 486.68 | 4%
[RO-RO] TR Rosiori 400/220 1 [DIR] / N-1 TR Iernut 400/220 1 | 199.39 | 37%
[NL-NL] Krimpen a/d IJssel-Geertruidenberg 380 W [OPP] / N-1 Krimpen a/d IJssel-Geertruidenberg 380 Z | 24.87 | 79%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 4923.56 | 0%
[AT-AT] Suedburgenland - Wien Suedost 478 [OPP] / N-1 Oststeiermark - Wien Suedost 477 | 433.16 | 1%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Maasbracht-Eindhoven 380 W | 672.58 | 0%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Dobrzen | 45.55 | 47%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 273.24 | 35%

## Slide 116
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220107 (part III)
CORE FB MC
11 | 1578.88 | 376%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [OPP] / N-1 Buers - Westtirol ws (421) | 85.29 | 5%
[AT-D2] St. Peter 2 - Pleinting 258 [OPP] [AT] / N-1 Pleinting - Pirach 257 | 288.49 | 19%
[D7-D7] Y Paffendorf - Oberzier SECHTM N [DIR] / N-1 Sechtem - Paffendorf - Oberzier SECHTM S | 242.96 | 23%
[RO-RO] TR Rosiori 400/220 1 [DIR] / N-1 TR Iernut 400/220 1 | 87.31 | 42%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 1578.88 | 21%
[D7-D7] Lambsheim - Weingarten LAMBSH W [DIR] / N-1 Grafenrheinfeld - Hoepfingen ge (411) | 824.83 | 3%
[AT-AT] Suedburgenland - Wien Suedost 478 [OPP] / N-1 Oststeiermark - Wien Suedost 477 | 135.19 | 16%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Boxmeer-Dodewaard 380 Z | 617.28 | 7%
[HU-HU] Gonyu - Gyor [DIR] / N-1 Gabcikovo - Gyor | 102.21 | 79%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Dobrzen | 77.11 | 50%
[SK-HU] Levice - God [DIR] [HU] / N-1 R.Sobota - Sajoivanka | 69.47 | 74%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 141.86 | 36%
12 | 630.4 | 136%
[AT-D2] St. Peter 2 - Pleinting 258 [OPP] [AT] / N-1 Pleinting - Pirach 257 | 345.66 | 74%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Maasbracht-Eindhoven 380 W | 630.4 | 16%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 240.46 | 45%
13 | 337.41 | 63%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Boxmeer-Dodewaard 380 Z | 322.42 | 21%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 337.41 | 42%
14 | 329.67 | 75%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Boxmeer-Dodewaard 380 Z | 329.67 | 23%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 149.75 | 52%
15 | 2504.19 | 159%
[AT-AT] Salzburg - Tauern 231A [DIR] / N-1 Salzburg - Tauern 232A | 787.04 | 46%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 2504.19 | 3%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Boxmeer-Dodewaard 380 Z | 330.07 | 25%
[NL-BE] Rilland-Zandvliet 380 W [DIR] [NL] / N-1 PST Zandvliet 2 | 111.84 | 24%
[NL-BE] Maasbracht-Van Eyck 380 W [OPP] [NL] / N-1 Achene - Gramme 380.10 | 56.26 | 4%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 122.17 | 58%
16 | 64.55 | 170%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 12.8 | 47%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Boxmeer-Dodewaard 380 Z | 55.61 | 26%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 8.14 | 68%
[D8-PL] Mikulowa PST1 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 64.55 | 29%

## Slide 117
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220107 (part IV)
CORE FB MC
17 | 153.79 | 95%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 101.06 | 39%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Boxmeer-Dodewaard 380 Z | 153.79 | 28%
[D8-PL] Mikulowa PST1 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 110.09 | 28%
18 | 3479.04 | 247%
[AT-D2] St. Peter 2 - Pleinting 258 [OPP] [AT] / N-1 Pleinting - Pirach 257 | 231.68 | 84%
[D2-D7] Grosskrotzenburg - Urberach UMAIN N2 [DIR] [D7] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 2 | 31%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 3479.04 | 24%
[RO-RO] TR Portile de Fier 400/220 1 [OPP] / N-1 TR Portile de Fier 400/220 3 | 511.22 | 0%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Boxmeer-Dodewaard 380 Z | 149.83 | 29%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 24.36 | 78%
19 | 224.87 | 95%
[D7-D7] Y Paffendorf - Oberzier SECHTM N [DIR] / N-1 Sechtem - Paffendorf - Oberzier SECHTM S | 55.05 | 68%
[RO-RO] TR Portile de Fier 400/220 1 [OPP] / N-1 TR Portile de Fier 400/220 2 | 170.75 | 0%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Zwolle-Hengelo 380 W | 224.87 | 27%
20 | 324.74 | 174%
[D7-D7] Y Paffendorf - Oberzier SECHTM N [DIR] / N-1 Sechtem - Paffendorf - Oberzier SECHTM S | 3.03 | 74%
[D2-NL] Diele - Meeden SCHWARZ [DIR] [D2] / N-1 Diele - Meeden WEISS/W | 324.74 | 38%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 150.32 | 62%
21 | 576.4 | 188%
[D7-D7] Y Paffendorf - Oberzier SECHTM N [DIR] / N-1 Sechtem - Paffendorf - Oberzier SECHTM S | 41.44 | 72%
[RO-RO] TR Portile de Fier 400/220 1 [OPP] / N-1 TR Portile de Fier 400/220 3 | 576.4 | 0%
[NL-BE] Maasbracht - Van Eyck 380 White/28 [DIR] [BE] / N-1 PST Van Eyck 1 | 17.56 | 84%
[AT-CH] Westtirol 1 - Pradella 427 [DIR] [AT] / N-1 Westtirol 1 - Pradella 428 | 72.15 | 32%
22 | 1.37 | 145%
[D7-D7] Y Paffendorf - Oberzier SECHTM N [DIR] / N-1 Sechtem - Paffendorf - Oberzier SECHTM S | 1.37 | 63%
[NL-BE] Maasbracht - Van Eyck 380 White/28 [DIR] [BE] / N-1 PST Van Eyck 1 | 0.63 | 81%
23 | 219.76 | 119%
[D7-D7] Y Paffendorf - Oberzier SECHTM N [DIR] / N-1 Sechtem - Paffendorf - Oberzier SECHTM S | 75.62 | 51%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 59.44 | 49%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Boxmeer-Dodewaard 380 Z | 219.76 | 20%
24 | 433.41 | 139%
[D7-D7] Y Paffendorf - Oberzier SECHTM N [DIR] / N-1 Sechtem - Paffendorf - Oberzier SECHTM S | 90.56 | 53%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Boxmeer-Dodewaard 380 Z | 433.41 | 20%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 179.22 | 66%
Total sum | 4923.56 | 4081%

## Slide 118
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220108 (part I)
CORE FB MC
Hour | MAX of ShadowPrice | RAM %
1 | 241.01 | 187%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 9.54 | 72%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Boxmeer-Dodewaard 380 Z | 241.01 | 37%
[D7-D7] Y Paffendorf - Oberzier SECHTM S [DIR] / N-1 Sechtem - Paffendorf - Oberzier SECHTM N | 67.81 | 77%
2 | 141.52 | 116%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 28.61 | 75%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Maasbracht-Eindhoven 380 W | 141.52 | 41%
3 | 61.73 | 210%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 32.74 | 77%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Boxmeer-Dodewaard 380 Z | 61.73 | 47%
[D7-D7] Y Paffendorf - Oberzier SECHTM S [DIR] / N-1 Sechtem - Paffendorf - Oberzier SECHTM N | 17.55 | 87%
4 | 90.3 | 177%
[RO-RO] TR Portile de Fier 400/220 1 [OPP] / N-1 TR Portile de Fier 400/220 2 | 66.08 | 49%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Boxmeer-Dodewaard 380 Z | 90.3 | 46%
[D7-D7] Y Paffendorf - Oberzier SECHTM S [DIR] / N-1 Sechtem - Paffendorf - Oberzier SECHTM N | 25.4 | 82%
9 | 119.86 | 28%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 119.86 | 28%
10 | 64.41 | 59%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 64.41 | 29%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 40.42 | 29%
11 | 22.4 | 91%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 22.4 | 58%
[D8-PL] Mikulowa PST1 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 16.82 | 33%
14 | 96.23 | 133%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 7.38 | 81%
[D8-PL] Mikulowa PST1 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 96.23 | 52%
15 | 121.69 | 160%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 25.1 | 32%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 5.28 | 80%
[D8-PL] Mikulowa PST1 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 121.69 | 48%

## Slide 119
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220108 (part II)
CORE FB MC
16 | 133.61 | 179%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 16.98 | 62%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 33.48 | 33%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Krimpen a/d IJssel-Geertruidenberg 380 W | 0.14 | 36%
[D8-PL] Mikulowa PST1 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 133.61 | 48%
17 | 197.85 | 144%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 34.83 | 64%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 44.31 | 33%
[D8-PL] Mikulowa PST1 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 197.85 | 47%
18 | 3605.47 | 258%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 3605.47 | 9%
[AT-AT] Suedburgenland - Wien Suedost 478 [OPP] / N-1 Oststeiermark - Wien Suedost 477 | 247.77 | 34%
[D2-D8] Altenfeld - Redwitz 459 [DIR] [D8] / N-1 Altenfeld - Redwitz 460 | 58.7 | 25%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Zwolle-Hengelo 380 W | 193.58 | 20%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 6.95 | 87%
[D8-PL] Mikulowa PST1 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 59.08 | 27%
[BE-BE] PST Van Eyck 2 [OPP] [BE] / N-1 Achene - Lonny 380.19 | 19.38 | 57%
19 | 488.4 | 74%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 488.4 | 27%
[PL-PL] Mikulowa - Pasikurowice [DIR] / N-1 Czarna - Mikulowa | 288.53 | 19%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Zwolle-Hengelo 380 W | 93.74 | 23%
[NL-D7] Maasbracht - Oberzier SELFK WS [DIR] [D7] / N-1 Achene - Gramme 380.10 | 19.65 | 5%
20 | 4358.5 | 177%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 4358.5 | 5%
[D4-D7] Daxlanden - Weingarten ge (Germersheim Sued) [OPP] [D4] / N-1 Grafenrheinfeld - Hoepfingen ge (411) | 2425.65 | 2%
[NL-D2] Meeden-Diele 380 Z [OPP] [NL] / N-1 Diele - Meeden WEISS/W | 618.24 | 64%
[RO-RO] TR Portile de Fier 400/220 1 [OPP] / N-1 TR Portile de Fier 400/220 3 | 144.24 | 60%
[D8-PL] Mikulowa PST1 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 55.28 | 27%
[D7-D7] Paffendorf - Rommerskirchen PAFFEN S [OPP] / N-1 Knapsack - Sechtem WABERG W | 977.49 | 19%

## Slide 120
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220108 (part III)
CORE FB MC
21 | 4094.36 | 255%
[D2-D2] Altheim - Sittling 219 [OPP] / N-1 Altheim - Sittling 220 | 841.24 | 61%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 4094.36 | 9%
[NL-D2] Meeden-Diele 380 Z [OPP] [NL] / N-1 COBRA HVDC | 45.82 | 31%
[PL-PL] Mikulowa - Pasikurowice [DIR] / N-1 Czarna - Mikulowa | 76.35 | 19%
[AT-AT] Tauern - Weissenbach 222 [OPP] / N-1 Tauern - Weissenbach 221 | 741.9 | 16%
[BE-FR] Avelgem - Avelin 380.80 [DIR] [BE] / N-1 Avelgem - Mastaing 380.79 | 24.69 | 85%
[D7-D7] Mengede - Y Huellen WESTFL W [DIR] / N-1 Hattingen - Witten KEMNAD S | 726.35 | 34%
22 | 668 | 290%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 148.92 | 68%
[D2-D2] Altheim - Sittling 219 [OPP] / N-1 Altheim - Sittling 220 | 114.27 | 77%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 96.97 | 28%
[PL-PL] Mikulowa - Pasikurowice [DIR] / N-1 Czarna - Mikulowa | 668 | 19%
[BE-FR] Achene - Lonny 380.19 [DIR] [BE] / N-1 Aubange - Moulaine 220.513 | 4 | 68%
[D7-D7] Mengede - Y Huellen WESTFL W [DIR] / N-1 Hattingen - Witten KEMNAD S | 364.58 | 30%
23 | 1300.34 | 92%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Gyor - Neusiedl | 1300.34 | 5%
[AT-AT] Suedburgenland - Wien Suedost 478 [OPP] / N-1 Oststeiermark - Wien Suedost 477 | 62.06 | 38%
[D2-D8] Altenfeld - Redwitz 459 [DIR] [D8] / N-1 Altenfeld - Redwitz 460 | 976.54 | 24%
[D8-PL] Mikulowa PST1 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 38.85 | 26%
24 | 1005.59 | 104%
[D7-D2] Urberach - Grosskrotzenburg [OPP] [D2] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 124.96 | 23%
[D2-D8] Altenfeld - Redwitz 459 [DIR] [D8] / N-1 Altenfeld - Redwitz 460 | 1005.59 | 24%
[D8-PL] Mikulowa PST1 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 19.07 | 28%
[D7-D7] Mengede - Y Huellen WESTFL W [DIR] / N-1 Hattingen - Witten KEMNAD S | 9.9 | 29%
Total sum | 4358.5 | 2736%

## Slide 121
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220109 (part I)
CORE FB MC
Hour | MAX of ShadowPrice | RAM %
1 | 2031.99 | 403%
[AT-CZ] Duernrohr 1 - Slavetice 437 [OPP] [AT] / N-1 Slavetice - Durnrohr 2 | 42.14 | 70%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 89.2 | 33%
[RO-RO] Resita - Timisoara c1 [DIR] / N-1 Resita - Timisoara c2 | 14.05 | 53%
[SI-AT] 220 kV Podlog - Obersielach [OPP] [SI] / N-1 Maribor-Kainachtal 1 | 19.09 | 73%
[NL-D2] Meeden-Diele 380 Z [OPP] [NL] / N-1 Diele - Meeden WEISS/W | 624.76 | 20%
[D2-D8] Altenfeld - Redwitz 459 [DIR] [D8] / N-1 Altenfeld - Redwitz 460 | 797.1 | 24%
[RO-RS] Portile de Fier - Djerdap [DIR] [RO] / N-1 Resita - Timisoara | 52.88 | 72%
[PL-PL] Czarna - Pasikurowice [DIR] / N-1 Mikulowa - Pasikurowice | 333.04 | 19%
[BE-FR] Aubange - Moulaine 220.513 [DIR] [BE] / N-1 Achene - Lonny 380.19 | 203.39 | 22%
[BE-FR] Aubange - Moulaine 220.513 [DIR] [BE] / N-1 ALEGRO DC | 2031.99 | 17%
2 | 1770.9 | 453%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [DIR] / N-1 Pradella-Y/Punt LN300153 | 115.85 | 98%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 126.05 | 77%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 15.31 | 35%
[AT-AT] Hessenberg - Obersielach 286 [DIR] / N-1 Hessenberg - Zeltweg 287 | 184.52 | 78%
[NL-D2] Meeden-Diele 380 Z [OPP] [NL] / N-1 Diele - Meeden WEISS/W | 420.41 | 20%
[D2-D8] Altenfeld - Redwitz 459 [DIR] [D8] / N-1 Altenfeld - Redwitz 460 | 177.31 | 26%
[PL-PL] Mikulowa - Pasikurowice [DIR] / N-1 Czarna - Mikulowa | 255.3 | 19%
[RO-RS] Portile de Fier - Djerdap [DIR] [RO] / N-1 Resita - Timisoara | 54.16 | 60%
[BE-FR] Aubange - Moulaine 220.513 [DIR] [BE] / N-1 Achene - Lonny 380.19 | 116.97 | 23%
[BE-FR] Aubange - Moulaine 220.513 [DIR] [BE] / N-1 ALEGRO DC | 1770.9 | 17%
3 | 1452.86 | 554%
[AT-D2] Vill_Thaur - Silz 273C [OPP] [AT] / N-1 Vill_Thaur - Silz 274C | 146.11 | 115%
[RO-RS] Portile de Fier - Djerdap [DIR] [RO] / N-1 Tantareni-Kozlodui | 0.01 | 61%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 28.65 | 79%
[CZ-D8] Hradec - Rohrsdorf 446 [OPP] [D8] / N-1 Hradec - Rohrsdorf 1 | 145.63 | 54%
[D2-D2] Altheim - Sittling 219 [OPP] / N-1 Altheim - Sittling 220 | 101.13 | 92%
[SI-AT] 220 kV Podlog - Obersielach [OPP] [SI] / N-1 Maribor-Kainachtal 1 | 25.98 | 70%
[NL-D2] Meeden-Diele 380 Z [OPP] [NL] / N-1 Diele - Meeden WEISS/W | 104.74 | 20%
[D8-PL] Mikulowa PST1 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 51.1 | 32%
[BE-BE] PST Zandvliet 2 [OPP] [BE] / N-1 PST Zandvliet 1 | 2 | 3%
[BE-FR] Aubange - Moulaine 220.513 [DIR] [BE] / N-1 PST Van Eyck 2 | 23.08 | 11%
[BE-FR] Aubange - Moulaine 220.513 [DIR] [BE] / N-1 ALEGRO DC | 1452.86 | 16%
4 | 658.36 | 515%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [DIR] / N-1 Pradella-Y/Punt LN300153 | 173.97 | 88%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 13.33 | 80%
[CZ-D8] Hradec - Rohrsdorf 446 [OPP] [D8] / N-1 Hradec - Rohrsdorf 1 | 77.09 | 59%
[D2-NL] Diele - Meeden SCHWARZ [DIR] [D2] / N-1 Diele - Meeden WEISS/W | 50.93 | 20%
[SI-AT] 220 kV Podlog - Obersielach [OPP] [SI] / N-1 Maribor-Kainachtal 1 | 71.52 | 75%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Dobrzen | 10.97 | 69%
[SK-HU] Levice - God [DIR] [SK] / N-1 R.Sobota - Sajoivanka | 12.36 | 66%
[BE-BE] PST Van Eyck 2 [OPP] [BE] / N-1 ALEGRO DC | 124.86 | 3%
[D8-PL] Mikulowa PST1 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 128.28 | 33%
[BE-FR] Aubange - Moulaine 220.513 [DIR] [BE] / N-1 PST Van Eyck 2 | 15.98 | 9%
[BE-FR] Aubange - Moulaine 220.513 [DIR] [BE] / N-1 ALEGRO DC | 658.36 | 14%

## Slide 122
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220109 (part II)
CORE FB MC
5 | 545.29 | 385%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [DIR] / N-1 Pradella-Y/Punt LN300153 | 218.78 | 86%
[D2-NL] Diele - Meeden SCHWARZ [DIR] [D2] / N-1 Diele - Meeden WEISS/W | 44.08 | 21%
[SI-AT] 220 kV Podlog - Obersielach [OPP] [SI] / N-1 Maribor-Kainachtal 1 | 92.19 | 85%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Dobrzen | 76.65 | 68%
[SK-HU] Levice - God [DIR] [SK] / N-1 R.Sobota - Sajoivanka | 22.15 | 67%
[BE-BE] PST Van Eyck 2 [OPP] [BE] / N-1 ALEGRO DC | 137.1 | 2%
[D8-PL] Mikulowa PST1 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 188.89 | 33%
[BE-FR] Aubange - Moulaine 220.513 [DIR] [BE] / N-1 PST Van Eyck 2 | 15.12 | 8%
[BE-FR] Aubange - Moulaine 220.513 [DIR] [BE] / N-1 ALEGRO DC | 545.29 | 14%
6 | 524.66 | 450%
[AT-D2] Vill_Thaur - Silz 273C [OPP] [AT] / N-1 Vill_Thaur - Silz 274C | 397.34 | 105%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 38.71 | 82%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 25.99 | 38%
[D2-NL] Diele - Meeden SCHWARZ [DIR] [D2] / N-1 Diele - Meeden WEISS/W | 17.5 | 20%
[SI-AT] 220 kV Podlog - Obersielach [OPP] [SI] / N-1 Maribor-Kainachtal 1 | 87.93 | 81%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Dobrzen | 52.46 | 67%
[BE-BE] PST Van Eyck 2 [OPP] [BE] / N-1 ALEGRO DC | 173.32 | 1%
[D8-PL] Mikulowa PST1 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 170.28 | 33%
[BE-FR] Aubange - Moulaine 220.513 [DIR] [BE] / N-1 PST Van Eyck 2 | 7.57 | 8%
[BE-FR] Aubange - Moulaine 220.513 [DIR] [BE] / N-1 ALEGRO DC | 524.66 | 14%
7 | 1822.35 | 525%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 140.38 | 83%
[RO-RO] TR Portile de Fier 400/220 1 [OPP] / N-1 TR Portile de Fier 400/220 2 | 9.1 | 38%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 11.97 | 36%
[D2-NL] Diele - Meeden SCHWARZ [DIR] [D2] / N-1 Diele - Meeden WEISS/W | 103.24 | 20%
[SI-AT] 220 kV Podlog - Obersielach [OPP] [SI] / N-1 Maribor-Kainachtal 1 | 100.24 | 83%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Dobrzen | 1.79 | 71%
[BE-FR] Avelgem - Avelin 380.80 [OPP] [BE] / N-1 PST Van Eyck 1 | 285.99 | 0%
[D8-PL] Mikulowa PST1 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 130.87 | 34%
[AT-AT] Strass - Thaur 273B [OPP] / N-1 Strass - Thaur 274B | 373.15 | 155%
[BE-FR] Aubange - Moulaine 220.513 [DIR] [BE] / N-1 PST Van Eyck 2 | 115.29 | 0%
[BE-FR] Aubange - Moulaine 220.513 [DIR] [BE] / N-1 ALEGRO DC | 1822.35 | 5%
8 | 1657.15 | 605%
[HR-BA] 220kV Zakucac - Mostar [OPP] [HR] / N-1 Konjsko - Mostar | 21.05 | 140%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 280.48 | 83%
[RO-RO] TR Portile de Fier 400/220 1 [OPP] / N-1 TR Portile de Fier 400/220 2 | 189.28 | 34%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 16.85 | 36%
[D2-NL] Diele - Meeden SCHWARZ [DIR] [D2] / N-1 Diele - Meeden WEISS/W | 211.99 | 20%
[SI-AT] 220 kV Podlog - Obersielach [OPP] [SI] / N-1 Maribor-Kainachtal 1 | 126 | 79%
[D8-PL] Mikulowa PST1 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 128.59 | 33%
[AT-AT] Strass - Thaur 273B [OPP] / N-1 Strass - Thaur 274B | 506.94 | 168%
[BE-FR] Aubange - Moulaine 220.513 [DIR] [BE] / N-1 Achene - Lonny 380.19 | 55.07 | 8%
[BE-FR] Aubange - Moulaine 220.513 [DIR] [BE] / N-1 ALEGRO DC | 1657.15 | 5%

## Slide 123
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220109 (part III)
CORE FB MC
9 | 1965.2 | 455%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 391.44 | 73%
[RO-RO] TR Portile de Fier 400/220 1 [OPP] / N-1 TR Portile de Fier 400/220 2 | 70.02 | 35%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 31.77 | 30%
[D2-NL] Diele - Meeden SCHWARZ [DIR] [D2] / N-1 Diele - Meeden WEISS/W | 244.83 | 20%
[SI-AT] 220 kV Podlog - Obersielach [OPP] [SI] / N-1 Maribor-Kainachtal 1 | 132.99 | 53%
[BE-BE] PST Zandvliet 2 [DIR] [BE] / N-1 PST Zandvliet 1 | 120.02 | 34%
[D8-PL] Mikulowa PST1 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 140.56 | 30%
[AT-AT] Strass - Thaur 273B [OPP] / N-1 Strass - Thaur 274B | 387.54 | 166%
[BE-FR] Aubange - Moulaine 220.513 [DIR] [BE] / N-1 Achene - Lonny 380.19 | 221.23 | 9%
[BE-FR] Aubange - Moulaine 220.513 [DIR] [BE] / N-1 ALEGRO DC | 1965.2 | 6%
10 | 2020.57 | 385%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [DIR] / N-1 Pradella-Y/Punt LN300153 | 98.44 | 90%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 400.09 | 72%
[RO-RO] TR Portile de Fier 400/220 1 [OPP] / N-1 TR Portile de Fier 400/220 2 | 26.21 | 39%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 26.63 | 31%
[D2-NL] Diele - Meeden SCHWARZ [DIR] [D2] / N-1 Diele - Meeden WEISS/W | 501.93 | 20%
[SI-AT] 220 kV Podlog - Obersielach [OPP] [SI] / N-1 Maribor-Kainachtal 1 | 102.13 | 52%
[BE-BE] PST Zandvliet 2 [DIR] [BE] / N-1 PST Zandvliet 1 | 295.03 | 33%
[D8-PL] Mikulowa PST1 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 126.66 | 31%
[BE-FR] Aubange - Moulaine 220.513 [DIR] [BE] / N-1 Achene - Lonny 380.19 | 508.42 | 10%
[BE-FR] Aubange - Moulaine 220.513 [DIR] [BE] / N-1 ALEGRO DC | 2020.57 | 7%
11 | 1172.43 | 234%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 373.3 | 71%
[D2-NL] Diele - Meeden SCHWARZ [DIR] [D2] / N-1 Diele - Meeden WEISS/W | 115.3 | 65%
[BE-BE] PST Van Eyck 2 [DIR] [BE] / N-1 PST Van Eyck 1 | 189.62 | 43%
[D8-PL] Mikulowa PST1 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 170.42 | 32%
[BE-FR] Aubange - Moulaine 220.513 [DIR] [BE] / N-1 Achene - Lonny 380.19 | 1172.43 | 24%
12 | 1349.69 | 198%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 354.87 | 70%
[D2-NL] Diele - Meeden SCHWARZ [DIR] [D2] / N-1 Diele - Meeden WEISS/W | 237.61 | 32%
[BE-BE] PST Van Eyck 2 [DIR] [BE] / N-1 PST Van Eyck 1 | 214.16 | 41%
[D8-PL] Mikulowa PST1 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 261.43 | 31%
[BE-FR] Aubange - Moulaine 220.513 [DIR] [BE] / N-1 Achene - Lonny 380.19 | 1349.69 | 24%
13 | 1603.88 | 210%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 140.02 | 69%
[D2-NL] Diele - Meeden SCHWARZ [DIR] [D2] / N-1 Diele - Meeden WEISS/W | 209.16 | 40%
[BE-BE] PST Van Eyck 2 [DIR] [BE] / N-1 PST Van Eyck 1 | 258.64 | 39%
[D8-PL] Mikulowa PST1 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 212.03 | 38%
[BE-FR] Aubange - Moulaine 220.513 [DIR] [BE] / N-1 Achene - Lonny 380.19 | 1603.88 | 25%

## Slide 124
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220109 (part IV)
CORE FB MC
14 | 760.38 | 169%
[D2-NL] Diele - Meeden SCHWARZ [DIR] [D2] / N-1 Diele - Meeden WEISS/W | 164.76 | 45%
[BE-BE] PST Van Eyck 2 [DIR] [BE] / N-1 PST Van Eyck 1 | 119.34 | 34%
[D8-PL] Mikulowa PST1 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 282.32 | 35%
[BE-BE] PST Van Eyck 2 [DIR] [BE] / N-1 ALEGRO DC | 298.37 | 31%
[BE-FR] Aubange - Moulaine 220.513 [DIR] [BE] / N-1 Achene - Lonny 380.19 | 760.38 | 23%
15 | 406.8 | 226%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 38.23 | 31%
[D2-NL] Diele - Meeden SCHWARZ [DIR] [D2] / N-1 Diele - Meeden WEISS/W | 124.52 | 63%
[BE-BE] PST Van Eyck 2 [DIR] [BE] / N-1 PST Van Eyck 1 | 20.33 | 40%
[D8-PL] Mikulowa PST3 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 2 | 406.8 | 29%
[BE-BE] PST Van Eyck 2 [DIR] [BE] / N-1 ALEGRO DC | 112.66 | 36%
[BE-FR] Aubange - Moulaine 220.513 [DIR] [BE] / N-1 Achene - Lonny 380.19 | 163.18 | 27%
16 | 204.44 | 151%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 204.44 | 29%
[D2-NL] Diele - Meeden SCHWARZ [DIR] [D2] / N-1 Diele - Meeden WEISS/W | 104.59 | 64%
[D8-PL] Mikulowa PST1 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 114.29 | 37%
[BE-BE] Lixhe - Gramme 380.11 [DIR] / N-1 Lixhe - Van Eyck 380.91 | 3.68 | 21%
17 | 359.08 | 77%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 359.08 | 28%
[PL-PL] Czarna - Pasikurowice [DIR] / N-1 Mikulowa - Pasikurowice | 61.96 | 28%
[BE-FR] Avelgem - Mastaing 380.79 [OPP] [BE] / N-1 Avelgem - Avelin 380.80 | 29.1 | 0%
[BE-BE] Lixhe - Gramme 380.11 [DIR] / N-1 Lixhe - Van Eyck 380.91 | 1.57 | 21%
18 | 284.71 | 50%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 284.71 | 30%
[BE-FR] Avelgem - Mastaing 380.79 [OPP] [BE] / N-1 Avelgem - Avelin 380.80 | 17.68 | 0%
[BE-BE] Lixhe - Gramme 380.11 [DIR] / N-1 Lixhe - Van Eyck 380.91 | 0.91 | 21%
19 | 137.76 | 51%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 137.76 | 30%
[BE-BE] Lixhe - Gramme 380.11 [DIR] / N-1 Lixhe - Van Eyck 380.91 | 0.07 | 20%

## Slide 125
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220109 (part V)
CORE FB MC
20 | 245.54 | 87%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 229.96 | 32%
[BE-BE] PST Van Eyck 2 [DIR] [BE] / N-1 PST Van Eyck 1 | 11.92 | 39%
[BE-BE] Y-Mercator (Horta - Rodenhuize) 380.74 [OPP] / N-1 Horta - Mercator 380.73 | 245.54 | 16%
21 | 221.03 | 88%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 50.31 | 33%
[BE-BE] PST Van Eyck 2 [DIR] [BE] / N-1 PST Van Eyck 1 | 10.83 | 39%
[BE-BE] Y-Mercator (Horta - Rodenhuize) 380.74 [OPP] / N-1 Horta - Mercator 380.73 | 221.03 | 16%
22 | 115.51 | 167%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 2.83 | 72%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 0.67 | 39%
[BE-BE] PST Van Eyck 2 [DIR] [BE] / N-1 PST Van Eyck 1 | 5.67 | 40%
[BE-BE] Y-Mercator (Horta - Rodenhuize) 380.74 [OPP] / N-1 Horta - Mercator 380.73 | 115.51 | 17%
23 | 28.82 | 225%
[RO-RO] TR Portile de Fier 400/220 1 [OPP] / N-1 TR Portile de Fier 400/220 2 | 0.37 | 29%
[D2-NL] Diele - Meeden SCHWARZ [DIR] [D2] / N-1 Diele - Meeden WEISS/W | 2.73 | 90%
[SI-AT] 220 kV Podlog - Obersielach [OPP] [SI] / N-1 Maribor-Kainachtal 1 | 0.19 | 55%
[BE-BE] PST Van Eyck 2 [DIR] [BE] / N-1 PST Van Eyck 1 | 1.31 | 37%
[BE-BE] Y-Mercator (Horta - Rodenhuize) 380.74 [OPP] / N-1 Horta - Mercator 380.73 | 28.82 | 13%
24 | 366.15 | 139%
[RO-RO] TR Portile de Fier 400/220 1 [OPP] / N-1 TR Portile de Fier 400/220 2 | 366.15 | 22%
[BE-BE] PST Van Eyck 2 [DIR] [BE] / N-1 PST Van Eyck 1 | 1.67 | 39%
[D2-NL] Diele - Meeden WEISS [DIR] [D2] / N-1 Diele - Meeden SCHWARZ/Z | 14.4 | 64%
[BE-BE] Y-Mercator (Horta - Rodenhuize) 380.74 [OPP] / N-1 Horta - Mercator 380.73 | 46.03 | 14%
Total sum | 2031.99 | 6803%

## Slide 126
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220110 (part I)
CORE FB MC
Hour | MAX of ShadowPrice | RAM %
1 | 14.97 | 155%
[PL-PL] Mikulowa AT1 [OPP] / N-1 Mikulowa AT2 | 14.97 | 81%
[BE-BE] PST Van Eyck 2 [DIR] [BE] / N-1 PST Van Eyck 1 | 0.02 | 74%
2 | 228.92 | 72%
[PL-PL] Mikulowa AT1 [OPP] / N-1 Mikulowa AT2 | 228.92 | 72%
3 | 182.21 | 165%
[PL-PL] Mikulowa AT1 [OPP] / N-1 Mikulowa AT2 | 182.21 | 84%
[BE-BE] PST Van Eyck 2 [DIR] [BE] / N-1 PST Van Eyck 1 | 0.29 | 82%
4 | 149.82 | 81%
[PL-PL] Mikulowa AT1 [OPP] / N-1 Mikulowa AT2 | 149.82 | 81%
5 | 198 | 43%
[RO-RO] TR Portile de Fier 400/220 1 [OPP] / N-1 TR Portile de Fier 400/220 2 | 198 | 43%
13 | 293.73 | 73%
[D2-D4] Grafenrheinfeld - Stalldorf 416 [DIR] [D2] / N-1 Hoepfingen - Hueffenhardt ge | 60.64 | 4%
[NL-NL] Borssele-Rilland 380 G [DIR] / N-1 Borssele-Rilland 380 Z | 33.46 | 49%
[NL-BE] Maasbracht-Van Eyck 380 W [DIR] [NL] / N-1 Gramme - Lixhe 380.11 | 24.08 | 9%
[NL-NL] Maasbracht-Dodewaard 380 W [DIR] / N-1 Boxmeer-Dodewaard 380 Z | 293.73 | 11%
16 | 717.56 | 241%
[HR-SI] 220kV Pehlin - Divaca [DIR] [HR] / N-1 Melina - Divaca | 6.43 | 56%
[D8-PL] Mikulowa PST1 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 20.16 | 43%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [DIR] / N-1 Westtirol - Voehringen | 8.43 | 107%
[D7-D7] Gronau - Gronau TR 441 E [DIR] / N-1 Achene - Gramme 380.10 | 717.56 | 22%
[D7-D7] Meckenheim - Sechtem BGEIST W [OPP] / N-1 Sechtem - Weissenthurm MITREI | 87.81 | 14%

## Slide 127
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220110 (part II)
CORE FB MC
18 | 339.37 | 97%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Gyor - Neusiedl | 27.9 | 12%
[D2-NL] Diele - Meeden SCHWARZ [OPP] [D2] / N-1 Diele - Meeden WEISS/W | 145.28 | 22%
[HR-BA] 220kV Zakucac - Mostar [DIR] [HR] / N-1 Konjsko - Mostar | 15.93 | 32%
[AT-AT] St. Peter 2 - St. Peter 1 SPRHU41 [OPP] / N-1 St. Peter 2 - St. Peter 1 SPRHU42 | 36.26 | 4%
[NL-D7] Maasbracht - Oberzier SELFK WS [DIR] [D7] / N-1 ALEGRO DC | 339.37 | 21%
[D2-D8] Altenfeld - Redwitz 459 [OPP] [D8] / N-1 Altenfeld - Redwitz 460 | 30 | 6%
19 | 354.19 | 27%
[AT-AT] Strass - Zell 273A [OPP] [AT] / N-1 Strass - Zell 274A | 23.21 | 18%
[NL-NL] Eemshaven-Eemshaven het Hogeland 380 Z [DIR] / N-1 Eemshaven-Meeden-Zwolle 380 W | 354.19 | 9%
22 | 921.37 | 88%
[RO-RO] Resita - Timisoara c1 [DIR] / N-1 Resita - Timisoara c2 | 921.37 | 55%
[NL-BE] Maasbracht-Van Eyck 380 W [OPP] [NL] / N-1 Gramme - Lixhe 380.11 | 29.15 | 11%
[D2-D7] Oberbachern - Meitingen OBACHE N [DIR] [D7] / N-1 Meitingen - Oberbachern OBACHE S | 104.45 | 9%
[D7-D7] Lambsheim - Weingarten LAMBSH W [DIR] / N-1 Hoepfingen - Hueffenhardt ge | 651.42 | 12%
23 | 884.75 | 53%
[RO-RO] Resita - Timisoara c1 [DIR] / N-1 Resita - Timisoara c2 | 884.75 | 53%
24 | 768.84 | 175%
[RO-RO] Resita - Timisoara c1 [DIR] / N-1 Resita - Timisoara c2 | 768.84 | 55%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 47.09 | 63%
[BE-BE] PST Zandvliet 1 [DIR] [BE] / N-1 PST Zandvliet 2 | 16.74 | 57%
Total sum | 921.37 | 1270%

## Slide 128
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220111 (part I)
CORE FB MC
Hour | MAX of ShadowPrice | RAM %
1 | 273576.69 | 0%
[AT-D2] St. Peter 2 - Pleinting 258 [DIR] [AT] / N-1 Pirach - St. Peter 256 | 26518.52 | 0%
[AT-SI] Kainachtal - Maribor 473 [OPP] [AT] / N-1 Maribor-Kainachtal 2 | 71607.24 | 0%
[AT-HU] Zurndorf - Gyoer 439B [OPP] [AT] / BASECASE | 227104.88 | 0%
[AT-D4] Westtirol 2 - Buers 421 [DIR] [AT] / N-1 Westtirol 1 - Westtirol 2 WTRHU41 | 93866.6 | 0%
[AT-AT] Suedburgenland - Wien Suedost 478 [OPP] / N-1 Oststeiermark - Wien Suedost 477 | 133778.88 | 0%
[AT-CZ] Bisamberg 2 - Sokolnice 243 [DIR] [AT] / N-1 Sokolnice - Bisamberg 2 | 46498.8 | 0%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [DIR] / N-1 Westtirol - Leupolz | 20140.36 | 0%
[AT-CH] Meiningen - Ruetli 408 [OPP] [AT] / N-1 Meiningen - Ruetli 407 | 57278.79 | 0%
[AT-SI] Obersielach - Podlog 247 [DIR] [AT] / N-1 Cirkovce-Krsko | 49350.58 | 0%
[AT-D7] Westtirol 1 - Leupolz 412 [OPP] [AT] / N-1 Westtirol - Voehringen | 9743.47 | 0%
[AT-CZ] Duernrohr 1 - Slavetice 437 [DIR] [AT] / N-1 Prestice - Kocin | 24585.21 | 0%
[AT-HU] Zurndorf - Gyoer 439B [DIR] [AT] / N-1 Gabcikovo - Gonyu | 273576.69 | 0%
2 | 344355.89 | 0%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [DIR] / N-1 Buers - Westtirol ws (421) | 3181.54 | 0%
[AT-D2] St. Peter 2 - Pleinting 258 [DIR] [AT] / N-1 Pirach - St. Peter 256 | 6693.63 | 0%
[AT-SI] Kainachtal - Maribor 473 [OPP] [AT] / N-1 Maribor-Kainachtal 2 | 33001.36 | 0%
[AT-HU] Zurndorf - Gyoer 439B [OPP] [AT] / BASECASE | 324529.73 | 0%
[AT-CZ] Duernrohr 1 - Slavetice 437 [OPP] [AT] / N-1 Gabcikovo - Gyor | 32751.02 | 0%
[AT-AT] Suedburgenland - Wien Suedost 478 [OPP] / N-1 Oststeiermark - Wien Suedost 477 | 12694.31 | 0%
[AT-D4] Meiningen - Buers 406A [OPP] [AT] / N-1 Walgau - Werben 405B | 2699.19 | 0%
[AT-SI] Obersielach - Podlog 247 [DIR] [AT] / N-1 Maribor-Kainachtal 1 | 71021.25 | 0%
[AT-AT] Tauern - Tauern TAPST [OPP] / N-1 Westtirol 1 - Westtirol 2 WTRHU41 | 26221.18 | 0%
[AT-D7] Westtirol 1 - Leupolz 412 [OPP] [AT] / N-1 Westtirol - Voehringen | 4552.38 | 0%
[AT-CZ] Duernrohr 1 - Slavetice 437 [DIR] [AT] / N-1 Prestice - Kocin | 23899.48 | 0%
[AT-HU] Zurndorf - Gyoer 439B [DIR] [AT] / N-1 Sarasdorf - Zurndorf 440A | 344355.89 | 0%
3 | 364878.44 | 0%
[AT-D2] St. Peter 2 - Pleinting 258 [DIR] [AT] / N-1 Pirach - St. Peter 256 | 16243.62 | 0%
[AT-SI] Kainachtal - Maribor 473 [OPP] [AT] / N-1 Maribor-Kainachtal 2 | 28303.18 | 0%
[AT-D4] Westtirol 2 - Buers 421 [DIR] [AT] / N-1 PST Buers BMT37 | 7926.64 | 0%
[AT-HU] Zurndorf - Gyoer 439B [OPP] [AT] / BASECASE | 339794.61 | 0%
[AT-CZ] Duernrohr 1 - Slavetice 437 [OPP] [AT] / N-1 Gabcikovo - Gyor | 85140.59 | 0%
[AT-CZ] Bisamberg 2 - Sokolnice 243 [DIR] [AT] / N-1 Sokolnice - Bisamberg 2 | 36270.1 | 0%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [DIR] / N-1 Westtirol - Leupolz | 1705.32 | 0%
[AT-AT] Obersielach - Obersielach OSRHU41 [OPP] / N-1 Obersielach - Obersielach OSRHU42 | 33060.07 | 0%
[AT-CH] Meiningen - Ruetli 408 [OPP] [AT] / N-1 Meiningen - Ruetli 407 | 5835.07 | 0%
[AT-SI] Obersielach - Podlog 247 [DIR] [AT] / N-1 Cirkovce-Podlog | 85629.38 | 0%
[AT-CZ] Duernrohr 1 - Slavetice 437 [DIR] [AT] / N-1 Prestice - Kocin | 68096.35 | 0%
[AT-HU] Zurndorf - Gyoer 439B [DIR] [AT] / N-1 Sarasdorf - Zurndorf 440A | 364878.44 | 0%

## Slide 129
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220111 (part II)
CORE FB MC
4 | 856902.09 | 0%
[AT-D2] St. Peter 2 - Altheim 233_230 [DIR] [AT] / N-1 St. Peter - Altheim_Simbach 234_230 | 322435.31 | 0%
[AT-D2] St. Peter 2 - Pleinting 258 [OPP] [AT] / N-1 Pleinting - Pirach 257 | 194508.4 | 0%
[AT-SI] Kainachtal - Maribor 473 [DIR] [AT] / N-1 Maribor-Kainachtal 2 | 103163.15 | 0%
[AT-HU] Zurndorf - Gyoer 439B [OPP] [AT] / BASECASE | 746807.03 | 0%
[AT-D4] Westtirol 2 - Buers 421 [DIR] [AT] / N-1 Westtirol 1 - Westtirol 2 WTRHU41 | 96408.89 | 0%
[AT-CZ] Bisamberg 2 - Sokolnice 243 [DIR] [AT] / N-1 Sokolnice - Bisamberg 2 | 80413.66 | 0%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [DIR] / N-1 Westtirol - Leupolz | 66564.7 | 0%
[AT-AT] Obersielach - Obersielach OSRHU41 [OPP] / N-1 Obersielach - Obersielach OSRHU42 | 692444.63 | 0%
[AT-CH] Meiningen - Ruetli 408 [OPP] [AT] / N-1 Meiningen - Ruetli 407 | 11454.54 | 0%
[AT-SI] Obersielach - Podlog 247 [DIR] [AT] / N-1 Cirkovce-Krsko | 49993.61 | 0%
[AT-CZ] Duernrohr 1 - Slavetice 437 [DIR] [AT] / N-1 Prestice - Kocin | 67501.9 | 0%
[AT-HU] Zurndorf - Gyoer 439B [DIR] [AT] / N-1 Gabcikovo - Gonyu | 856902.09 | 0%
5 | 265877.59 | 0%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [DIR] / N-1 Buers - Westtirol rt (422) | 20833.05 | 0%
[AT-D2] St. Peter 2 - Pleinting 258 [OPP] [AT] / N-1 Pleinting - Pirach 257 | 26604.58 | 0%
[AT-SI] Kainachtal - Maribor 473 [OPP] [AT] / N-1 Maribor-Kainachtal 2 | 95921.36 | 0%
[AT-HU] Zurndorf - Gyoer 439B [OPP] [AT] / BASECASE | 32425.95 | 0%
[AT-D4] Westtirol 2 - Buers 421 [DIR] [AT] / N-1 Westtirol 1 - Westtirol 2 WTRHU41 | 127023.9 | 0%
[AT-AT] Suedburgenland - Wien Suedost 478 [OPP] / N-1 Kainachtal - Y_Mellach 475KT | 45907.44 | 0%
[AT-CH] Meiningen - Ruetli 408 [OPP] [AT] / N-1 Meiningen - Ruetli 407 | 79967.12 | 0%
[AT-SI] Obersielach - Podlog 247 [OPP] [AT] / N-1 Cirkovce-Krsko | 101745.8 | 0%
[AT-SI] Obersielach - Podlog 247 [DIR] [AT] / N-1 Cirkovce-Podlog | 265877.59 | 0%
[AT-D7] Westtirol 1 - Leupolz 412 [OPP] [AT] / N-1 Westtirol - Voehringen | 14236.39 | 0%
[AT-CZ] Duernrohr 1 - Slavetice 437 [DIR] [AT] / N-1 Prestice - Kocin | 2078.15 | 0%
[AT-HU] Zurndorf - Gyoer 439B [DIR] [AT] / N-1 Gabcikovo - Gonyu | 31873.57 | 0%
6 | 254929.84 | 0%
[AT-SI] Kainachtal - Maribor 473 [OPP] [AT] / N-1 Maribor-Kainachtal 2 | 76936.72 | 0%
[AT-HU] Zurndorf - Gyoer 439B [OPP] [AT] / BASECASE | 220171.13 | 0%
[AT-AT] Strass - Zell 273A [OPP] [AT] / N-1 Strass - Zell 274A | 36414.88 | 0%
[AT-AT] Suedburgenland - Wien Suedost 478 [OPP] / N-1 Oststeiermark - Wien Suedost 477 | 154099.76 | 0%
[AT-CZ] Bisamberg 2 - Sokolnice 243 [DIR] [AT] / N-1 Sokolnice - Bisamberg 2 | 51027.37 | 0%
[AT-AT] Sarasdorf - Zurndorf 439A [DIR] / N-1 Sarasdorf - Zurndorf 440A | 11291.51 | 0%
[AT-CH] Meiningen - Ruetli 408 [OPP] [AT] / N-1 Meiningen - Ruetli 407 | 17742.44 | 0%
[AT-SI] Obersielach - Podlog 247 [DIR] [AT] / N-1 Cirkovce-Krsko | 24690.4 | 0%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [OPP] / N-1 Westtirol - Voehringen | 21624.22 | 0%
[AT-CZ] Duernrohr 1 - Slavetice 437 [DIR] [AT] / N-1 Prestice - Kocin | 27196.79 | 0%
[AT-HU] Zurndorf - Gyoer 439B [DIR] [AT] / N-1 Gabcikovo - Gonyu | 254929.84 | 0%
[AT-CH] Westtirol 1 - Pradella 427 [OPP] [AT] / N-1 Westtirol 1 - Pradella 428 | 8354.1 | 0%

## Slide 130
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220111 (part III)
CORE FB MC
7 | 267904.79 | 0%
[AT-D2] St. Peter 2 - Pleinting 258 [DIR] [AT] / N-1 Pirach - St. Peter 256 | 45573.42 | 0%
[AT-SI] Kainachtal - Maribor 473 [OPP] [AT] / N-1 Maribor-Kainachtal 2 | 58096.83 | 0%
[AT-HU] Zurndorf - Gyoer 439B [OPP] [AT] / BASECASE | 221927.93 | 0%
[AT-CZ] Duernrohr 1 - Slavetice 437 [OPP] [AT] / N-1 Gabcikovo - Gyor | 32203.34 | 0%
[AT-CZ] Bisamberg 2 - Sokolnice 243 [DIR] [AT] / N-1 Slavetice - Durnrohr 1 | 75429.66 | 0%
[AT-AT] Kainachtal - Y_Mellach 476KT [OPP] / N-1 Oststeiermark - Wien Suedost 477 | 110996.64 | 0%
[AT-CH] Meiningen - Ruetli 408 [OPP] [AT] / N-1 Meiningen - Ruetli 407 | 31082.49 | 0%
[AT-CH] Westtirol 1 - Pradella 427 [DIR] [AT] / N-1 Westtirol 1 - Pradella 428 | 11537.86 | 0%
[AT-SI] Obersielach - Podlog 247 [DIR] [AT] / N-1 Cirkovce-Krsko | 33594.91 | 0%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [OPP] / N-1 Westtirol - Voehringen | 8046.14 | 0%
[AT-CZ] Duernrohr 1 - Slavetice 437 [DIR] [AT] / N-1 Prestice - Kocin | 41297.28 | 0%
[AT-HU] Zurndorf - Gyoer 439B [DIR] [AT] / N-1 Gabcikovo - Gonyu | 267904.79 | 0%
8 | 67762.66 | 0%
[AT-D2] St. Peter 2 - Pleinting 258 [DIR] [AT] / N-1 Pirach - St. Peter 256 | 49.14 | 0%
[AT-SI] Kainachtal - Maribor 473 [OPP] [AT] / N-1 Maribor-Kainachtal 2 | 17277.27 | 0%
[AT-HU] Zurndorf - Gyoer 439B [OPP] [AT] / BASECASE | 56458.42 | 0%
[AT-CZ] Bisamberg 2 - Sokolnice 243 [DIR] [AT] / N-1 Sokolnice - Bisamberg 2 | 9116.38 | 0%
[AT-AT] Suedburgenland - Wien Suedost 478 [OPP] / N-1 Kainachtal - Y_Mellach 475KT | 34274.45 | 0%
[AT-CH] Meiningen - Ruetli 408 [OPP] [AT] / N-1 Meiningen - Ruetli 407 | 46871.65 | 0%
[AT-CH] Westtirol 1 - Pradella 427 [DIR] [AT] / N-1 Westtirol 1 - Pradella 428 | 8490.81 | 0%
[AT-SI] Obersielach - Podlog 247 [DIR] [AT] / N-1 Cirkovce-Krsko | 6149.28 | 0%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [OPP] / N-1 Westtirol - Voehringen | 22510.85 | 0%
[AT-D7] Westtirol 1 - Leupolz 412 [OPP] [AT] / N-1 Westtirol - Voehringen | 13378.96 | 0%
[AT-CZ] Duernrohr 1 - Slavetice 437 [DIR] [AT] / N-1 Prestice - Kocin | 7355.42 | 0%
[AT-HU] Zurndorf - Gyoer 439B [DIR] [AT] / N-1 Gabcikovo - Gonyu | 67762.66 | 0%
9 | 88197.15 | 0%
[AT-D2] St. Peter 2 - Pleinting 258 [DIR] [AT] / N-1 Pirach - St. Peter 256 | 1954.61 | 0%
[AT-HU] Zurndorf - Gyoer 439B [OPP] [AT] / BASECASE | 75940.54 | 0%
[AT-CZ] Bisamberg 2 - Sokolnice 243 [DIR] [AT] / N-1 Sokolnice - Bisamberg 2 | 16395.38 | 0%
[AT-AT] Obersielach - Obersielach OSRHU41 [OPP] / N-1 Obersielach - Obersielach OSRHU42 | 52291.31 | 0%
[AT-AT] Suedburgenland - Wien Suedost 478 [OPP] / N-1 Kainachtal - Y_Mellach 475KT | 15472.77 | 0%
[AT-CH] Meiningen - Ruetli 408 [OPP] [AT] / N-1 Meiningen - Ruetli 407 | 50442.06 | 0%
[AT-CH] Westtirol 1 - Pradella 427 [DIR] [AT] / N-1 Westtirol 1 - Pradella 428 | 30393.11 | 0%
[AT-SI] Obersielach - Podlog 247 [DIR] [AT] / N-1 Cirkovce-Krsko | 716.32 | 0%
[D2-D7] Oberbachern - Meitingen OBACHE N [DIR] [D7] / N-1 Meitingen - Oberbachern OBACHE S | 1241.7 | 0%
[AT-CZ] Duernrohr 1 - Slavetice 437 [DIR] [AT] / N-1 Prestice - Kocin | 5905.06 | 0%
[AT-HU] Zurndorf - Gyoer 439B [DIR] [AT] / N-1 Gabcikovo - Gonyu | 88197.15 | 0%
[AT-D7] Westtirol 1 - Leupolz 412 [DIR] [AT] / N-1 Westtirol - Voehringen | 8549.95 | 0%

## Slide 131
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220111 (part IV)
CORE FB MC
10 | 408892.62 | 0%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [OPP] / N-1 Westtirol - Leupolz | 46645.12 | 0%
[AT-AT] Suedburgenland - Wien Suedost 478 [OPP] / N-1 Oststeiermark - Wien Suedost 477 | 408892.62 | 0%
[AT-CZ] Bisamberg 2 - Sokolnice 243 [DIR] [AT] / N-1 Sokolnice - Bisamberg 2 | 47997.5 | 0%
[AT-AT] Sarasdorf - Zurndorf 439A [DIR] / N-1 Sarasdorf - Zurndorf 440A | 16420.31 | 0%
[AT-CH] Meiningen - Ruetli 408 [OPP] [AT] / N-1 Meiningen - Ruetli 407 | 43112.36 | 0%
[AT-SI] Obersielach - Podlog 247 [OPP] [AT] / N-1 Cirkovce-Podlog | 109588.69 | 0%
[AT-SI] Obersielach - Podlog 247 [DIR] [AT] / N-1 Cirkovce-Krsko | 48539.35 | 0%
[AT-D7] Westtirol 1 - Leupolz 412 [OPP] [AT] / N-1 Buers - Westtirol rt (422) | 11189.29 | 0%
[AT-CZ] Duernrohr 1 - Slavetice 437 [DIR] [AT] / N-1 Prestice - Kocin | 14479.6 | 0%
[AT-HU] Zurndorf - Gyoer 439B [DIR] [AT] / N-1 Sarasdorf - Zurndorf 440A | 2451.6 | 0%
[AT-CH] Westtirol 1 - Pradella 427 [OPP] [AT] / N-1 Westtirol 1 - Pradella 428 | 16053.95 | 0%
[AT-AT] Kainachtal - Y_Mellach 476KT [DIR] / N-1 Oststeiermark - Wien Suedost 477 | 327260.76 | 0%
11 | 85841.86 | 0%
[AT-SI] Kainachtal - Maribor 473 [OPP] [AT] / N-1 Maribor-Kainachtal 2 | 25404.54 | 0%
[AT-HU] Zurndorf - Gyoer 439B [DIR] [AT] / N-1 Szombathely - Zurndorf | 4631.46 | 0%
[AT-HU] Zurndorf - Gyoer 439B [OPP] [AT] / BASECASE | 85841.86 | 0%
[AT-AT] Suedburgenland - Wien Suedost 478 [OPP] / N-1 Oststeiermark - Wien Suedost 477 | 46198.76 | 0%
[AT-CZ] Bisamberg 2 - Sokolnice 243 [DIR] [AT] / N-1 Sokolnice - Bisamberg 2 | 41563.97 | 0%
[AT-CH] Meiningen - Ruetli 408 [OPP] [AT] / N-1 Meiningen - Ruetli 407 | 48392.74 | 0%
[AT-SI] Obersielach - Podlog 247 [OPP] [AT] / N-1 Cirkovce-Krsko | 4571.5 | 0%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [OPP] / N-1 Westtirol - Voehringen | 79578.31 | 0%
[AT-D2] St. Peter 2 - Pleinting 258 [OPP] [AT] / N-1 Hradec - Etzenricht | 53375.31 | 0%
[AT-D7] Westtirol 1 - Leupolz 412 [OPP] [AT] / N-1 Westtirol - Voehringen | 57582.07 | 0%
[AT-HU] Zurndorf - Gyoer 439B [DIR] [AT] / N-1 Gabcikovo - Gonyu | 85084.57 | 0%
[AT-CH] Westtirol 1 - Pradella 427 [OPP] [AT] / N-1 Westtirol 1 - Pradella 428 | 43655.12 | 0%
12 | 80685.23 | 0%
[AT-SI] Kainachtal - Maribor 473 [OPP] [AT] / N-1 Maribor-Kainachtal 2 | 37383.46 | 0%
[AT-HU] Zurndorf - Gyoer 439B [OPP] [AT] / BASECASE | 8408.07 | 0%
[AT-CZ] Bisamberg 2 - Sokolnice 243 [DIR] [AT] / N-1 Slavetice - Durnrohr 1 | 29761.01 | 0%
[AT-AT] Lienz 2 - Rosegg 267A [DIR] / N-1 Greuth - Lienz 2 266A | 58896.72 | 0%
[AT-AT] Suedburgenland - Wien Suedost 478 [OPP] / N-1 Kainachtal - Y_Mellach 475KT | 44758.47 | 0%
[AT-CH] Meiningen - Ruetli 408 [OPP] [AT] / N-1 Meiningen - Ruetli 407 | 53070.32 | 0%
[AT-SI] Obersielach - Podlog 247 [OPP] [AT] / N-1 Cirkovce-Krsko | 17552.04 | 0%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [OPP] / N-1 Westtirol - Voehringen | 80685.23 | 0%
[AT-D2] St. Peter 2 - Pleinting 258 [OPP] [AT] / N-1 Hradec - Etzenricht | 54253.35 | 0%
[AT-D7] Westtirol 1 - Leupolz 412 [OPP] [AT] / N-1 Westtirol - Voehringen | 62800.97 | 0%
[AT-CZ] Duernrohr 1 - Slavetice 437 [OPP] [AT] / N-1 Prestice - Kocin | 9147.26 | 0%
[AT-CH] Westtirol 1 - Pradella 427 [OPP] [AT] / N-1 Westtirol 1 - Pradella 428 | 40184.13 | 0%

## Slide 132
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220111 (part V)
CORE FB MC
13 | 39177.75 | 0%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [OPP] / N-1 Buers - Westtirol rt (422) | 9678.09 | 0%
[AT-SI] Kainachtal - Maribor 473 [OPP] [AT] / N-1 Maribor-Kainachtal 2 | 5207.42 | 0%
[AT-HU] Zurndorf - Gyoer 439B [OPP] [AT] / BASECASE | 1857.17 | 0%
[AT-AT] Zell am Ziller 1 - Zell am Ziller 2 ZZRHU41 [DIR] / N-1 Zell am Ziller 1 - Zell am Ziller 2 ZZRHU42 | 4899.94 | 0%
[AT-CZ] Bisamberg 2 - Sokolnice 243 [DIR] [AT] / N-1 Slavetice - Durnrohr 1 | 8965.26 | 0%
[AT-AT] Suedburgenland - Wien Suedost 478 [OPP] / N-1 Kainachtal - Y_Mellach 475KT | 8974.6 | 0%
[AT-CH] Meiningen - Ruetli 408 [OPP] [AT] / N-1 Meiningen - Ruetli 407 | 39177.75 | 0%
[AT-SI] Obersielach - Podlog 247 [OPP] [AT] / N-1 Cirkovce-Krsko | 6897.93 | 0%
[AT-CH] Westtirol 1 - Pradella 427 [DIR] [AT] / N-1 Westtirol 1 - Pradella 428 | 17222.68 | 0%
[AT-AT] Tauern - Tauern TAPST [OPP] / N-1 Tauern - Weissenbach 221 | 12495.16 | 0%
[AT-D2] St. Peter 2 - Pleinting 258 [OPP] [AT] / N-1 Hradec - Etzenricht | 15454.18 | 0%
[AT-CZ] Duernrohr 1 - Slavetice 437 [OPP] [AT] / N-1 Prestice - Kocin | 3573.54 | 0%
14 | 38216.44 | 0%
[AT-HU] Neusiedl - Gyoer 246B [DIR] [AT] / N-1 Gyor - Wien | 3076.49 | 0%
[AT-HU] Zurndorf - Gyoer 439B [OPP] [AT] / BASECASE | 3838.77 | 0%
[AT-AT] Zell am Ziller 1 - Zell am Ziller 2 ZZRHU41 [OPP] / N-1 Zell am Ziller 1 - Zell am Ziller 2 ZZRHU42 | 10099.93 | 0%
[AT-CZ] Bisamberg 2 - Sokolnice 243 [DIR] [AT] / N-1 Sokolnice - Bisamberg 2 | 14497.98 | 0%
[AT-AT] Sarasdorf - Zurndorf 439A [DIR] / N-1 Sarasdorf - Zurndorf 440A | 1107.86 | 0%
[AT-CH] Meiningen - Ruetli 408 [OPP] [AT] / N-1 Meiningen - Ruetli 407 | 38216.44 | 0%
[AT-AT] Tauern - Weissenbach 222 [OPP] / N-1 Tauern - Weissenbach 221 | 3017.75 | 0%
[AT-SI] Obersielach - Podlog 247 [OPP] [AT] / N-1 Cirkovce-Krsko | 6577.45 | 0%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [OPP] / N-1 Westtirol - Voehringen | 28012.57 | 0%
[AT-D2] St. Peter 2 - Pleinting 258 [OPP] [AT] / N-1 Hradec - Etzenricht | 5533.92 | 0%
[AT-D7] Westtirol 1 - Leupolz 412 [OPP] [AT] / N-1 Westtirol - Voehringen | 20339.52 | 0%
[AT-CZ] Duernrohr 1 - Slavetice 437 [OPP] [AT] / N-1 Prestice - Kocin | 2262.83 | 0%
15 | 123273.25 | 0%
[AT-HU] Neusiedl - Gyoer 246B [DIR] [AT] / N-1 Gyor - Wien | 34327.46 | 0%
[AT-CZ] Bisamberg 2 - Sokolnice 243 [DIR] [AT] / N-1 Sokolnice - Bisamberg 2 | 54296.47 | 0%
[AT-AT] Sarasdorf - Zurndorf 439A [DIR] / N-1 Sarasdorf - Zurndorf 440A | 15736.01 | 0%
[AT-AT] Kainachtal - Y_Mellach 476KT [OPP] / N-1 Oststeiermark - Wien Suedost 477 | 66756.34 | 0%
[AT-CH] Meiningen - Ruetli 408 [OPP] [AT] / N-1 Meiningen - Ruetli 407 | 26774.75 | 0%
[AT-SI] Obersielach - Podlog 247 [OPP] [AT] / N-1 Cirkovce-Podlog | 123273.25 | 0%
[AT-SI] Obersielach - Podlog 247 [DIR] [AT] / N-1 Cirkovce-Krsko | 52118.71 | 0%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [OPP] / N-1 Westtirol - Voehringen | 25066.1 | 0%
[AT-D7] Westtirol 1 - Leupolz 412 [OPP] [AT] / N-1 Westtirol - Voehringen | 9500.67 | 0%
[AT-CZ] Duernrohr 1 - Slavetice 437 [DIR] [AT] / N-1 Prestice - Kocin | 12864.03 | 0%
[AT-HU] Zurndorf - Gyoer 439B [DIR] [AT] / N-1 Sarasdorf - Zurndorf 440A | 630.55 | 0%
[AT-CH] Westtirol 1 - Pradella 427 [OPP] [AT] / N-1 Westtirol 1 - Pradella 428 | 4897.02 | 0%

## Slide 133
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220111 (part VI)
CORE FB MC
16 | 586856.8 | 0%
[AT-HU] Neusiedl - Gyoer 246B [DIR] [AT] / N-1 Gyor - Wien | 152943.39 | 0%
[AT-SI] Kainachtal - Maribor 473 [DIR] [AT] / N-1 Maribor-Kainachtal 2 | 153883.06 | 0%
[AT-CZ] Bisamberg 2 - Sokolnice 243 [DIR] [AT] / N-1 Sokolnice - Bisamberg 2 | 230520.39 | 0%
[AT-AT] Sarasdorf - Zurndorf 439A [DIR] / N-1 Sarasdorf - Zurndorf 440A | 93096.37 | 0%
[AT-D4] Meiningen - Buers 406A [OPP] [AT] / N-1 Walgau - Werben 405B | 2093.1 | 0%
[AT-AT] Rosegg - Villach Sued 267B [DIR] / N-1 Feistritz - Obersielach 268 | 586856.8 | 0%
[AT-SI] Obersielach - Podlog 247 [DIR] [AT] / N-1 Cirkovce-Krsko | 71593.77 | 0%
[AT-HU] Zurndorf - Gyoer 439B [OPP] [AT] / N-1 Gabcikovo - Gonyu | 9370.84 | 0%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [DIR] / N-1 Oberbrunn/Kruen - Silz 251 | 5820.93 | 0%
[AT-D2] St. Peter 2 - Pleinting 258 [OPP] [AT] / N-1 Hradec - Etzenricht | 6716.3 | 0%
[AT-CZ] Duernrohr 1 - Slavetice 437 [DIR] [AT] / N-1 Prestice - Kocin | 65575.96 | 0%
[AT-D7] Westtirol 1 - Leupolz 412 [DIR] [AT] / N-1 Buers - Westtirol rt (422) | 67577.25 | 0%
17 | 683490.27 | 0%
[AT-HU] Zurndorf - Gyoer 439B [OPP] [AT] / BASECASE | 621507.58 | 0%
[AT-AT] Oststeiermark - Wien Suedost 477 [OPP] / N-1 Kainachtal - Y_Mellach 476KT | 156648.84 | 0%
[AT-AT] Zell am Ziller 1 - Zell am Ziller 2 ZZRHU41 [DIR] / N-1 Zell am Ziller 1 - Zell am Ziller 2 ZZRHU42 | 4111.1 | 0%
[AT-CZ] Bisamberg 2 - Sokolnice 243 [DIR] [AT] / N-1 Sokolnice - Bisamberg 2 | 155135.39 | 0%
[AT-AT] Sarasdorf - Zurndorf 439A [DIR] / N-1 Sarasdorf - Zurndorf 440A | 46770.19 | 0%
[AT-AT] Obersielach - Obersielach OSRHU41 [OPP] / N-1 Obersielach - Obersielach OSRHU42 | 379995.72 | 0%
[AT-CH] Meiningen - Ruetli 408 [OPP] [AT] / N-1 Meiningen - Ruetli 407 | 13459.41 | 0%
[AT-SI] Obersielach - Podlog 247 [OPP] [AT] / N-1 Cirkovce-Krsko | 20916 | 0%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [OPP] / N-1 Westtirol - Voehringen | 44386.96 | 0%
[AT-CZ] Duernrohr 1 - Slavetice 437 [DIR] [AT] / N-1 Prestice - Kocin | 59669.43 | 0%
[AT-HU] Zurndorf - Gyoer 439B [DIR] [AT] / N-1 Gabcikovo - Gonyu | 683490.27 | 0%
[AT-CH] Westtirol 1 - Pradella 427 [OPP] [AT] / N-1 Westtirol 1 - Pradella 428 | 33739.97 | 0%
18 | 409600.46 | 0%
[AT-D2] St. Peter 2 - Altheim 233_230 [DIR] [AT] / N-1 St. Peter - Altheim_Simbach 234_230 | 130527.37 | 0%
[AT-HU] Neusiedl - Gyoer 246B [DIR] [AT] / N-1 Gyor - Wien | 75831.78 | 0%
[AT-SI] Kainachtal - Maribor 473 [DIR] [AT] / N-1 Maribor-Kainachtal 2 | 32989.6 | 0%
[AT-HU] Zurndorf - Gyoer 439B [OPP] [AT] / BASECASE | 10499.29 | 0%
[AT-CZ] Bisamberg 2 - Sokolnice 243 [DIR] [AT] / N-1 Sokolnice - Bisamberg 2 | 117605.18 | 0%
[AT-AT] Sarasdorf - Zurndorf 439A [DIR] / N-1 Sarasdorf - Zurndorf 440A | 48729.61 | 0%
[AT-CH] Meiningen - Ruetli 408 [OPP] [AT] / N-1 Meiningen - Ruetli 407 | 4749.08 | 0%
[AT-CH] Westtirol 1 - Pradella 427 [DIR] [AT] / N-1 Westtirol 1 - Pradella 428 | 3871.84 | 0%
[AT-AT] Tauern - Tauern TAPST [DIR] / N-1 Tauern - Weissenbach 221 | 409600.46 | 0%
[AT-SI] Obersielach - Podlog 247 [DIR] [AT] / N-1 Cirkovce-Krsko | 3188.35 | 0%
[AT-CZ] Duernrohr 1 - Slavetice 437 [DIR] [AT] / N-1 Prestice - Kocin | 45266.35 | 0%
[AT-D7] Westtirol 1 - Leupolz 412 [DIR] [AT] / N-1 Westtirol - Voehringen | 53394.12 | 0%

## Slide 134
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220111 (part VII)
CORE FB MC
19 | 169936.63 | 0%
[AT-D2] St. Peter 2 - Altheim 233_230 [DIR] [AT] / N-1 Pirach - St. Peter 256 | 19632.26 | 0%
[AT-HU] Zurndorf - Gyoer 439B [OPP] [AT] / BASECASE | 169936.63 | 0%
[AT-CZ] Bisamberg 2 - Sokolnice 243 [OPP] [AT] / N-1 Sokolnice - Bisamberg 2 | 2003.42 | 0%
[AT-AT] Zell am Ziller 1 - Zell am Ziller 2 ZZRHU41 [OPP] / N-1 Zell am Ziller 1 - Zell am Ziller 2 ZZRHU42 | 9983.08 | 0%
[AT-AT] Obersielach - Obersielach OSRHU41 [OPP] / N-1 Obersielach - Obersielach OSRHU42 | 79363.35 | 0%
[AT-CH] Meiningen - Ruetli 408 [OPP] [AT] / N-1 Meiningen - Ruetli 407 | 5850.76 | 0%
[AT-SI] Obersielach - Podlog 247 [DIR] [AT] / N-1 Cirkovce-Podlog | 31148 | 0%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [OPP] / N-1 Westtirol - Voehringen | 2646.3 | 0%
[AT-D7] Westtirol 1 - Leupolz 412 [OPP] [AT] / N-1 Westtirol - Voehringen | 4423.7 | 0%
[AT-CZ] Duernrohr 1 - Slavetice 437 [DIR] [AT] / N-1 Prestice - Kocin | 6132.25 | 0%
[AT-HU] Zurndorf - Gyoer 439B [DIR] [AT] / N-1 Sarasdorf - Zurndorf 440A | 112239.16 | 0%
[AT-HU] Zurndorf - Gyoer 439B [DIR] [AT] / N-1 Gabcikovo - Gonyu | 76170.13 | 0%
20 | 917938.72 | 0%
[AT-SI] Kainachtal - Maribor 473 [OPP] [AT] / N-1 Maribor-Kainachtal 2 | 94514.32 | 0%
[AT-CZ] Bisamberg 2 - Sokolnice 243 [DIR] [AT] / N-1 Slavetice - Durnrohr 1 | 105803.16 | 0%
[AT-AT] Sarasdorf - Zurndorf 439A [DIR] / N-1 Sarasdorf - Zurndorf 440A | 51506.8 | 0%
[AT-AT] Obersielach - Obersielach OSRHU41 [OPP] / N-1 Obersielach - Obersielach OSRHU42 | 103612.53 | 0%
[AT-AT] Suedburgenland - Wien Suedost 478 [OPP] / N-1 Kainachtal - Y_Mellach 475KT | 917938.72 | 0%
[AT-CH] Meiningen - Ruetli 408 [OPP] [AT] / N-1 Meiningen - Ruetli 407 | 19506.1 | 0%
[AT-SI] Obersielach - Podlog 247 [OPP] [AT] / N-1 Cirkovce-Krsko | 28391.82 | 0%
[AT-CH] Westtirol 1 - Pradella 427 [DIR] [AT] / N-1 Westtirol 1 - Pradella 428 | 9238.9 | 0%
[AT-CZ] Duernrohr 1 - Slavetice 437 [DIR] [AT] / N-1 Prestice - Kocin | 31101.35 | 0%
[AT-HU] Zurndorf - Gyoer 439B [DIR] [AT] / N-1 Sarasdorf - Zurndorf 440A | 4964.5 | 0%
[AT-D7] Westtirol 1 - Leupolz 412 [DIR] [AT] / N-1 Westtirol - Voehringen | 28794.7 | 0%
[AT-AT] Kainachtal - Y_Mellach 476KT [DIR] / N-1 Oststeiermark - Wien Suedost 477 | 655273.1 | 0%
21 | 703322.23 | 0%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [OPP] / N-1 Buers - Westtirol rt (422) | 1885.41 | 0%
[AT-HU] Neusiedl - Gyoer 246B [DIR] [AT] / N-1 Gyor - Wien | 102317.8 | 0%
[AT-HU] Zurndorf - Gyoer 439B [OPP] [AT] / BASECASE | 16175.3 | 0%
[AT-CZ] Bisamberg 2 - Sokolnice 243 [DIR] [AT] / N-1 Sokolnice - Bisamberg 2 | 230163.64 | 0%
[AT-AT] Sarasdorf - Zurndorf 439A [DIR] / N-1 Sarasdorf - Zurndorf 440A | 98149.57 | 0%
[AT-AT] Obersielach - Obersielach OSRHU41 [OPP] / N-1 Obersielach - Obersielach OSRHU42 | 445083.66 | 0%
[AT-SI] Obersielach - Podlog 247 [OPP] [AT] / N-1 Cirkovce-Krsko | 258187.64 | 0%
[AT-AT] St. Peter 2 - St. Peter 1 SPRHU41 [OPP] / N-1 St. Peter 2 - St. Peter 1 SPRHU42 | 703322.23 | 0%
[AT-SI] Obersielach - Podlog 247 [DIR] [AT] / N-1 Cirkovce-Podlog | 497036.66 | 0%
[AT-D2] St. Peter 2 - Pleinting 258 [OPP] [AT] / N-1 Hradec - Etzenricht | 340044.23 | 0%
[AT-CZ] Duernrohr 1 - Slavetice 437 [DIR] [AT] / N-1 Prestice - Kocin | 37732.39 | 0%
[AT-D7] Westtirol 1 - Leupolz 412 [DIR] [AT] / N-1 Buers - Westtirol rt (422) | 32065.82 | 0%

## Slide 135
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220111 (part VIII)
CORE FB MC
22 | 398275.36 | 0%
[AT-HU] Zurndorf - Gyoer 439B [OPP] [AT] / BASECASE | 348825.13 | 0%
[AT-CZ] Bisamberg 2 - Sokolnice 243 [DIR] [AT] / N-1 Sokolnice - Bisamberg 2 | 65069.73 | 0%
[AT-AT] Sarasdorf - Zurndorf 439A [DIR] / N-1 Sarasdorf - Zurndorf 440A | 15261.57 | 0%
[AT-AT] Obersielach - Obersielach OSRHU41 [OPP] / N-1 Obersielach - Obersielach OSRHU42 | 243435.6 | 0%
[AT-AT] Kainachtal - Y_Mellach 476KT [OPP] / N-1 Oststeiermark - Wien Suedost 477 | 81833.75 | 0%
[AT-CH] Meiningen - Ruetli 408 [OPP] [AT] / N-1 Meiningen - Ruetli 407 | 14427.4 | 0%
[AT-SI] Obersielach - Podlog 247 [DIR] [AT] / N-1 Cirkovce-Krsko | 8680.89 | 0%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [OPP] / N-1 Westtirol - Voehringen | 26266.57 | 0%
[AT-CZ] Duernrohr 1 - Slavetice 437 [DIR] [AT] / N-1 Prestice - Kocin | 36153.86 | 0%
[AT-HU] Zurndorf - Gyoer 439B [DIR] [AT] / N-1 Gabcikovo - Gonyu | 398275.36 | 0%
[AT-CH] Westtirol 1 - Pradella 427 [OPP] [AT] / N-1 Westtirol 1 - Pradella 428 | 14834.64 | 0%
[AT-D7] Westtirol 1 - Leupolz 412 [DIR] [AT] / N-1 Buers - Westtirol rt (422) | 2725.64 | 0%
23 | 78586.75 | 0%
[AT-HU] Neusiedl - Gyoer 246B [DIR] [AT] / N-1 Gyor - Wien | 35435.38 | 0%
[AT-CZ] Bisamberg 2 - Sokolnice 243 [DIR] [AT] / N-1 Sokolnice - Bisamberg 2 | 34858.31 | 0%
[AT-AT] Sarasdorf - Zurndorf 439A [DIR] / N-1 Sarasdorf - Zurndorf 440A | 11895.9 | 0%
[AT-AT] Kainachtal - Y_Mellach 476KT [OPP] / N-1 Oststeiermark - Wien Suedost 477 | 35548.72 | 0%
[AT-CH] Meiningen - Ruetli 408 [OPP] [AT] / N-1 Meiningen - Ruetli 407 | 19604.6 | 0%
[AT-AT] Rosegg - Villach Sued 267B [DIR] / N-1 Feistritz - Obersielach 268 | 78586.75 | 0%
[AT-SI] Obersielach - Podlog 247 [DIR] [AT] / N-1 Cirkovce-Krsko | 21784.75 | 0%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [OPP] / N-1 Westtirol - Voehringen | 18855.34 | 0%
[AT-D7] Westtirol 1 - Leupolz 412 [OPP] [AT] / N-1 Westtirol - Voehringen | 3140.24 | 0%
[AT-CZ] Duernrohr 1 - Slavetice 437 [DIR] [AT] / N-1 Prestice - Kocin | 16470.74 | 0%
[AT-HU] Zurndorf - Gyoer 439B [DIR] [AT] / BASECASE | 8154.05 | 0%
[AT-CH] Westtirol 1 - Pradella 427 [OPP] [AT] / N-1 Westtirol 1 - Pradella 428 | 5585.37 | 0%
24 | 123809.56 | 0%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [DIR] / N-1 Buers - Westtirol rt (422) | 2612.23 | 0%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [OPP] / N-1 Pradella-Y/Punt LN300153 | 38721.18 | 0%
[AT-SI] Kainachtal - Maribor 473 [OPP] [AT] / N-1 Maribor-Kainachtal 2 | 39204.48 | 0%
[AT-HU] Zurndorf - Gyoer 439B [OPP] [AT] / BASECASE | 106824.16 | 0%
[AT-AT] Suedburgenland - Wien Suedost 478 [OPP] / N-1 Oststeiermark - Wien Suedost 477 | 77281.97 | 0%
[AT-CZ] Bisamberg 2 - Sokolnice 243 [DIR] [AT] / N-1 Sokolnice - Bisamberg 2 | 25510.39 | 0%
[AT-AT] Sarasdorf - Zurndorf 439A [DIR] / N-1 Sarasdorf - Zurndorf 440A | 6460.17 | 0%
[AT-CH] Meiningen - Ruetli 408 [OPP] [AT] / N-1 Meiningen - Ruetli 407 | 23234.86 | 0%
[AT-SI] Obersielach - Podlog 247 [DIR] [AT] / N-1 Cirkovce-Podlog | 12015.34 | 0%
[AT-D7] Westtirol 1 - Leupolz 412 [OPP] [AT] / N-1 Westtirol - Voehringen | 14477.63 | 0%
[AT-CZ] Duernrohr 1 - Slavetice 437 [DIR] [AT] / N-1 Prestice - Kocin | 14514.78 | 0%
[AT-HU] Zurndorf - Gyoer 439B [DIR] [AT] / N-1 Gabcikovo - Gonyu | 123809.56 | 0%
Total sum | 917938.72 | 0%

## Slide 136
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220112 (part I)
CORE FB MC
Hour | MAX of ShadowPrice | RAM %
1 | 805.54 | 116%
[HR-SI] 220kV Pehlin - Divaca [DIR] [HR] / N-1 Melina - Divaca | 91.27 | 78%
[RO-RO] Resita - Timisoara c1 [DIR] / N-1 Resita - Timisoara c2 | 805.54 | 38%
2 | 744.33 | 37%
[RO-RO] Resita - Timisoara c1 [DIR] / N-1 Resita - Timisoara c2 | 744.33 | 37%
3 | 668.4 | 116%
[HR-SI] 220kV Pehlin - Divaca [DIR] [HR] / N-1 Melina - Divaca | 75.75 | 73%
[RO-RO] Resita - Timisoara c1 [DIR] / N-1 Resita - Timisoara c2 | 668.4 | 43%
4 | 447.5 | 120%
[HR-SI] 220kV Pehlin - Divaca [DIR] [HR] / N-1 Melina - Divaca | 50.73 | 74%
[RO-RO] Resita - Timisoara c1 [DIR] / N-1 Resita - Timisoara c2 | 447.5 | 46%
5 | 289.34 | 116%
[HR-SI] 220kV Pehlin - Divaca [DIR] [HR] / N-1 Melina - Divaca | 32.81 | 72%
[RO-RO] Resita - Timisoara c1 [DIR] / N-1 Resita - Timisoara c2 | 289.34 | 44%
7 | 393.05 | 112%
[D2-NL] Diele - Meeden SCHWARZ [OPP] [D2] / N-1 Diele - Meeden WEISS/W | 393.05 | 31%
[RO-RO] Resita - Timisoara c1 [DIR] / N-1 Resita - Timisoara c2 | 116.18 | 23%
[BE-FR] Achene - Lonny 380.19 [DIR] [BE] / N-1 Aubange - Moulaine 220.513 | 42.25 | 57%
8 | 453.97 | 118%
[RO-RO] Resita - Timisoara c1 [DIR] / N-1 Resita - Timisoara c2 | 286.34 | 23%
[AT-AT] Sarasdorf - Zurndorf 439A [OPP] / N-1 Sarasdorf - Zurndorf 440A | 0.98 | 15%
[BE-FR] Achene - Lonny 380.19 [DIR] [BE] / N-1 Aubange - Moulaine 220.513 | 85.01 | 64%
[D7-D7] Gronau - Gronau TR 441 E [DIR] / N-1 Achene - Gramme 380.10 | 453.97 | 16%
10 | 80.32 | 70%
[HR-HR] 220kV Brinje - VE Padene [OPP] / N-1 Melina - Velebit | 15.43 | 25%
[RO-RO] Resita - Timisoara c1 [DIR] / N-1 Resita - Timisoara c2 | 22.02 | 23%
[RO-RO] Resita - Timisoara c1 [DIR] / N-1 Portile de Fier - Djerdap | 80.32 | 22%
11 | 263.74 | 171%
[HR-BA] 220kV Zakucac - Mostar [OPP] [HR] / N-1 Konjsko - Mostar | 26.21 | 18%
[HR-HR] 220kV Brinje - VE Padene [OPP] / N-1 Melina - Velebit | 44.54 | 25%
[SI-AT] 220 kV Podlog - Obersielach [DIR] [SI] / N-1 Maribor-Kainachtal 1 | 0.26 | 85%
[RO-RO] Resita - Timisoara c1 [DIR] / N-1 Resita - Timisoara c2 | 263.74 | 23%
[D7-D7] Gronau - Gronau TR 441 E [DIR] / N-1 Hanekenfaehr - Doerpen West EMSLD WB | 0.16 | 20%

## Slide 137
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220112 (part II)
CORE FB MC
12 | 199.3 | 180%
[HR-BA] 220kV Zakucac - Mostar [OPP] [HR] / N-1 Konjsko - Mostar | 8.77 | 24%
[HR-HR] 220kV Brinje - VE Padene [OPP] / N-1 Melina - Velebit | 0.2 | 25%
[SI-AT] 220 kV Podlog - Obersielach [DIR] [SI] / N-1 Maribor-Kainachtal 1 | 4.84 | 89%
[RO-RO] Resita - Timisoara c1 [DIR] / N-1 Portile de Fier - Djerdap | 199.3 | 22%
[D7-D7] Gronau - Gronau TR 441 E [DIR] / N-1 Hanekenfaehr - Doerpen West EMSLD WB | 18.7 | 20%
13 | 344.66 | 263%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [DIR] / N-1 Pradella-Y/Punt LN300153 | 13.53 | 74%
[AT-HU] Neusiedl - Gyoer 246B [OPP] [AT] / N-1 Gyor - Wien | 190.38 | 33%
[RO-RO] Resita - Timisoara c1 [DIR] / N-1 Resita - Timisoara c2 | 93.48 | 23%
[NL-BE] Rilland-Zandvliet 380 W [DIR] [NL] / N-1 PST Zandvliet 2 | 32.96 | 49%
[AT-SI] Obersielach - Podlog 247 [OPP] [AT] / N-1 Cirkovce-Podlog | 76.07 | 68%
[D7-D7] Gronau - Gronau TR 441 E [DIR] / N-1 Achene - Gramme 380.10 | 344.66 | 14%
14 | 270 | 245%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [DIR] / N-1 Pradella-Y/Punt LN300153 | 21.9 | 90%
[HR-HR] 220kV Brinje - VE Padene [OPP] / N-1 Melina - Velebit | 13.83 | 25%
[SI-AT] 220 kV Podlog - Obersielach [DIR] [SI] / N-1 Maribor-Kainachtal 1 | 79.73 | 87%
[RO-RO] Resita - Timisoara c1 [DIR] / N-1 Resita - Timisoara c2 | 270 | 23%
[D7-D7] Gronau - Gronau TR 441 E [DIR] / N-1 Hanekenfaehr - Doerpen West EMSLD WB | 240.65 | 20%
15 | 233.21 | 214%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [DIR] / N-1 Pradella-Y/Punt LN300153 | 33.94 | 93%
[RO-RO] Resita - Timisoara c1 [DIR] / N-1 Resita - Timisoara c2 | 25.11 | 23%
[AT-SI] Obersielach - Podlog 247 [OPP] [AT] / N-1 Cirkovce-Podlog | 5.18 | 79%
[D7-D7] Gronau - Gronau TR 441 E [DIR] / N-1 Hanekenfaehr - Doerpen West EMSLD WB | 233.21 | 20%
16 | 109.05 | 141%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [DIR] / N-1 Pradella-Y/Punt LN300153 | 9.97 | 96%
[D8-D8] Pasewalk - Vierraden 306 [DIR] / N-1 Vierraden - Neuenhagen 304 | 35.66 | 25%
[D7-D7] Gronau - Gronau TR 441 E [DIR] / N-1 Hanekenfaehr - Doerpen West EMSLD WB | 109.05 | 20%
17 | 62.96 | 141%
[AT-D2] Vill_Thaur - Silz 273C [OPP] [AT] / N-1 Vill_Thaur - Silz 274C | 1.97 | 98%
[D8-D8] Pasewalk - Vierraden 306 [DIR] / N-1 Vierraden - Neuenhagen 304 | 62.93 | 24%
[D7-D7] Gronau - Gronau TR 441 E [DIR] / N-1 Hanekenfaehr - Doerpen West EMSLD WB | 62.96 | 20%

## Slide 138
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220112 (part III)
CORE FB MC
18 | 121.87 | 41%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 121.87 | 16%
[D2-NL] Diele - Meeden SCHWARZ [OPP] [D2] / N-1 Zwolle-Meeden 380 W | 112.93 | 12%
[AT-AT] Bisamberg 2 - Wien Suedost 227 [DIR] / N-1 Bisamberg - Kledering 228B | 47.95 | 8%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Maasbracht - Van Eyck 380 White/28 | 40.35 | 5%
21 | 30.74 | 100%
[BE-FR] Achene - Lonny 380.19 [DIR] [BE] / N-1 Aubange - Moulaine 220.513 | 19.82 | 49%
[BE-BE] PST Zandvliet 1 [DIR] [BE] / N-1 PST Zandvliet 2 | 30.74 | 51%
22 | 673.32 | 128%
[RO-RO] Resita - Timisoara c1 [DIR] / N-1 Resita - Timisoara c2 | 563.24 | 16%
[D2-D8] Altenfeld - Redwitz 459 [DIR] [D8] / N-1 Altenfeld - Redwitz 460 | 673.32 | 14%
[NL-BE] Rilland-Zandvliet 380 W [DIR] [NL] / N-1 PST Zandvliet 2 | 71.24 | 34%
[BE-FR] Achene - Lonny 380.19 [DIR] [BE] / N-1 Aubange - Moulaine 220.513 | 75.8 | 42%
[D2-D7] Grosskrotzenburg - Urberach UMAIN N2 [DIR] [D7] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 176.85 | 22%
23 | 647.4 | 169%
[D8-D8] Roehrsdorf - Remptendorf 574 [DIR] / N-1 Remptendorf - Weida 575 | 121.09 | 19%
[RO-RO] Resita - Timisoara c1 [DIR] / N-1 Resita - Timisoara c2 | 647.4 | 23%
[D2-D8] Altenfeld - Redwitz 459 [DIR] [D8] / N-1 Altenfeld - Redwitz 460 | 569.37 | 14%
[NL-BE] Rilland-Zandvliet 380 W [DIR] [NL] / N-1 PST Zandvliet 2 | 40.42 | 44%
[BE-FR] Achene - Lonny 380.19 [DIR] [BE] / N-1 Aubange - Moulaine 220.513 | 44.31 | 43%
[AT-AT] Bisamberg 2 - Wien Suedost 227 [DIR] / N-1 Bisamberg - Kledering 228B | 262.45 | 25%
24 | 483.72 | 78%
[D8-D8] Roehrsdorf - Remptendorf 574 [DIR] / N-1 Remptendorf - Weida 575 | 34.44 | 21%
[RO-RO] Resita - Timisoara c1 [DIR] / N-1 Resita - Timisoara c2 | 142.83 | 29%
[D2-D7] Grosskrotzenburg - Urberach UMAIN N2 [DIR] [D7] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 483.72 | 29%
Total sum | 805.54 | 2677%

## Slide 139
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220113 (part I)
CORE FB MC
Hour | MAX of ShadowPrice | RAM %
1 | 378.89 | 206%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Dobrzen | 22.86 | 70%
[BE-FR] Achene - Lonny 380.19 [DIR] [BE] / N-1 Avelgem - Avelin 380.80 | 12.49 | 47%
[D7-D7] Y Paffendorf - Oberzier SECHTM N [DIR] / N-1 Sechtem - Paffendorf - Oberzier SECHTM S | 6.01 | 53%
[D2-D7] Grosskrotzenburg - Urberach UMAIN N2 [DIR] [D7] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 378.89 | 35%
2 | 246.92 | 369%
[RO-RO] Resita - Timisoara c1 [DIR] / N-1 Resita - Timisoara c2 | 246.92 | 30%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Zwolle-Hengelo 380 W | 160.24 | 24%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Nosovice | 214.62 | 69%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 32.18 | 83%
[BE-BE] PST Zandvliet 1 [DIR] [BE] / N-1 PST Zandvliet 2 | 32.98 | 68%
[D7-D7] Y Paffendorf - Oberzier SECHTM N [DIR] / N-1 Sechtem - Paffendorf - Oberzier SECHTM S | 54.28 | 54%
[D2-D7] Grosskrotzenburg - Urberach UMAIN N2 [DIR] [D7] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 78.54 | 40%
3 | 1112.43 | 373%
[RO-RO] Resita - Timisoara c1 [DIR] / N-1 Resita - Timisoara c2 | 137.82 | 34%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 42.32 | 30%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Nosovice | 215.43 | 68%
[NL-BE] Rilland-Zandvliet 380 W [DIR] [NL] / N-1 PST Zandvliet 2 | 4.18 | 40%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 35.49 | 85%
[D7-D7] Lambsheim - Weingarten LAMBSH W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 93.51 | 22%
[D7-D7] Paffendorf - Rommerskirchen PAFFEN S [OPP] / N-1 Knapsack - Sechtem WABERG W | 1112.43 | 7%
[PL-PL] Krosno Iskrzynia - Tarnow [OPP] / N-1 Nosovice - Varin | 2.56 | 86%
4 | 316.47 | 237%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Boxmeer-Dodewaard 380 Z | 214.22 | 20%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Nosovice | 171.16 | 67%
[NL-BE] Rilland-Zandvliet 380 W [DIR] [NL] / N-1 PST Zandvliet 2 | 100.12 | 48%
[AT-AT] Tauern - Tauern TAPST [DIR] / N-1 Tauern - Weissenbach 221 | 261.92 | 68%
[D7-D7] Paffendorf - Rommerskirchen PAFFEN S [OPP] / N-1 Knapsack - Sechtem WABERG W | 316.47 | 33%
5 | 269.51 | 240%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Zwolle-Hengelo 380 W | 216.11 | 20%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Nosovice | 269.51 | 63%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 9.49 | 93%
[D7-D7] Y Paffendorf - Oberzier SECHTM N [DIR] / N-1 Sechtem - Paffendorf - Oberzier SECHTM S | 53.84 | 64%

## Slide 140
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220113 (part II)
CORE FB MC
6 | 326.53 | 328%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Zwolle-Hengelo 380 W | 37.56 | 27%
[BE-FR] Achene - Lonny 19 [DIR] [FR] / N-1 Avelgem - Avelin 380.80 | 12.48 | 69%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Nosovice | 326.53 | 61%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 23.21 | 91%
[PL-PL] Krosno Iskrzynia - Tarnow [OPP] / N-1 Nosovice - Varin | 8.24 | 80%
7 | 1325.15 | 194%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 1325.15 | 20%
[AT-CZ] Bisamberg 2 - Sokolnice 243 [OPP] [AT] / N-1 Slavetice - Durnrohr 1 | 364.92 | 79%
[BE-FR] Achene - Lonny 19 [DIR] [FR] / N-1 Avelgem - Avelin 380.80 | 67.49 | 53%
[NL-BE] Rilland-Zandvliet 380 W [DIR] [NL] / N-1 PST Zandvliet 2 | 91.84 | 42%
8 | 148.73 | 203%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 88.11 | 65%
[BE-BE] PST Zandvliet 1 [DIR] [BE] / N-1 PST Zandvliet 2 | 27.22 | 56%
[PL-PL] Krosno Iskrzynia - Tarnow [OPP] / N-1 Nosovice - Varin | 148.73 | 81%
9 | 2004.66 | 248%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 2004.66 | 12%
[AT-CZ] Bisamberg 2 - Sokolnice 243 [OPP] [AT] / N-1 Slavetice - Durnrohr 1 | 472.08 | 51%
[BE-FR] Achene - Lonny 19 [DIR] [FR] / N-1 Avelgem - Avelin 380.80 | 63.7 | 63%
[NL-BE] Rilland-Zandvliet 380 W [DIR] [NL] / N-1 PST Zandvliet 2 | 82.2 | 31%
[AT-AT] Tauern - Weissenbach 222 [OPP] / N-1 Tauern - Weissenbach 221 | 175.73 | 28%
[PL-PL] Krosno Iskrzynia - Tarnow [OPP] / N-1 Nosovice - Varin | 108.3 | 62%
10 | 1503.82 | 117%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 745.6 | 29%
[D2-D8] Altenfeld - Redwitz 459 [DIR] [D8] / N-1 Altenfeld - Redwitz 460 | 802.44 | 13%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Nosovice | 94.05 | 48%
[NL-BE] Maasbracht-Van Eyck 380 W [OPP] [NL] / N-1 Achene - Gramme 380.10 | 25.85 | 2%
[AT-AT] Bisamberg 2 - Wien Suedost 227 [DIR] / N-1 Bisamberg - Kledering 228B | 1503.82 | 10%
[D2-D7] Grosskrotzenburg - Urberach UMAIN N2 [DIR] [D7] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 1169.29 | 14%
11 | 2844.2 | 142%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 2844.2 | 0%
[AT-CZ] Bisamberg 2 - Sokolnice 243 [OPP] [AT] / N-1 Slavetice - Durnrohr 1 | 559.34 | 60%
[D2-D8] Altenfeld - Redwitz 459 [DIR] [D8] / N-1 Altenfeld - Redwitz 460 | 1009.99 | 16%
[NL-BE] Rilland-Zandvliet 380 W [DIR] [NL] / N-1 PST Zandvliet 2 | 79.16 | 31%
[D2-D7] Grosskrotzenburg - Urberach UMAIN N2 [DIR] [D7] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 442.87 | 21%
[D7-D7] Brauweiler - Rommerskirchen BRAUWL W [OPP] / N-1 Halfeshof - Opladen LEICHL W | 451.49 | 14%

## Slide 141
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220113 (part III)
CORE FB MC
12 | 477.81 | 131%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Nosovice | 396 | 44%
[BE-FR] Achene - Lonny 380.19 [DIR] [BE] / N-1 Avelgem - Avelin 380.80 | 31.01 | 52%
[D8-PL] Krajnik - Vierraden 1 [OPP] [PL] / N-1 Mikulowa - Pasikurowice | 295.53 | 10%
[D2-D7] Grosskrotzenburg - Urberach UMAIN N2 [DIR] [D7] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 477.81 | 26%
13 | 2877.23 | 71%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Nosovice | 115.94 | 62%
[D7-D7] Brauweiler - Rommerskirchen BRAUWL W [OPP] / N-1 Halfeshof - Opladen LEICHL W | 2877.23 | 9%
14 | 215.51 | 239%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Boxmeer-Dodewaard 380 Z | 149.5 | 22%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Nosovice | 215.51 | 48%
[BE-FR] Achene - Lonny 380.19 [DIR] [BE] / N-1 Avelgem - Avelin 380.80 | 54.91 | 43%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 68.66 | 63%
[BE-BE] PST Zandvliet 1 [DIR] [BE] / N-1 PST Zandvliet 2 | 11.48 | 63%
15 | 1449.01 | 230%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 44.62 | 37%
[D2-D8] Altenfeld - Redwitz 459 [DIR] [D8] / N-1 Altenfeld - Redwitz 460 | 1449.01 | 13%
[NL-BE] Rilland-Zandvliet 380 W [DIR] [NL] / N-1 PST Zandvliet 2 | 5.76 | 34%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 66.95 | 73%
[PL-PL] Krosno Iskrzynia - Tarnow [OPP] / N-1 Nosovice - Varin | 64.65 | 74%
16 | 1497.35 | 234%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 88.15 | 32%
[AT-CZ] Bisamberg 2 - Sokolnice 243 [OPP] [AT] / N-1 Sokolnice - Bisamberg 2 | 486.82 | 30%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Nosovice | 310.39 | 58%
[NL-BE] Rilland-Zandvliet 380 W [DIR] [NL] / N-1 PST Zandvliet 2 | 104.89 | 25%
[SI-HR] 220kV Podlog - Zerjavinec [DIR] [SI] / N-1 Cirkovce-Podlog | 8.3 | 84%
[D7-D7] Brauweiler - Rommerskirchen BRAUWL W [OPP] / N-1 Halfeshof - Opladen LEICHL W | 1497.35 | 5%
17 | 3906.19 | 217%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [OPP] / N-1 Buers - Westtirol ws (421) | 4.35 | 24%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 3906.19 | 8%
[AT-CZ] Bisamberg 2 - Sokolnice 243 [OPP] [AT] / N-1 Slavetice - Durnrohr 1 | 364.08 | 43%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Zwolle-Hengelo 380 W | 58.34 | 24%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Nosovice | 284.13 | 56%
[NL-BE] Rilland-Zandvliet 380 W [DIR] [NL] / N-1 PST Zandvliet 2 | 171.31 | 22%
[NL-BE] Maasbracht-Van Eyck 380 W [OPP] [NL] / N-1 Achene - Gramme 380.10 | 57.47 | 0%
[AT-AT] Tauern - Weissenbach 222 [OPP] / N-1 Tauern - Weissenbach 221 | 948.82 | 21%
[D7-D7] Niederstedem - Y Dahlem SELHN W [OPP] / N-1 Dahlem - Rommersheim SELHN O | 80.27 | 19%

## Slide 142
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220113 (part IV)
CORE FB MC
18 | 4057.67 | 175%
[HR-SI] 220kV Pehlin - Divaca [DIR] [HR] / N-1 Melina - Divaca | 227.49 | 58%
[RO-RO] Resita - Timisoara c1 [DIR] / N-1 Resita - Timisoara c2 | 96.19 | 0%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 4057.67 | 0%
[AT-AT] Strass - Zell 273A [OPP] [AT] / N-1 Strass - Zell 274A | 497.06 | 28%
[CZ-D2] Hradec - Etzenricht 441 [DIR] [D2] / N-1 Prestice - Etzenricht | 414.9 | 17%
[D2-D8] Altenfeld - Redwitz 459 [DIR] [D8] / N-1 Altenfeld - Redwitz 460 | 2113.47 | 4%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Nosovice | 213.94 | 54%
[NL-BE] Rilland-Zandvliet 380 W [DIR] [NL] / N-1 PST Zandvliet 2 | 42.61 | 12%
[NL-BE] Maasbracht-Van Eyck 380 W [OPP] [NL] / N-1 Achene - Gramme 380.10 | 30.36 | 2%
19 | 3780.82 | 239%
[RO-RO] Resita - Timisoara c1 [DIR] / N-1 Resita - Timisoara c2 | 534.36 | 5%
[SI-AT] 220 kV Podlog - Obersielach [OPP] [SI] / N-1 Maribor-Kainachtal 1 | 133.11 | 90%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 3780.82 | 3%
[AT-AT] Strass - Zell 273A [OPP] [AT] / N-1 Strass - Zell 274A | 343.2 | 24%
[CZ-D2] Hradec - Etzenricht 441 [DIR] [D2] / N-1 Prestice - Etzenricht | 506.99 | 20%
[D2-D8] Altenfeld - Redwitz 459 [DIR] [D8] / N-1 Altenfeld - Redwitz 460 | 2440.87 | 6%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Zwolle-Hengelo 380 W | 1.09 | 20%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Nosovice | 147.96 | 57%
[NL-BE] Rilland-Zandvliet 380 W [DIR] [NL] / N-1 PST Zandvliet 2 | 101.52 | 15%
20 | 191.52 | 93%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Boxmeer-Dodewaard 380 Z | 11.42 | 20%
[BE-BE] PST Zandvliet 1 [DIR] [BE] / N-1 PST Zandvliet 2 | 191.52 | 40%
[BE-FR] Achene - Lonny 380.19 [DIR] [BE] / N-1 Horta - Mercator 380.73 | 145.74 | 33%
21 | 1665.99 | 371%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 257.21 | 36%
[RO-RO] Resita - Timisoara c1 [DIR] / N-1 Resita - Timisoara c2 | 65.16 | 21%
[SI-AT] 220 kV Podlog - Obersielach [OPP] [SI] / N-1 Maribor-Kainachtal 1 | 83.47 | 131%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 226.31 | 67%
[D2-D8] Altenfeld - Redwitz 459 [DIR] [D8] / N-1 Altenfeld - Redwitz 460 | 1665.99 | 7%
[NL-BE] Maasbracht-Van Eyck 380 W [OPP] [NL] / N-1 Achene - Gramme 380.10 | 31.18 | 8%
[D2-D7] Grosskrotzenburg - Urberach UMAIN N2 [DIR] [D7] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 839.17 | 15%
[PL-PL] Krosno Iskrzynia - Tarnow [OPP] / N-1 Nosovice - Varin | 48.32 | 87%

## Slide 143
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220113 (part V)
CORE FB MC
22 | 3803.75 | 346%
[HR-BA] 220kV Zakucac - Mostar [OPP] [HR] / N-1 Konjsko - Mostar | 32.21 | 86%
[RO-RO] Resita - Timisoara c1 [DIR] / N-1 Resita - Timisoara c2 | 1352.86 | 26%
[SI-AT] 220 kV Podlog - Obersielach [OPP] [SI] / N-1 Maribor-Kainachtal 1 | 68.6 | 108%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 3803.75 | 15%
[AT-AT] Suedburgenland - Wien Suedost 478 [OPP] / N-1 Oststeiermark - Wien Suedost 477 | 41.55 | 34%
[CZ-D2] Hradec - Etzenricht 441 [DIR] [D2] / N-1 Prestice - Etzenricht | 526.56 | 24%
[D2-D8] Altenfeld - Redwitz 459 [DIR] [D8] / N-1 Altenfeld - Redwitz 460 | 2445.85 | 8%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Boxmeer-Dodewaard 380 Z | 298.3 | 20%
[NL-BE] Rilland-Zandvliet 380 W [DIR] [NL] / N-1 PST Zandvliet 2 | 64.12 | 23%
[NL-BE] Maasbracht-Van Eyck 380 W [OPP] [NL] / N-1 Achene - Gramme 380.10 | 74.11 | 1%
23 | 1522.12 | 224%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 1522.12 | 26%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Boxmeer-Dodewaard 380 Z | 565.65 | 20%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Nosovice | 94.9 | 66%
[NL-BE] Rilland-Zandvliet 380 W [DIR] [NL] / N-1 PST Zandvliet 2 | 213.48 | 27%
[AT-AT] Tauern - Tauern TAPST [DIR] / N-1 Tauern - Weissenbach 221 | 608.97 | 55%
[BE-FR] Achene - Lonny 380.19 [DIR] [BE] / N-1 Horta - Mercator 380.73 | 281.87 | 30%
24 | 543.09 | 178%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Zwolle-Hengelo 380 W | 543.09 | 21%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Nosovice | 118.58 | 68%
[BE-BE] PST Zandvliet 1 [DIR] [BE] / N-1 PST Zandvliet 2 | 184.24 | 50%
[BE-FR] Achene - Lonny 380.19 [DIR] [BE] / N-1 Horta - Mercator 380.73 | 344.8 | 39%
Total sum | 4057.67 | 5403%

## Slide 144
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220114 (part I)
CORE FB MC
Hour | MAX of ShadowPrice | RAM %
Total sum |  | 
Remark: For this BD there was a full day of DFPs (default FB parameters). Since it was decided not to show market optimization variables in this list, the list of shadow prices is empty.

## Slide 145
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220115 (part I)
CORE FB MC
Hour | MAX of ShadowPrice | RAM %
1 | 414.58 | 210%
[D8-D8] Roehrsdorf - Remptendorf 574 [DIR] / N-1 Roehrsdorf - Weida 573 | 414.58 | 36%
[PL-PL] Mikulowa AT1 [OPP] / N-1 Mikulowa AT2 | 34.1 | 102%
[BE-FR] Avelgem - Avelin 380.80 [DIR] [BE] / N-1 Achene - Lonny 380.19 | 248 | 25%
[BE-BE] PST Van Eyck 2 [DIR] [BE] / N-1 PST Van Eyck 1 | 27.44 | 47%
2 | 513.92 | 170%
[D8-D8] Roehrsdorf - Remptendorf 574 [DIR] / N-1 Roehrsdorf - Weida 573 | 513.92 | 38%
[BE-FR] Avelgem - Avelin 380.80 [DIR] [BE] / N-1 Achene - Lonny 380.19 | 35.6 | 31%
[D7-D7] Y Paffendorf - Oberzier SECHTM S [DIR] / N-1 Sechtem - Paffendorf - Oberzier SECHTM N | 50.08 | 58%
[BE-BE] PST Van Eyck 1 [DIR] [BE] / N-1 Achene - Lonny 380.19 | 5.83 | 25%
[BE-BE] PST Zandvliet 2 [DIR] [BE] / N-1 Achene - Lonny 380.19 | 189.82 | 20%
3 | 463.59 | 222%
[D8-D8] Roehrsdorf - Remptendorf 574 [DIR] / N-1 Roehrsdorf - Weida 573 | 0.9 | 39%
[PL-PL] Mikulowa AT1 [OPP] / N-1 Mikulowa AT2 | 463.59 | 98%
[BE-FR] Avelgem - Avelin 380.80 [DIR] [BE] / N-1 Achene - Lonny 380.19 | 233.65 | 29%
[BE-BE] PST Van Eyck 2 [DIR] [BE] / N-1 PST Van Eyck 1 | 25.99 | 56%
4 | 341.33 | 178%
[PL-PL] Mikulowa AT1 [OPP] / N-1 Mikulowa AT2 | 341.33 | 102%
[BE-FR] Avelgem - Avelin 380.80 [DIR] [BE] / N-1 Achene - Lonny 380.19 | 238.31 | 27%
[BE-BE] PST Van Eyck 2 [DIR] [BE] / N-1 PST Van Eyck 1 | 26.3 | 49%
5 | 363.93 | 143%
[PL-PL] Mikulowa AT1 [OPP] / N-1 Mikulowa AT2 | 363.93 | 104%
[D2-D7] Oberbachern - Meitingen OBACHE N [DIR] [D7] / N-1 Meitingen - Oberbachern OBACHE S | 49.37 | 39%
6 | 104.85 | 135%
[D8-D8] Roehrsdorf - Remptendorf 574 [DIR] / N-1 Roehrsdorf - Weida 573 | 52.95 | 43%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Nosovice | 104.85 | 73%
[BE-BE] Y-Mercator (-Doel - Lillo) 380.51 [DIR] / N-1 Achene - Lonny 380.19 | 84.76 | 20%
7 | 16.14 | 123%
[D8-D8] Roehrsdorf - Remptendorf 574 [DIR] / N-1 Roehrsdorf - Weida 573 | 16.14 | 37%
[BE-BE] PST Zandvliet 1 [DIR] [BE] / N-1 PST Zandvliet 2 | 0.1 | 86%
8 | 209.19 | 234%
[CZ-D2] Hradec - Etzenricht 441 [DIR] [D2] / N-1 Prestice - Kocin | 6.53 | 75%
[AT-AT] Strass - Thaur 273B [DIR] / N-1 Strass - Thaur 274B | 2.33 | 26%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 2.42 | 92%
[BE-BE] PST Zandvliet 2 [DIR] [BE] / N-1 Achene - Lonny 380.19 | 209.19 | 21%
[BE-BE] Y-Gramme (-Courcelles - Tergnee) 380.31 [OPP] / N-1 Achene - Lonny 380.19 | 109.33 | 20%

## Slide 146
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220115 (part II)
CORE FB MC
9 | 257.31 | 150%
[CZ-D2] Hradec - Etzenricht 441 [DIR] [D2] / N-1 Prestice - Kocin | 3.99 | 78%
[AT-AT] Strass - Thaur 273B [DIR] / N-1 Strass - Thaur 274B | 32.75 | 32%
[BE-BE] PST Zandvliet 2 [DIR] [BE] / N-1 Achene - Lonny 380.19 | 257.31 | 20%
[BE-BE] Y-Gramme (-Courcelles - Tergnee) 380.31 [OPP] / N-1 Achene - Lonny 380.19 | 83.09 | 20%
10 | 89.14 | 232%
[RO-RO] Resita - Timisoara c1 [DIR] / N-1 Resita - Timisoara c2 | 0.72 | 45%
[AT-AT] Strass - Zell 273A [OPP] [AT] / N-1 Strass - Zell 274A | 10.73 | 20%
[CZ-D2] Hradec - Etzenricht 441 [DIR] [D2] / N-1 Prestice - Kocin | 1.44 | 79%
[BE-BE] Achene - Gramme 380.10 [OPP] / N-1 Avelgem - Avelin 380.80 | 6.96 | 69%
[BE-BE] PST Zandvliet 2 [DIR] [BE] / N-1 Achene - Lonny 380.19 | 89.14 | 20%
11 | 43.67 | 244%
[RO-RO] Resita - Timisoara c1 [DIR] / N-1 Resita - Timisoara c2 | 7.1 | 43%
[CZ-D2] Hradec - Etzenricht 441 [DIR] [D2] / N-1 Prestice - Kocin | 0.73 | 80%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Achene - Lonny 380.19 | 2.51 | 76%
[AT-AT] Strass - Thaur 273B [DIR] / N-1 Strass - Thaur 274B | 5.55 | 24%
[BE-BE] PST Zandvliet 2 [DIR] [BE] / N-1 Achene - Lonny 380.19 | 43.67 | 20%
12 | 103.71 | 92%
[RO-RO] Resita - Timisoara c1 [DIR] / N-1 Portile de Fier - Djerdap | 2.3 | 46%
[BE-FR] Avelgem - Avelin 380.80 [DIR] [BE] / N-1 Achene - Lonny 380.19 | 98.41 | 26%
[BE-BE] PST Zandvliet 1 [DIR] [BE] / N-1 Achene - Lonny 380.19 | 103.71 | 20%
13 | 176 | 122%
[RO-RO] Resita - Timisoara c1 [DIR] / N-1 Resita - Timisoara c2 | 143.23 | 46%
[BE-FR] Avelgem - Avelin 380.80 [DIR] [BE] / N-1 Achene - Lonny 380.19 | 176 | 22%
[BE-BE] PST Van Eyck 2 [DIR] [BE] / N-1 Achene - Lonny 380.19 | 18.24 | 54%
14 | 131.47 | 142%
[RO-RO] Resita - Timisoara c1 [DIR] / N-1 Resita - Timisoara c2 | 6.4 | 51%
[BE-FR] Avelgem - Avelin 380.80 [DIR] [BE] / N-1 Achene - Lonny 380.19 | 131.47 | 25%
[BE-BE] PST Van Eyck 2 [DIR] [BE] / N-1 PST Van Eyck 1 | 14.2 | 65%

## Slide 147
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220115 (part III)
CORE FB MC
15 | 63.35 | 44%
[BE-FR] Avelgem - Avelin 380.80 [DIR] [BE] / N-1 Achene - Lonny 380.19 | 63.35 | 24%
[BE-BE] Y-Mercator (-Doel - Lillo) 380.52 [DIR] / N-1 Achene - Lonny 380.19 | 28.63 | 20%
17 | 35.94 | 65%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 35.94 | 29%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 35.79 | 36%
20 | 302.66 | 104%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 302.66 | 41%
[BE-FR] Avelgem - Avelin 380.80 [DIR] [BE] / N-1 Achene - Lonny 380.19 | 297.7 | 28%
[BE-BE] PST Van Eyck 2 [DIR] [BE] / N-1 Achene - Lonny 380.19 | 30.82 | 34%
21 | 278.67 | 49%
[BE-FR] Avelgem - Avelin 380.80 [DIR] [BE] / N-1 Achene - Lonny 380.19 | 278.67 | 29%
[BE-BE] PST Zandvliet 1 [DIR] [BE] / N-1 Achene - Lonny 380.19 | 152.21 | 20%
22 | 250.6 | 74%
[BE-FR] Avelgem - Avelin 380.80 [DIR] [BE] / N-1 Achene - Lonny 380.19 | 31.53 | 51%
[BE-BE] PST Zandvliet 1 [DIR] [BE] / N-1 Achene - Lonny 380.19 | 250.6 | 23%
24 | 192.04 | 100%
[BE-FR] Avelgem - Avelin 380.80 [DIR] [BE] / N-1 Achene - Lonny 380.19 | 192.04 | 26%
[BE-BE] PST Van Eyck 2 [DIR] [BE] / N-1 PST Van Eyck 1 | 21.39 | 51%
[D7-D7] Paffendorf - Rommerskirchen PAFFEN S [OPP] / N-1 Knapsack - Sechtem WABERG W | 4.05 | 24%
Total sum | 513.92 | 2834%

## Slide 148
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220116 (part I)
CORE FB MC
Hour | MAX of ShadowPrice | RAM %
1 | 52.2 | 92%
[BE-BE] PST Zandvliet 1 [DIR] [BE] / N-1 PST Zandvliet 2 | 38.38 | 66%
[D7-D7] Paffendorf - Rommerskirchen PAFFEN S [OPP] / N-1 Knapsack - Sechtem WABERG W | 52.2 | 27%
2 | 53.21 | 133%
[BE-BE] PST Zandvliet 1 [DIR] [BE] / N-1 PST Zandvliet 2 | 53.21 | 62%
[D7-D7] Y Paffendorf - Oberzier SECHTM S [DIR] / N-1 Sechtem - Paffendorf - Oberzier SECHTM N | 25.72 | 71%
3 | 257.09 | 161%
[BE-BE] PST Van Eyck 2 [DIR] [BE] / N-1 PST Van Eyck 1 | 18.89 | 94%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 257.09 | 67%
4 | 193.42 | 165%
[BE-BE] PST Van Eyck 2 [DIR] [BE] / N-1 PST Van Eyck 1 | 14.21 | 94%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 193.42 | 71%
5 | 234.56 | 168%
[BE-BE] PST Van Eyck 2 [DIR] [BE] / N-1 PST Van Eyck 1 | 17.24 | 98%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 234.56 | 70%
6 | 197.63 | 226%
[D2-NL] Diele - Meeden SCHWARZ [DIR] [D2] / N-1 Diele - Meeden WEISS/W | 161.5 | 74%
[BE-BE] PST Van Eyck 2 [DIR] [BE] / N-1 PST Van Eyck 1 | 8.3 | 80%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 197.63 | 72%
7 | 386.9 | 295%
[D2-NL] Diele - Meeden SCHWARZ [DIR] [D2] / N-1 Diele - Meeden WEISS/W | 16.14 | 83%
[BE-BE] PST Van Eyck 2 [DIR] [BE] / N-1 PST Van Eyck 1 | 70.03 | 94%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 132.2 | 77%
[D7-D7] Paffendorf - Rommerskirchen PAFFEN S [OPP] / N-1 Knapsack - Sechtem WABERG W | 386.9 | 41%
8 | 393.7 | 374%
[AT-D2] St. Peter 2 - Pleinting 258 [OPP] [AT] / N-1 Pleinting - Pirach 257 | 92.58 | 77%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 94.22 | 84%
[BE-BE] PST Van Eyck 2 [DIR] [BE] / N-1 PST Van Eyck 1 | 71.78 | 97%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 138.21 | 74%
[D7-D7] Paffendorf - Rommerskirchen PAFFEN S [OPP] / N-1 Knapsack - Sechtem WABERG W | 393.7 | 42%

## Slide 149
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220116 (part II)
CORE FB MC
9 | 314.07 | 306%
[AT-D2] St. Peter 2 - Pleinting 258 [OPP] [AT] / N-1 Pleinting - Pirach 257 | 219.15 | 74%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 80.8 | 76%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Boxmeer-Dodewaard 380 Z | 314.07 | 41%
[BE-FR] Avelgem - Avelin 380.80 [DIR] [BE] / N-1 Avelgem - Mastaing 380.79 | 83.51 | 75%
[D7-D7] Paffendorf - Rommerskirchen PAFFEN S [OPP] / N-1 Knapsack - Sechtem WABERG W | 215.58 | 40%
10 | 575.85 | 273%
[AT-D2] St. Peter 2 - Pleinting 258 [OPP] [AT] / N-1 Pleinting - Pirach 257 | 461.88 | 68%
[SK-PL] Lemesany - Krosno Iskrz 1 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 2 | 56.51 | 74%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Boxmeer-Dodewaard 380 Z | 302.34 | 24%
[BE-BE] PST Van Eyck 2 [DIR] [BE] / N-1 PST Van Eyck 1 | 51.86 | 75%
[D7-D7] Paffendorf - Rommerskirchen PAFFEN S [OPP] / N-1 Knapsack - Sechtem WABERG W | 575.85 | 31%
11 | 688.34 | 158%
[AT-D2] St. Peter 2 - Pleinting 258 [OPP] [AT] / N-1 Pleinting - Pirach 257 | 688.34 | 66%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Zwolle-Hengelo 380 W | 483.11 | 23%
[BE-FR] Avelgem - Avelin 380.80 [DIR] [BE] / N-1 Avelgem - Mastaing 380.79 | 281.38 | 68%
12 | 586.78 | 234%
[AT-D2] St. Peter 2 - Pleinting 258 [OPP] [AT] / N-1 Pleinting - Pirach 257 | 586.78 | 72%
[SK-PL] Lemesany - Krosno Iskrz 1 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 2 | 58.07 | 73%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Boxmeer-Dodewaard 380 Z | 525.87 | 22%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 203.66 | 66%
13 | 957.14 | 229%
[AT-D2] St. Peter 2 - Pleinting 258 [OPP] [AT] / N-1 Pleinting - Pirach 257 | 677.2 | 73%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 13.28 | 71%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Doetinchem-Hengelo 380 W | 957.14 | 20%
[BE-FR] Avelgem - Avelin 380.80 [DIR] [BE] / N-1 Avelgem - Mastaing 380.79 | 96.22 | 64%
14 | 567.07 | 308%
[AT-D2] St. Peter 2 - Pleinting 258 [OPP] [AT] / N-1 Pleinting - Pirach 257 | 89.66 | 85%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 347.7 | 66%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Boxmeer-Dodewaard 380 Z | 567.07 | 20%
[D8-PL] Krajnik - Vierraden 1 [OPP] [PL] / N-1 Mikulowa - Pasikurowice | 334.58 | 19%
[BE-FR] Avelgem - Avelin 380.80 [DIR] [BE] / N-1 Avelgem - Mastaing 380.79 | 11.36 | 62%
[BE-BE] PST Zandvliet 1 [DIR] [BE] / N-1 PST Zandvliet 2 | 245.22 | 56%

## Slide 150
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220116 (part III)
CORE FB MC
15 | 753.74 | 301%
[AT-D2] St. Peter 2 - Pleinting 258 [OPP] [AT] / N-1 Pleinting - Pirach 257 | 472.88 | 72%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 344.71 | 61%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Boxmeer-Dodewaard 380 Z | 753.74 | 20%
[D8-PL] Krajnik - Vierraden 1 [OPP] [PL] / N-1 Mikulowa - Pasikurowice | 131.62 | 19%
[BE-FR] Avelgem - Avelin 380.80 [DIR] [BE] / N-1 Avelgem - Mastaing 380.79 | 144.6 | 69%
[BE-BE] PST Zandvliet 1 [DIR] [BE] / N-1 PST Zandvliet 2 | 125.34 | 60%
16 | 601.78 | 173%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 462.32 | 64%
[RO-RO] TR Rosiori 400/220 1 [DIR] / N-1 Rosiori - Gadalin | 57.45 | 16%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Boxmeer-Dodewaard 380 Z | 298.49 | 20%
[D8-PL] Krajnik - Vierraden 1 [OPP] [PL] / N-1 Mikulowa - Pasikurowice | 499.33 | 19%
[D2-D7] Grosskrotzenburg - Urberach UMAIN N2 [DIR] [D7] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 341.07 | 22%
[D7-D7] Huellen - Y Huellen WESTFL W [OPP] / N-1 Hattingen - Witten KEMNAD S | 601.78 | 31%
17 | 809.07 | 191%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 646.71 | 64%
[RO-RO] TR Rosiori 400/220 1 [DIR] / N-1 Rosiori - Gadalin | 80.58 | 16%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Boxmeer-Dodewaard 380 Z | 809.07 | 20%
[D8-PL] Krajnik - Vierraden 1 [OPP] [PL] / N-1 Mikulowa - Pasikurowice | 646.25 | 19%
[BE-FR] Avelgem - Avelin 380.80 [DIR] [BE] / N-1 Avelgem - Mastaing 380.79 | 137.15 | 72%
18 | 2144.88 | 188%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 197.25 | 69%
[RO-RO] TR Rosiori 400/220 1 [DIR] / N-1 Rosiori - Gadalin | 45.83 | 16%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 349.28 | 33%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Maasbracht-Eindhoven 380 W | 148.11 | 20%
[AT-AT] Bisamberg 2 - Wien Suedost 227 [DIR] / N-1 Bisamberg - Kledering 228B | 1020.55 | 37%
[D7-D7] Huellen - Y Huellen WESTFL W [OPP] / N-1 Hattingen - Witten KEMNAD S | 2144.88 | 12%
19 | 680.85 | 263%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 583.87 | 68%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 181.97 | 34%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Boxmeer-Dodewaard 380 Z | 555.48 | 20%
[D8-PL] Krajnik - Vierraden 1 [OPP] [PL] / N-1 Mikulowa - Pasikurowice | 146.42 | 18%
[BE-FR] Avelgem - Avelin 380.80 [DIR] [BE] / N-1 Avelgem - Mastaing 380.79 | 128.87 | 66%
[D7-D7] Mengede - Y Huellen WESTFL W [DIR] / N-1 Hattingen - Witten KEMNAD S | 265.64 | 34%
[D7-D7] Huellen - Y Huellen WESTFL W [OPP] / N-1 Hattingen - Witten KEMNAD S | 680.85 | 23%

## Slide 151
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220116 (part IV)
CORE FB MC
20 | 1929.73 | 190%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 446.78 | 67%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 285.95 | 35%
[BE-FR] Avelgem - Avelin 380.80 [DIR] [BE] / N-1 Avelgem - Mastaing 380.79 | 24.6 | 66%
[D7-D7] Mengede - Y Huellen WESTFL W [DIR] / N-1 Hattingen - Witten KEMNAD S | 1929.73 | 23%
21 | 1775.44 | 190%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 250.79 | 76%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 352.63 | 38%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 84.72 | 56%
[D7-D7] Mengede - Y Huellen WESTFL W [DIR] / N-1 Hattingen - Witten KEMNAD S | 1775.44 | 21%
22 | 1588.04 | 187%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 258.57 | 74%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 3.52 | 38%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 136.59 | 54%
[D7-D7] Mengede - Y Huellen WESTFL W [DIR] / N-1 Hattingen - Witten KEMNAD S | 1588.04 | 20%
23 | 1539.35 | 137%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 300.63 | 71%
[BE-FR] Avelgem - Avelin 380.80 [DIR] [BE] / N-1 Avelgem - Mastaing 380.79 | 157.08 | 46%
[D7-D7] Mengede - Y Huellen WESTFL W [DIR] / N-1 Hattingen - Witten KEMNAD S | 1539.35 | 20%
24 | 1384.6 | 241%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 77.05 | 84%
[AT-AT] Tauern - Tauern TAPST [DIR] / N-1 Tauern - Weissenbach 221 | 9.64 | 59%
[BE-FR] Avelgem - Avelin 380.80 [DIR] [BE] / N-1 Avelgem - Mastaing 380.79 | 122.22 | 46%
[BE-BE] PST Zandvliet 1 [DIR] [BE] / N-1 PST Zandvliet 2 | 97.8 | 33%
[D7-D7] Mengede - Y Huellen WESTFL W [DIR] / N-1 Hattingen - Witten KEMNAD S | 1384.6 | 20%
Total sum | 2144.88 | 5182%

## Slide 152
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220118 (part I)
CORE FB MC
Hour | MAX of ShadowPrice | RAM %
1 | 887.35 | 171%
[RO-RO] Resita - Timisoara c1 [DIR] / N-1 Resita - Timisoara c2 | 68.43 | 51%
[D7-D2] Urberach - Grosskrotzenburg [OPP] [D2] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 887.35 | 20%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Dobrzen | 84.46 | 63%
[D7-D7] Y Paffendorf - Oberzier SECHTM N [DIR] / N-1 Sechtem - Paffendorf - Oberzier SECHTM S | 34.06 | 36%
2 | 751.28 | 173%
[RO-RO] Resita - Timisoara c1 [DIR] / N-1 Resita - Timisoara c2 | 13.12 | 57%
[D7-D2] Urberach - Grosskrotzenburg [OPP] [D2] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 751.28 | 20%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Dobrzen | 175.5 | 60%
[D7-D7] Y Paffendorf - Oberzier SECHTM N [DIR] / N-1 Sechtem - Paffendorf - Oberzier SECHTM S | 13.62 | 37%
3 | 861.13 | 183%
[D7-D2] Urberach - Grosskrotzenburg [OPP] [D2] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 861.13 | 20%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Dobrzen | 105.25 | 59%
[AT-AT] Tauern - Tauern TAPST [DIR] / N-1 Tauern - Weissenbach 221 | 40.94 | 65%
[D7-D7] Y Paffendorf - Oberzier SECHTM N [DIR] / N-1 Sechtem - Paffendorf - Oberzier SECHTM S | 33.53 | 40%
4 | 695.84 | 187%
[D7-D2] Urberach - Grosskrotzenburg [OPP] [D2] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 695.84 | 20%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Dobrzen | 105.18 | 63%
[AT-AT] Tauern - Tauern TAPST [DIR] / N-1 Tauern - Weissenbach 221 | 15.4 | 67%
[D7-D7] Y Paffendorf - Oberzier SECHTM N [DIR] / N-1 Sechtem - Paffendorf - Oberzier SECHTM S | 27.13 | 37%
5 | 487.75 | 84%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Dobrzen | 88.19 | 64%
[D2-D7] Grosskrotzenburg - Urberach UMAIN N2 [DIR] [D7] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 487.75 | 20%
6 | 418.39 | 98%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 109.27 | 78%
[D2-D7] Grosskrotzenburg - Urberach UMAIN N2 [DIR] [D7] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 418.39 | 20%
11 | 354.91 | 219%
[HR-SI] 220kV Pehlin - Divaca [DIR] [HR] / N-1 Melina - Divaca | 10.48 | 71%
[RO-RO] Resita - Timisoara c1 [DIR] / N-1 Resita - Timisoara c2 | 354.91 | 32%
[CZ-D2] Hradec - Etzenricht 441 [DIR] [D2] / N-1 Prestice - Kocin | 2.88 | 61%
[AT-AT] Sarasdorf - Zurndorf 439A [OPP] / N-1 Sarasdorf - Zurndorf 440A | 71.2 | 14%
[AT-AT] Strass - Thaur 273B [DIR] / N-1 Strass - Thaur 274B | 37.71 | 15%
[D2-D7] Grosskrotzenburg - Urberach UMAIN N2 [DIR] [D7] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 3.87 | 22%
[D7-D7] Paffendorf - Rommerskirchen PAFFEN S [OPP] / N-1 Knapsack - Sechtem WABERG W | 0.36 | 5%

## Slide 153
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220118 (part II)
CORE FB MC
13 | 135 | 132%
[HR-SI] 220kV Pehlin - Divaca [DIR] [HR] / N-1 Melina - Divaca | 75.86 | 57%
[NL-NL] Eemshaven-Eemshaven het Hogeland 380 Z [DIR] / N-1 Eemshaven-Meeden-Zwolle 380 W | 6.26 | 14%
[NL-BE] Maasbracht-Van Eyck 380 W [OPP] [NL] / N-1 Achene - Gramme 380.10 | 24.54 | 12%
[AT-AT] Tauern - Weissenbach 222 [OPP] / N-1 Tauern - Weissenbach 221 | 99.75 | 18%
[AT-AT] Strass - Thaur 273B [DIR] / N-1 Strass - Thaur 274B | 45.49 | 22%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Maasbracht - Van Eyck 380 White/28 | 135 | 9%
14 | 9.95 | 91%
[HR-SI] 220kV Pehlin - Divaca [DIR] [HR] / N-1 Melina - Divaca | 0.67 | 60%
[NL-NL] Eemshaven-Eemshaven het Hogeland 380 Z [DIR] / N-1 Eemshaven-Meeden-Zwolle 380 W | 9.45 | 12%
[AT-AT] Tauern - Weissenbach 222 [OPP] / N-1 Tauern - Weissenbach 221 | 9.95 | 14%
[NL-BE] Maasbracht-Van Eyck 380 W [DIR] [NL] / N-1 Gramme - Lixhe 380.11 | 0.08 | 5%
16 | 63.2 | 73%
[AT-D2] St. Peter 2 - Pleinting 258 [OPP] [AT] / N-1 Pleinting - Pirach 257 | 2.82 | 18%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 63.2 | 14%
[NL-NL] Eemshaven-Eemshaven het Hogeland 380 Z [DIR] / N-1 Eemshaven-Meeden-Zwolle 380 W | 42.21 | 13%
[NL-BE] Maasbracht-Van Eyck 380 W [DIR] [NL] / N-1 Gramme - Lixhe 380.11 | 0.41 | 29%
17 | 680.24 | 73%
[AT-D2] St. Peter 2 - Pleinting 258 [OPP] [AT] / N-1 Pleinting - Pirach 257 | 84.79 | 7%
[AT-AT] St. Peter 2 - St. Peter 1 SPRHU41 [OPP] / N-1 Prestice - Kocin | 82.71 | 3%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 680.24 | 21%
[NL-NL] Eemshaven-Eemshaven het Hogeland 380 Z [DIR] / N-1 Eemshaven-Meeden-Zwolle 380 W | 242.81 | 12%
[NL-BE] Rilland-Zandvliet 380 W [DIR] [NL] / N-1 PST Zandvliet 2 | 12.15 | 30%
18 | 853.3 | 109%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [OPP] / N-1 Buers - Westtirol ws (421) | 36.63 | 18%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 853.3 | 15%
[NL-NL] Eemshaven-Eemshaven het Hogeland 380 Z [DIR] / N-1 Eemshaven-Meeden-Zwolle 380 W | 137.61 | 9%
[AT-SI] Obersielach - Podlog 247 [DIR] [AT] / N-1 Maribor-Kainachtal 1 | 11.43 | 13%
[D2-D7] Grosskrotzenburg - Urberach UMAIN N2 [DIR] [D7] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 73.78 | 15%
[D7-D7] Paffendorf - Rommerskirchen PAFFEN S [OPP] / N-1 Knapsack - Sechtem WABERG W | 93.57 | 12%
[D7-D7] Lambsheim - Weingarten LAMBSH W [DIR] / N-1 Grafenrheinfeld - Hoepfingen ge (411) | 294.12 | 6%
[NL-BE] Maasbracht-Van Eyck 380 W [DIR] [NL] / N-1 Gramme - Lixhe 380.11 | 0.11 | 20%

## Slide 154
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220118 (part III)
CORE FB MC
19 | 929.53 | 62%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 567.03 | 24%
[NL-BE] Rilland-Zandvliet 380 W [DIR] [NL] / N-1 PST Zandvliet 2 | 155.39 | 22%
[NL-BE] Maasbracht-Van Eyck 380 W [OPP] [NL] / N-1 Achene - Gramme 380.10 | 75.45 | 1%
[AT-AT] Strass - Thaur 273B [DIR] / N-1 Strass - Thaur 274B | 238.41 | 13%
[D7-D7] Lambsheim - Weingarten LAMBSH W [DIR] / N-1 Grafenrheinfeld - Hoepfingen ge (411) | 929.53 | 3%
20 | 285.85 | 50%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [OPP] / N-1 Buers - Westtirol ws (421) | 19.66 | 27%
[NL-NL] Eemshaven-Eemshaven het Hogeland 380 Z [DIR] / N-1 Eemshaven-Meeden-Zwolle 380 W | 222.66 | 7%
[D7-D7] Paffendorf - Rommerskirchen PAFFEN S [OPP] / N-1 Knapsack - Sechtem WABERG W | 75.47 | 8%
[D7-D7] Lambsheim - Weingarten LAMBSH W [DIR] / N-1 Grafenrheinfeld - Hoepfingen ge (411) | 285.85 | 8%
21 | 891.09 | 283%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 66.51 | 76%
[D7-D2] Urberach - Grosskrotzenburg [OPP] [D2] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 529.38 | 4%
[SI-AT] 220 kV Podlog - Obersielach [OPP] [SI] / N-1 Maribor-Kainachtal 1 | 9.7 | 98%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 891.09 | 26%
[AT-AT] Suedburgenland - Wien Suedost 478 [OPP] / N-1 Oststeiermark - Wien Suedost 477 | 68.68 | 34%
[NL-NL] Eemshaven-Eemshaven het Hogeland 380 Z [DIR] / N-1 Eemshaven-Meeden-Zwolle 380 W | 64.17 | 9%
[NL-BE] Maasbracht-Van Eyck 380 W [OPP] [NL] / N-1 Achene - Gramme 380.10 | 25.31 | 11%
[NL-BE] Maasbracht-Van Eyck 380 W [OPP] [NL] / N-1 Gramme - Lixhe 380.11 | 0.68 | 8%
[D7-D7] Paffendorf - Rommerskirchen PAFFEN S [OPP] / N-1 Knapsack - Sechtem WABERG W | 10.07 | 9%
[D7-D7] Lambsheim - Weingarten LAMBSH W [DIR] / N-1 Grafenrheinfeld - Hoepfingen ge (411) | 407.19 | 8%
22 | 979.19 | 209%
[AT-D2] St. Peter 2 - Pleinting 258 [OPP] [AT] / N-1 Pleinting - Pirach 257 | 529.18 | 36%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 36.95 | 74%
[D7-D2] Urberach - Grosskrotzenburg [OPP] [D2] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 979.19 | 11%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 779.07 | 26%
[NL-BE] Maasbracht-Van Eyck 380 W [OPP] [NL] / N-1 Achene - Gramme 380.10 | 30.61 | 9%
[AT-SI] Obersielach - Podlog 247 [DIR] [AT] / N-1 Maribor-Kainachtal 1 | 76.57 | 41%
[D7-D7] Lambsheim - Weingarten LAMBSH W [DIR] / N-1 Grafenrheinfeld - Hoepfingen ge (411) | 295.89 | 12%
23 | 228.4 | 93%
[BE-BE] PST Zandvliet 1 [DIR] [BE] / N-1 PST Zandvliet 2 | 44.1 | 49%
[D2-D7] Grosskrotzenburg - Urberach UMAIN N2 [DIR] [D7] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 228.4 | 21%
[D7-D7] Paffendorf - Rommerskirchen PAFFEN S [OPP] / N-1 Knapsack - Sechtem WABERG W | 85.32 | 23%
24 | 506.28 | 207%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 64.51 | 66%
[BE-FR] Achene - Lonny 380.19 [DIR] [BE] / N-1 Avelgem - Avelin 380.80 | 31.13 | 57%
[BE-BE] PST Zandvliet 1 [DIR] [BE] / N-1 PST Zandvliet 2 | 1.86 | 58%
[D2-D7] Grosskrotzenburg - Urberach UMAIN N2 [DIR] [D7] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 506.28 | 26%
Total sum | 979.19 | 2497%

## Slide 155
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220119 (part I)
CORE FB MC
Hour | MAX of ShadowPrice | RAM %
1 | 299.57 | 144%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 119.36 | 87%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Boxmeer-Dodewaard 380 Z | 35.19 | 20%
[D2-D7] Grosskrotzenburg - Urberach UMAIN N2 [DIR] [D7] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 299.57 | 37%
2 | 217.82 | 212%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 217.64 | 85%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Zwolle-Hengelo 380 W | 217.82 | 21%
[BE-FR] Achene - Lonny 380.19 [DIR] [BE] / N-1 Avelgem - Avelin 380.80 | 150.41 | 45%
[BE-BE] PST Zandvliet 1 [DIR] [BE] / N-1 PST Zandvliet 2 | 91 | 61%
3 | 351.65 | 214%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Zwolle-Hengelo 380 W | 351.65 | 20%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Nosovice | 159.68 | 74%
[BE-FR] Achene - Lonny 380.19 [DIR] [BE] / N-1 Avelgem - Avelin 380.80 | 155.07 | 54%
[BE-BE] PST Zandvliet 1 [DIR] [BE] / N-1 PST Zandvliet 2 | 27.96 | 65%
4 | 276.2 | 207%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Zwolle-Hengelo 380 W | 276.2 | 23%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Nosovice | 218.84 | 68%
[BE-FR] Achene - Lonny 380.19 [DIR] [BE] / N-1 Aubange - Moulaine 220.513 | 151.42 | 53%
[BE-BE] PST Zandvliet 1 [DIR] [BE] / N-1 PST Zandvliet 2 | 86.53 | 63%
5 | 896.71 | 266%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 113.14 | 78%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Nosovice | 148.46 | 64%
[AT-AT] Strass - Thaur 273B [OPP] / N-1 Strass - Thaur 274B | 16.62 | 111%
[D7-D7] Paffendorf - Rommerskirchen PAFFEN S [OPP] / N-1 Brauweiler - Rommerskirchen BRAUWL W | 896.71 | 14%
6 | 330.11 | 265%
[AT-D2] St. Peter 2 - Pleinting 258 [OPP] [AT] / N-1 Pleinting - Pirach 257 | 273.97 | 32%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 141.74 | 74%
[D7-D7] Bacharach - Weissenthurm SOONWD O [OPP] / N-1 Waldlaubersheim - Weissenthurm SOONWD W | 330.11 | 18%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Boxmeer-Dodewaard 380 Z | 49.4 | 20%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Dobrzen | 38.84 | 62%
[D2-D7] Grosskrotzenburg - Urberach UMAIN N2 [DIR] [D7] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 304.13 | 32%
[D7-D7] Paffendorf - Rommerskirchen PAFFEN S [OPP] / N-1 Knapsack - Sechtem WABERG W | 280.87 | 29%

## Slide 156
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220119 (part II)
CORE FB MC
7 | 67.96 | 127%
[D7-D7] Bacharach - Weissenthurm SOONWD O [OPP] / N-1 Waldlaubersheim - Weissenthurm SOONWD W | 13.69 | 29%
[D8-PL] Krajnik - Vierraden 1 [OPP] [PL] / N-1 Mikulowa - Pasikurowice | 67.96 | 22%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 21.87 | 76%
8 | 1416.66 | 123%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 1416.66 | 19%
[NL-NL] Eemshaven-Eemshaven het Hogeland 380 Z [DIR] / N-1 Eemshaven-Meeden-Zwolle 380 W | 37.91 | 10%
[BE-FR] Achene - Lonny 380.19 [DIR] [BE] / N-1 Avelgem - Avelin 380.80 | 262.99 | 54%
[D7-D7] Lambsheim - Weingarten LAMBSH W [DIR] / N-1 Hoheneck - Pulverdingen ws | 207.53 | 10%
[D7-D7] Sechtem - Weissenthurm MITREI [DIR] / N-1 Liessem - Sechtem LIESSM O | 532.85 | 10%
[D7-D7] Niederstedem - Y Dahlem SELHN W [OPP] / N-1 Dahlem - Rommersheim SELHN O | 116.07 | 19%
9 | 1801.23 | 244%
[HR-SI] 220kV Pehlin - Divaca [OPP] [HR] / N-1 Melina - Divaca | 39.4 | 111%
[RO-RO] TR Rosiori 400/220 1 [DIR] / N-1 Rosiori - Gadalin | 53.1 | 50%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 1801.23 | 0%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Maasbracht-Eindhoven 380 W | 428.29 | 0%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Dobrzen | 280.23 | 64%
[NL-BE] Maasbracht-Van Eyck 380 W [OPP] [NL] / N-1 Achene - Gramme 380.10 | 146.17 | 0%
[AT-AT] St. Peter 2 - St. Peter 1 SPRHU41 [OPP] / N-1 St. Peter 2 - St. Peter 1 SPRHU42 | 322.45 | 1%
[AT-SI] Obersielach - Podlog 247 [DIR] [AT] / N-1 Maribor-Kainachtal 1 | 248.48 | 0%
[AT-AT] Strass - Thaur 274B [DIR] / N-1 Westtirol - Zell 275 | 481.58 | 16%
[AT-HU] Zurndorf - Gyoer 439B [OPP] [AT] / N-1 Gabcikovo - Gonyu | 145.78 | 2%
[D7-D7] Lambsheim - Weingarten LAMBSH W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 1624.75 | 0%
[D2-D7] Grosskrotzenburg - Urberach UMAIN N2 [DIR] [D7] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 683.1 | 0%
10 | 1166.24 | 120%
[HR-BA] 220kV Zakucac - Mostar [OPP] [HR] / N-1 Konjsko - Mostar | 18.85 | 38%
[D2-D4] Grafenrheinfeld - Stalldorf 416 [DIR] [D2] / N-1 Grafenrheinfeld - Hoepfingen ge (411) | 301.05 | 0%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 776.44 | 0%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Maasbracht-Eindhoven 380 W | 504.24 | 0%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Dobrzen | 240.88 | 65%
[AT-AT] Strass - Thaur 274B [DIR] / N-1 Westtirol - Zell 275 | 360.35 | 17%
[NL-BE] Maasbracht-Van Eyck 380 W [OPP] [NL] / N-1 Gramme - Lixhe 380.11 | 123.87 | 0%
[D7-D7] Lambsheim - Weingarten LAMBSH W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 1166.24 | 0%
[D2-D7] Grosskrotzenburg - Urberach UMAIN N2 [DIR] [D7] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 365.25 | 0%
[AT-SI] Obersielach - Podlog 247 [DIR] [AT] / N-1 Kainachtal - Obersielach 471 | 104.33 | 0%

## Slide 157
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220119 (part III)
CORE FB MC
11 | 1570.72 | 196%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [OPP] / N-1 Buers - Westtirol ws (421) | 210.14 | 18%
[AT-D2] St. Peter 2 - Pleinting 258 [OPP] [AT] / N-1 Pleinting - Pirach 257 | 746.2 | 0%
[HR-BA] 220kV Zakucac - Mostar [OPP] [HR] / N-1 Konjsko - Mostar | 633.37 | 29%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Maasbracht-Eindhoven 380 W | 592.92 | 0%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Dobrzen | 190.49 | 61%
[NL-BE] Maasbracht-Van Eyck 380 W [OPP] [NL] / N-1 Achene - Gramme 380.10 | 37.38 | 0%
[SI-HR] 220kV Podlog - Zerjavinec [DIR] [SI] / N-1 Tumbri - Krsko 1 | 80.28 | 88%
[AT-SI] Obersielach - Podlog 247 [DIR] [AT] / N-1 Maribor-Kainachtal 1 | 343.25 | 0%
[D2-D7] Grosskrotzenburg - Urberach UMAIN N2 [DIR] [D7] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 1570.72 | 0%
[NL-D7] Maasbracht - Oberzier SELFK WS [DIR] [D7] / N-1 Achene - Gramme 380.10 | 878.14 | 0%
12 | 1771.85 | 260%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [OPP] / N-1 Buers - Westtirol ws (421) | 583.93 | 18%
[AT-D2] St. Peter 2 - Pleinting 258 [OPP] [AT] / N-1 Pleinting - Pirach 257 | 1771.85 | 13%
[AT-HU] Neusiedl - Gyoer 246B [OPP] [AT] / N-1 Gyor - Wien | 124.06 | 5%
[HR-BA] 220kV Zakucac - Mostar [OPP] [HR] / N-1 Konjsko - Mostar | 510.57 | 26%
[D2-D4] Grafenrheinfeld - Stalldorf 416 [DIR] [D2] / N-1 Grafenrheinfeld - Hoepfingen ge (411) | 1261.85 | 4%
[RO-RO] Resita - Timisoara c1 [DIR] / N-1 Portile de Fier - Djerdap | 205.27 | 22%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Boxmeer-Dodewaard 380 Z | 214.4 | 20%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Dobrzen | 64.89 | 66%
[NL-BE] Rilland-Zandvliet 380 W [DIR] [NL] / N-1 PST Zandvliet 2 | 164.57 | 10%
[NL-BE] Maasbracht-Van Eyck 380 W [OPP] [NL] / N-1 Achene - Gramme 380.10 | 94.82 | 6%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 121.29 | 70%
13 | 1526.3 | 425%
[AT-CZ] Duernrohr 1 - Slavetice 437 [OPP] [AT] / N-1 Slavetice - Durnrohr 2 | 132.71 | 25%
[HR-BA] 220kV Zakucac - Mostar [OPP] [HR] / N-1 Konjsko - Mostar | 60.96 | 24%
[D2-D4] Grafenrheinfeld - Stalldorf 416 [DIR] [D2] / N-1 Grafenrheinfeld - Hoepfingen ge (411) | 489.01 | 6%
[SI-AT] 220 kV Podlog - Obersielach [OPP] [SI] / N-1 Maribor-Kainachtal 1 | 176.7 | 81%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 322.54 | 61%
[NL-BE] Maasbracht-Van Eyck 380 W [OPP] [NL] / N-1 Achene - Gramme 380.10 | 131.75 | 15%
[SI-HR] 220kV Podlog - Zerjavinec [DIR] [SI] / N-1 Cirkovce-Krsko | 90.41 | 74%
[BE-FR] Avelgem - Avelin 380.80 [DIR] [BE] / N-1 Avelgem - Mastaing 380.79 | 91.82 | 59%
[D7-D7] Huellen - Y Huellen WESTFL W [OPP] / N-1 Hattingen - Witten KEMNAD S | 1526.3 | 3%
[PL-PL] Krosno Iskrzynia - Tarnow [OPP] / N-1 Nosovice - Varin | 102.36 | 77%

## Slide 158
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220119 (part IV)
CORE FB MC
14 | 1276.89 | 324%
[RO-RO] TR Rosiori 400/220 1 [DIR] / N-1 TR Iernut 400/220 1 | 71.02 | 39%
[D2-NL] Diele - Meeden SCHWARZ [DIR] [D2] / N-1 Diele - Meeden WEISS/W | 468.81 | 47%
[SI-AT] 220 kV Podlog - Obersielach [OPP] [SI] / N-1 Maribor-Kainachtal 1 | 23.2 | 91%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 573.41 | 5%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Nosovice | 106.09 | 66%
[BE-FR] Avelgem - Avelin 380.80 [DIR] [BE] / N-1 Avelgem - Mastaing 380.79 | 62.57 | 60%
[D7-D7] Lambsheim - Weingarten LAMBSH W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 839.38 | 13%
[D7-D7] Huellen - Y Huellen WESTFL W [OPP] / N-1 Hattingen - Witten KEMNAD S | 1276.89 | 4%
15 | 1571.61 | 306%
[AT-D2] St. Peter 2 - Pleinting 258 [OPP] [AT] / N-1 Pleinting - Pirach 257 | 291.47 | 33%
[RO-RO] TR Rosiori 400/220 1 [DIR] / N-1 TR Iernut 400/220 1 | 149.2 | 37%
[D2-NL] Diele - Meeden SCHWARZ [DIR] [D2] / N-1 Diele - Meeden WEISS/W | 372.43 | 44%
[D7-D2] Urberach - Grosskrotzenburg [OPP] [D2] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 1137.46 | 7%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 881.03 | 12%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Nosovice | 139.7 | 59%
[NL-BE] Maasbracht-Van Eyck 380 W [OPP] [NL] / N-1 Achene - Gramme 380.10 | 160.29 | 0%
[SI-HR] 220kV Podlog - Zerjavinec [DIR] [SI] / N-1 Cirkovce-Krsko | 22.16 | 84%
[AT-SI] Obersielach - Podlog 247 [DIR] [AT] / N-1 Maribor-Kainachtal 1 | 157.82 | 13%
[D7-D7] Huellen - Y Huellen WESTFL W [OPP] / N-1 Hattingen - Witten KEMNAD S | 61.65 | 9%
[D7-D7] Sechtem - Weissenthurm MITREI [DIR] / N-1 Liessem - Sechtem LIESSM O | 1571.61 | 8%
16 | 1679.88 | 381%
[AT-D2] St. Peter 2 - Pleinting 258 [OPP] [AT] / N-1 Pleinting - Pirach 257 | 168.95 | 25%
[HR-BA] 220kV Zakucac - Mostar [OPP] [HR] / N-1 Konjsko - Mostar | 370.39 | 18%
[RO-RO] TR Rosiori 400/220 1 [DIR] / N-1 Rosiori - Gadalin | 388.97 | 55%
[D2-NL] Diele - Meeden SCHWARZ [DIR] [D2] / N-1 Diele - Meeden WEISS/W | 235.74 | 47%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 1679.88 | 5%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Dobrzen | 212.4 | 61%
[BE-BE] PST Van Eyck 2 [OPP] [BE] / N-1 Achene - Gramme 380.10 | 68.08 | 70%
[SI-HR] 220kV Podlog - Zerjavinec [DIR] [SI] / N-1 Cirkovce-Krsko | 55.45 | 83%
[D2-D7] Grosskrotzenburg - Urberach UMAIN N2 [DIR] [D7] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 682.34 | 6%
[D7-D7] Huellen - Y Huellen WESTFL W [OPP] / N-1 Hattingen - Witten KEMNAD S | 509.11 | 7%
[D7-D7] Sechtem - Weissenthurm MITREI [DIR] / N-1 Liessem - Sechtem LIESSM O | 1023.2 | 6%

## Slide 159
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220119 (part V)
CORE FB MC
17 | 1527.87 | 514%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [OPP] / N-1 Buers - Westtirol ws (421) | 602.36 | 0%
[AT-D2] St. Peter 2 - Pleinting 258 [OPP] [AT] / N-1 Pleinting - Pirach 257 | 1151.42 | 0%
[HR-SI] 400kV Tumbri - Krsko 1 [OPP] [HR] / N-1 Tumbri - Krsko 2 | 242.17 | 56%
[SK-SK] Gabcikovo - P.Biskupice [DIR] / N-1 V.Dur - Krizovany | 17.06 | 99%
[RO-RO] TR Portile de Fier 400/220 1 [OPP] / N-1 TR Portile de Fier 400/220 2 | 92.97 | 33%
[D2-NL] Diele - Meeden SCHWARZ [DIR] [D2] / N-1 Diele - Meeden WEISS/W | 204.14 | 48%
[SI-AT] 400 kV Maribor - Kainachtal 1 [DIR] [SI] / N-1 Maribor-Kainachtal 2 | 43.51 | 124%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Dobrzen | 34.16 | 50%
[BE-BE] PST Van Eyck 2 [OPP] [BE] / N-1 Achene - Gramme 380.10 | 144.5 | 59%
[D2-D7] Grosskrotzenburg - Urberach UMAIN N2 [DIR] [D7] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 658.81 | 0%
[D7-D7] Huellen - Y Huellen WESTFL W [OPP] / N-1 Hattingen - Witten KEMNAD S | 132.73 | 0%
[D7-D7] Sechtem - Weissenthurm MITREI [DIR] / N-1 Liessem - Sechtem LIESSM O | 1527.87 | 0%
[PL-PL] Krosno Iskrzynia - Tarnow [OPP] / N-1 Nosovice - Varin | 467.79 | 45%
18 | 2343.74 | 307%
[D2-D2] Altheim - Sittling 219 [OPP] / N-1 Altheim - Sittling 220 | 182.1 | 17%
[RO-RO] TR Portile de Fier 400/220 1 [OPP] / N-1 TR Portile de Fier 400/220 2 | 111.78 | 30%
[D2-NL] Diele - Meeden SCHWARZ [DIR] [D2] / N-1 Diele - Meeden WEISS/W | 322.66 | 39%
[D7-D2] Urberach - Grosskrotzenburg [OPP] [D2] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 555.33 | 6%
[SI-AT] 220 kV Podlog - Obersielach [OPP] [SI] / N-1 Maribor-Kainachtal 1 | 318.26 | 33%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 2343.74 | 4%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Dobrzen | 348.2 | 48%
[SI-HR] 220kV Podlog - Zerjavinec [DIR] [SI] / N-1 Cirkovce-Krsko | 883.19 | 72%
[D7-D7] Huellen - Y Huellen WESTFL W [OPP] / N-1 Hattingen - Witten KEMNAD S | 946.8 | 6%
[PL-PL] Krosno Iskrzynia - Tarnow [OPP] / N-1 Nosovice - Varin | 2.77 | 47%
[D7-D7] Lambsheim - Weingarten LAMBSH W [DIR] / N-1 Rheinau - Hoheneck KUGELB O | 976.91 | 4%
19 | 4241.05 | 287%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [OPP] / N-1 Buers - Westtirol ws (421) | 688.27 | 3%
[HR-SI] 400kV Tumbri - Krsko 1 [OPP] [HR] / N-1 Tumbri - Krsko 2 | 248.87 | 57%
[D2-D2] Altheim - Sittling 219 [OPP] / N-1 Altheim - Sittling 220 | 4241.05 | 13%
[RO-RO] TR Portile de Fier 400/220 1 [OPP] / N-1 TR Portile de Fier 400/220 2 | 398.63 | 33%
[D7-D2] Urberach - Grosskrotzenburg [OPP] [D2] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 1714.83 | 6%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 760.96 | 6%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Dobrzen | 109.17 | 48%
[BE-FR] Avelgem - Avelin 380.80 [DIR] [BE] / N-1 Avelgem - Mastaing 380.79 | 85.23 | 75%
[NL-BE] Maasbracht-Van Eyck 380 W [OPP] [NL] / N-1 Gramme - Lixhe 380.11 | 141.3 | 1%
[PL-PL] Krosno Iskrzynia - Tarnow [OPP] / N-1 Nosovice - Varin | 306.55 | 46%

## Slide 160
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220119 (part VI)
CORE FB MC
20 | 1707.48 | 276%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [OPP] / N-1 Buers - Westtirol ws (421) | 409.46 | 21%
[AT-D2] St. Peter 2 - Pleinting 258 [OPP] [AT] / N-1 Pleinting - Pirach 257 | 1000.1 | 15%
[RO-RO] TR Portile de Fier 400/220 1 [OPP] / N-1 TR Portile de Fier 400/220 2 | 234.44 | 34%
[D2-D2] Conneforde - Diele WEISS [DIR] / N-1 Conneforde - Diele ROT | 1500.46 | 1%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 236.64 | 7%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Dobrzen | 54.97 | 47%
[D8-PL] Krajnik - Vierraden 1 [OPP] [PL] / N-1 Mikulowa - Pasikurowice | 124.18 | 19%
[SI-HR] 220kV Podlog - Zerjavinec [DIR] [SI] / N-1 Cirkovce-Krsko | 516.13 | 77%
[NL-D7] Maasbracht - Siersdorf SELFK SW [DIR] [D7] / N-1 Maasbracht - Oberzier SELFK WS/W | 388.46 | 1%
[D7-D7] Niederstedem - Y Dahlem SELHN W [OPP] / N-1 Dahlem - Rommersheim SELHN O | 1707.48 | 9%
[PL-PL] Krosno Iskrzynia - Tarnow [OPP] / N-1 Nosovice - Varin | 470.28 | 46%
21 | 1211.91 | 208%
[D8-PL] Krajnik - Vierraden 1 [OPP] [PL] / N-1 Mikulowa - Pasikurowice | 526.86 | 28%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 43.16 | 58%
[BE-BE] PST Zandvliet 1 [DIR] [BE] / N-1 PST Zandvliet 2 | 55.67 | 38%
[D7-D7] Mengede - Y Huellen WESTFL W [DIR] / N-1 Hattingen - Witten KEMNAD S | 1211.91 | 24%
[PL-PL] Krosno Iskrzynia - Tarnow [OPP] / N-1 Nosovice - Varin | 346.04 | 59%
22 | 1004.12 | 165%
[D8-PL] Krajnik - Vierraden 1 [OPP] [PL] / N-1 Mikulowa - Pasikurowice | 172.55 | 27%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 94.94 | 61%
[D7-D7] Mengede - Y Huellen WESTFL W [DIR] / N-1 Hattingen - Witten KEMNAD S | 1004.12 | 23%
[PL-PL] Krosno Iskrzynia - Tarnow [OPP] / N-1 Nosovice - Varin | 501.46 | 54%
23 | 1777 | 241%
[AT-CZ] Duernrohr 1 - Slavetice 437 [OPP] [AT] / N-1 Slavetice - Durnrohr 2 | 88.09 | 47%
[D7-D2] Urberach - Grosskrotzenburg [OPP] [D2] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 120.18 | 20%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 135.24 | 27%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Maasbracht-Eindhoven 380 W | 126.58 | 20%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 30.88 | 68%
[D7-D7] Huellen - Y Huellen WESTFL W [OPP] / N-1 Rosenblumendelle - Karnap - Buescherhof BUESHR W | 1777 | 8%
[PL-PL] Krosno Iskrzynia - Tarnow [OPP] / N-1 Nosovice - Varin | 528.95 | 51%
24 | 860.44 | 160%
[D7-D2] Urberach - Grosskrotzenburg [OPP] [D2] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 97.87 | 20%
[D8-PL] Mikulowa PST1 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 93.62 | 29%
[BE-BE] PST Zandvliet 1 [DIR] [BE] / N-1 PST Zandvliet 2 | 135.75 | 34%
[D7-D7] Mengede - Y Huellen WESTFL W [DIR] / N-1 Hattingen - Witten KEMNAD S | 860.44 | 24%
[PL-PL] Krosno Iskrzynia - Tarnow [OPP] / N-1 Nosovice - Varin | 514.89 | 52%
Total sum | 4241.05 | 5970%

## Slide 161
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220120 (part I)
CORE FB MC
Hour | MAX of ShadowPrice | RAM %
1 | 860.17 | 120%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 579.07 | 49%
[D8-PL] Krajnik - Vierraden 1 [OPP] [PL] / N-1 Mikulowa - Pasikurowice | 406.6 | 20%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 261.83 | 30%
[D7-D7] Mengede - Y Huellen WESTFL W [DIR] / N-1 Hattingen - Witten KEMNAD S | 860.17 | 22%
2 | 621.02 | 257%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [DIR] / N-1 Pradella-Y/Punt LN300153 | 4.68 | 77%
[RO-RS] Portile de Fier - Djerdap [DIR] [RO] / N-1 Tantareni-Kozlodui | 8.08 | 35%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 621.02 | 54%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Nosovice | 10.88 | 43%
[D8-PL] Krajnik - Vierraden 1 [OPP] [PL] / N-1 Mikulowa - Pasikurowice | 502.94 | 2%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 508.9 | 23%
[D7-D7] Mengede - Y Huellen WESTFL W [DIR] / N-1 Hattingen - Witten KEMNAD S | 454.26 | 23%
3 | 769.23 | 187%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 557.96 | 56%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [DIR] / N-1 Westtirol - Voehringen | 68.34 | 89%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 335.21 | 21%
[D7-D7] Mengede - Y Huellen WESTFL W [DIR] / N-1 Hattingen - Witten KEMNAD S | 769.23 | 22%
4 | 657.86 | 143%
[RO-RS] Portile de Fier - Djerdap [DIR] [RO] / N-1 Tantareni-Kozlodui | 8.33 | 37%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 551.68 | 59%
[D8-PL] Krajnik - Vierraden 1 [OPP] [PL] / N-1 Mikulowa - Pasikurowice | 531.67 | 5%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 657.86 | 20%
[D7-D7] Mengede - Y Huellen WESTFL W [DIR] / N-1 Hattingen - Witten KEMNAD S | 258.74 | 22%
5 | 469.85 | 184%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [DIR] / N-1 Pradella-Y/Punt LN300153 | 138.64 | 68%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 460.6 | 54%
[D8-PL] Krajnik - Vierraden 1 [OPP] [PL] / N-1 Mikulowa - Pasikurowice | 109.87 | 20%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 469.85 | 20%
[D7-D7] Mengede - Y Huellen WESTFL W [DIR] / N-1 Hattingen - Witten KEMNAD S | 460.96 | 22%
6 | 678.31 | 116%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 577.83 | 54%
[D8-PL] Krajnik - Vierraden 1 [OPP] [PL] / N-1 Mikulowa - Pasikurowice | 599.18 | 20%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 678.31 | 20%
[D7-D7] Mengede - Y Huellen WESTFL W [DIR] / N-1 Hattingen - Witten KEMNAD S | 115.28 | 22%

## Slide 162
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220120 (part II)
CORE FB MC
7 | 900.9 | 152%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 606.09 | 51%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 34.64 | 33%
[D8-PL] Krajnik - Vierraden 1 [OPP] [PL] / N-1 Mikulowa - Pasikurowice | 486.61 | 21%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 279.13 | 26%
[D7-D7] Mengede - Y Huellen WESTFL W [DIR] / N-1 Hattingen - Witten KEMNAD S | 900.9 | 22%
8 | 766 | 182%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 766 | 42%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 42.68 | 65%
[D8-PL] Mikulowa PST1 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 294.32 | 27%
[D7-D7] Bischofsheim - Y Pfungstadt RIED W [DIR] / N-1 Pfungstadt - Urberach GRIESH O | 521.74 | 23%
[D7-D7] Mengede - Y Huellen WESTFL W [DIR] / N-1 Escherbruch - Mengede RECKLI N | 763.16 | 25%
9 | 685.4 | 161%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 629.49 | 47%
[BE-FR] Achene - Lonny 380.19 [DIR] [BE] / N-1 Avelgem - Avelin 380.80 | 51.46 | 42%
[D8-PL] Mikulowa PST1 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 234.84 | 28%
[D7-D7] Bischofsheim - Y Pfungstadt RIED W [DIR] / N-1 Pfungstadt - Urberach GRIESH O | 685.4 | 20%
[D7-D7] Mengede - Y Huellen WESTFL W [DIR] / N-1 Escherbruch - Kusenhorst WEHOLT O | 649.04 | 25%
10 | 1605.68 | 218%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 487.04 | 41%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 5.41 | 32%
[NL-D2] Meeden-Diele 380 Z [OPP] [NL] / N-1 Diele - Meeden WEISS/W | 271.79 | 33%
[D8-PL] Mikulowa PST1 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 45.82 | 28%
[BE-FR] Avelgem - Avelin 380.80 [DIR] [BE] / N-1 Avelgem - Mastaing 380.79 | 139.67 | 71%
[D7-D7] Huellen - Y Huellen WESTFL W [OPP] / N-1 Rosenblumendelle - Karnap - Buescherhof BUESHR W | 1605.68 | 14%
11 | 1701.83 | 223%
[SK-PL] Lemesany - Krosno Iskrz 1 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 2 | 494.4 | 42%
[NL-D2] Meeden-Diele 380 Z [OPP] [NL] / N-1 Diele - Meeden WEISS/W | 146.35 | 33%
[RO-RO] Resita - Timisoara c1 [DIR] / N-1 Portile de Fier - Djerdap | 41.88 | 36%
[D8-PL] Mikulowa PST1 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 25.01 | 28%
[BE-FR] Avelgem - Avelin 380.80 [DIR] [BE] / N-1 Avelgem - Mastaing 380.79 | 99.57 | 70%
[D7-D7] Huellen - Y Huellen WESTFL W [OPP] / N-1 Rosenblumendelle - Karnap - Buescherhof BUESHR W | 1701.83 | 15%

## Slide 163
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220120 (part III)
CORE FB MC
12 | 980.89 | 259%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 602.17 | 54%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 30 | 36%
[NL-D2] Meeden-Diele 380 Z [OPP] [NL] / N-1 Diele - Meeden WEISS/W | 94.55 | 30%
[RO-RO] Resita - Timisoara c1 [DIR] / N-1 Portile de Fier - Djerdap | 253.9 | 34%
[D8-PL] Krajnik - Vierraden 1 [OPP] [PL] / N-1 Mikulowa - Pasikurowice | 649.83 | 20%
[BE-FR] Avelgem - Avelin 380.80 [DIR] [BE] / N-1 Avelgem - Mastaing 380.79 | 16.64 | 61%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 980.89 | 19%
[D7-D7] Y Paffendorf - Oberzier SECHTM N [DIR] / N-1 Sechtem - Paffendorf - Oberzier SECHTM S | 264.14 | 6%
13 | 669.61 | 222%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 488.68 | 50%
[RO-RO] Resita - Timisoara c1 [DIR] / N-1 Portile de Fier - Djerdap | 41.12 | 35%
[PL-PL] Mikulowa - Pasikurowice [DIR] / N-1 Czarna - Mikulowa | 452.35 | 20%
[BE-FR] Avelgem - Avelin 380.80 [DIR] [BE] / N-1 Avelgem - Mastaing 380.79 | 73.18 | 56%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 669.61 | 20%
[D7-D7] Huellen - Y Huellen WESTFL W [OPP] / N-1 Rosenblumendelle - Karnap - Buescherhof BUESHR W | 561.81 | 20%
[D7-D7] Mengede - Y Huellen WESTFL W [DIR] / N-1 Escherbruch - Mengede RECKLI N | 291.51 | 22%
14 | 599.07 | 178%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 599.07 | 43%
[RO-RO] Resita - Timisoara c1 [DIR] / N-1 Portile de Fier - Djerdap | 49.5 | 32%
[D8-PL] Mikulowa PST1 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 294.32 | 29%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 555.93 | 27%
[D7-D7] Huellen - Y Huellen WESTFL W [OPP] / N-1 Rosenblumendelle - Karnap - Buescherhof BUESHR W | 479.88 | 21%
[D7-D7] Mengede - Y Huellen WESTFL W [DIR] / N-1 Escherbruch - Mengede RECKLI N | 342.42 | 25%
15 | 857.81 | 171%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 598.97 | 47%
[RO-RO] TR Portile de Fier 400/220 1 [OPP] / N-1 TR Portile de Fier 400/220 2 | 149.99 | 29%
[D8-PL] Mikulowa PST1 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 326.86 | 28%
[D7-D7] Huellen - Y Huellen WESTFL W [OPP] / N-1 Rosenblumendelle - Karnap - Buescherhof BUESHR W | 335.76 | 21%
[D7-D7] Bischofsheim - Y Pfungstadt RIED W [DIR] / N-1 Pfungstadt - Urberach GRIESH O | 857.81 | 20%
[D7-D7] Mengede - Y Huellen WESTFL W [DIR] / N-1 Escherbruch - Kusenhorst WEHOLT O | 322.48 | 26%
16 | 510.21 | 148%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 487.94 | 53%
[D8-PL] Mikulowa PST1 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 215.52 | 26%
[D7-D7] Huellen - Y Huellen WESTFL W [OPP] / N-1 Rosenblumendelle - Karnap - Buescherhof BUESHR W | 82.52 | 21%
[D7-D7] Bischofsheim - Y Pfungstadt RIED W [DIR] / N-1 Pfungstadt - Urberach GRIESH O | 479.41 | 20%
[D7-D7] Mengede - Y Huellen WESTFL W [DIR] / N-1 Escherbruch - Mengede RECKLI N | 510.21 | 28%

## Slide 164
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220120 (part IV)
CORE FB MC
17 | 1283.06 | 120%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 555.1 | 54%
[D8-PL] Mikulowa PST1 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 346.39 | 24%
[D7-D7] Bischofsheim - Y Pfungstadt RIED W [DIR] / N-1 Pfungstadt - Urberach GRIESH O | 1283.06 | 14%
[D7-D7] Mengede - Y Huellen WESTFL W [DIR] / N-1 Escherbruch - Mengede RECKLI N | 172.41 | 29%
18 | 977.27 | 144%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 356.2 | 55%
[D2-D2] Altheim - Sittling 219 [OPP] / N-1 Altheim - Sittling 220 | 917.46 | 44%
[D8-PL] Mikulowa PST1 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 108.99 | 25%
[D7-D7] Bischofsheim - Y Pfungstadt RIED W [DIR] / N-1 Pfungstadt - Urberach GRIESH O | 977.27 | 16%
[D7-D7] Y Paffendorf - Oberzier SECHTM N [DIR] / N-1 Maasbracht - Van Eyck 380 White/28 | 430.59 | 4%
19 | 591.8 | 136%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 476.68 | 61%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Boxmeer-Dodewaard 380 Z | 81.65 | 20%
[D8-PL] Mikulowa PST1 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 63.87 | 27%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 591.8 | 28%
20 | 731.58 | 89%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 378.4 | 65%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 731.58 | 23%
21 | 768.45 | 113%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 196.62 | 73%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Krimpen a/d IJssel-Geertruidenberg 380 W | 36.6 | 20%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 768.45 | 20%
22 | 637.28 | 116%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 461.56 | 64%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Boxmeer-Dodewaard 380 Z | 188.5 | 20%
[D8-PL] Mikulowa PST1 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 133.25 | 12%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 637.28 | 20%
23 | 563.96 | 108%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 273.12 | 67%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Maasbracht-Eindhoven 380 W | 43.73 | 20%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 563.96 | 21%
24 | 498.48 | 167%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 191.42 | 62%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Boxmeer-Dodewaard 380 Z | 217.26 | 20%
[AT-AT] Tauern - Tauern TAPST [DIR] / N-1 Westtirol 1 - Westtirol 2 WTRHU41 | 121.3 | 63%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 498.48 | 23%
Total sum | 1701.83 | 3916%

## Slide 165
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220121 (part I)
CORE FB MC
Hour | MAX of ShadowPrice | RAM %
1 | 596.69 | 166%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 247.8 | 64%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Boxmeer-Dodewaard 380 Z | 131.87 | 20%
[AT-AT] Tauern - Tauern TAPST [DIR] / N-1 Westtirol 1 - Westtirol 2 WTRHU41 | 52.68 | 63%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 596.69 | 20%
2 | 556.29 | 168%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 253.92 | 66%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Boxmeer-Dodewaard 380 Z | 148.72 | 20%
[AT-AT] Tauern - Tauern TAPST [DIR] / N-1 Westtirol 1 - Westtirol 2 WTRHU41 | 91.34 | 63%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 556.29 | 20%
3 | 711.68 | 108%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 200.31 | 69%
[NL-D2] Meeden-Diele 380 Z [OPP] [NL] / N-1 COBRA HVDC | 271.08 | 20%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 711.68 | 20%
4 | 601.96 | 164%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 200.18 | 68%
[NL-D2] Meeden-Diele 380 Z [OPP] [NL] / N-1 COBRA HVDC | 245.93 | 20%
[AT-AT] Tauern - Tauern TAPST [DIR] / N-1 Tauern - Weissenbach 221 | 185.35 | 56%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 601.96 | 20%
5 | 503.75 | 166%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 247.92 | 68%
[NL-D2] Meeden-Diele 380 Z [OPP] [NL] / N-1 COBRA HVDC | 257.23 | 20%
[AT-AT] Tauern - Tauern TAPST [DIR] / N-1 Westtirol 1 - Westtirol 2 WTRHU41 | 124.14 | 58%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 503.75 | 20%
6 | 485.61 | 140%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 285 | 73%
[RO-RO] TR Rosiori 400/220 1 [DIR] / N-1 Rosiori - Gadalin | 131.06 | 25%
[NL-D2] Meeden-Diele 380 Z [OPP] [NL] / N-1 COBRA HVDC | 202.43 | 22%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 485.61 | 20%
7 | 465.93 | 106%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 308.46 | 82%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 465.93 | 25%

## Slide 166
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220121 (part II)
CORE FB MC
8 | 518.52 | 178%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 294.65 | 68%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 93.38 | 38%
[BE-BE] PST Zandvliet 1 [DIR] [BE] / N-1 PST Zandvliet 2 | 152.53 | 50%
[D7-D7] Bischofsheim - Y Pfungstadt RIED W [DIR] / N-1 Pfungstadt - Urberach GRIESH O | 518.52 | 21%
9 | 127.08 | 167%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 127.08 | 36%
[BE-FR] Avelgem - Avelin 380.80 [DIR] [BE] / N-1 Avelgem - Mastaing 380.79 | 76.6 | 78%
[BE-BE] PST Zandvliet 1 [DIR] [BE] / N-1 PST Zandvliet 2 | 99.82 | 52%
10 | 473.42 | 190%
[RO-RO] TR Rosiori 400/220 1 [DIR] / N-1 Rosiori - Gadalin | 387.39 | 36%
[D7-D2] Urberach - Grosskrotzenburg [OPP] [D2] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 473.42 | 23%
[BE-FR] Avelgem - Avelin 380.80 [DIR] [BE] / N-1 Avelgem - Mastaing 380.79 | 18.06 | 77%
[BE-BE] PST Zandvliet 1 [DIR] [BE] / N-1 PST Zandvliet 2 | 53.2 | 55%
11 | 567.06 | 123%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 198.58 | 64%
[RO-RO] TR Rosiori 400/220 1 [DIR] / N-1 Rosiori - Gadalin | 183.87 | 37%
[D7-D2] Urberach - Grosskrotzenburg [OPP] [D2] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 567.06 | 22%
12 | 377.88 | 153%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 193.38 | 68%
[D7-D2] Urberach - Grosskrotzenburg [OPP] [D2] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 377.88 | 21%
[BE-BE] PST Zandvliet 1 [DIR] [BE] / N-1 PST Zandvliet 2 | 1.87 | 64%
13 | 111.87 | 116%
[RO-RO] TR Rosiori 400/220 1 [DIR] / N-1 Rosiori - Gadalin | 76.35 | 37%
[D7-D2] Urberach - Grosskrotzenburg [OPP] [D2] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 107.96 | 21%
[BE-BE] PST Zandvliet 1 [DIR] [BE] / N-1 PST Zandvliet 2 | 111.87 | 58%
14 | 341.02 | 115%
[RO-RO] TR Rosiori 400/220 1 [DIR] / N-1 Rosiori - Gadalin | 187.44 | 38%
[D7-D2] Urberach - Grosskrotzenburg [OPP] [D2] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 341.02 | 20%
[BE-BE] PST Zandvliet 1 [DIR] [BE] / N-1 PST Zandvliet 2 | 58.79 | 57%
15 | 210.05 | 120%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 190.48 | 62%
[RO-RO] TR Rosiori 400/220 1 [DIR] / N-1 Rosiori - Gadalin | 210.05 | 36%
[D7-D2] Urberach - Grosskrotzenburg [OPP] [D2] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 206.68 | 22%

## Slide 167
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220121 (part III)
CORE FB MC
16 | 703.71 | 139%
[D8-D8] Pasewalk - Vierraden 306 [DIR] / N-1 Vierraden - Neuenhagen 304 | 703.71 | 25%
[SK-PL] Lemesany - Krosno Iskrz 1 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 2 | 63.78 | 65%
[RO-RO] TR Rosiori 400/220 1 [DIR] / N-1 Rosiori - Gadalin | 280.72 | 27%
[D7-D2] Urberach - Grosskrotzenburg [OPP] [D2] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 308.68 | 22%
17 | 1846.29 | 75%
[D8-D8] Pasewalk - Vierraden 306 [DIR] / N-1 Vierraden - Neuenhagen 304 | 1846.29 | 19%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 217.55 | 28%
[D7-D7] Bischofsheim - Y Pfungstadt RIED W [DIR] / N-1 Pfungstadt - Urberach GRIESH O | 543.53 | 27%
18 | 1298.4 | 95%
[D8-D8] Pasewalk - Vierraden 306 [DIR] / N-1 Vierraden - Neuenhagen 304 | 1298.4 | 20%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 607.68 | 53%
[D7-D2] Urberach - Grosskrotzenburg [OPP] [D2] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 592.7 | 22%
19 | 1653.43 | 178%
[D8-D8] Pasewalk - Vierraden 306 [DIR] / N-1 Vierraden - Neuenhagen 304 | 92.75 | 19%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 439.12 | 41%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 1653.43 | 22%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 214.25 | 86%
[D7-D7] Paffendorf - Rommerskirchen PAFFEN S [OPP] / N-1 Knapsack - Sechtem WABERG W | 995.21 | 10%
20 | 1214.2 | 118%
[D8-D8] Pasewalk - Vierraden 306 [DIR] / N-1 Vierraden - Neuenhagen 304 | 1214.2 | 21%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 538.06 | 51%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Boxmeer-Dodewaard 380 Z | 95.32 | 20%
[D7-D7] Bischofsheim - Y Pfungstadt RIED W [DIR] / N-1 Pfungstadt - Urberach GRIESH O | 1031.45 | 26%

## Slide 168
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220121 (part IV)
CORE FB MC
21 | 2031.88 | 274%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 61.88 | 87%
[D2-D4] Grafenrheinfeld - Stalldorf 416 [DIR] [D2] / N-1 Grafenrheinfeld - Hoepfingen ge (411) | 1050.86 | 1%
[RO-RO] TR Rosiori 400/220 1 [DIR] / N-1 Rosiori - Gadalin | 142.79 | 36%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 2031.88 | 21%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Maasbracht-Eindhoven 380 W | 88.76 | 20%
[AT-SI] Obersielach - Podlog 247 [DIR] [AT] / N-1 Cirkovce-Podlog | 272.63 | 100%
[D7-D7] Huellen - Y Huellen WESTFL W [OPP] / N-1 Rosenblumendelle - Karnap - Buescherhof BUESHR W | 1677.64 | 10%
22 | 1081.6 | 118%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 336.53 | 37%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Boxmeer-Dodewaard 380 Z | 55.67 | 20%
[D8-PL] Mikulowa PST1 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 27.73 | 41%
[D7-D7] Bischofsheim - Y Pfungstadt RIED W [DIR] / N-1 Pfungstadt - Urberach GRIESH O | 1081.6 | 20%
23 | 403.15 | 409%
[AT-D2] Vill_Thaur - Silz 273C [OPP] [AT] / N-1 Vill_Thaur - Silz 274C | 89.64 | 74%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 70.16 | 91%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 51.56 | 39%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Boxmeer-Dodewaard 380 Z | 403.15 | 20%
[BE-FR] Achene - Lonny 380.19 [DIR] [BE] / N-1 Avelgem - Avelin 380.80 | 200.26 | 57%
[BE-BE] PST Zandvliet 1 [DIR] [BE] / N-1 PST Zandvliet 2 | 91.77 | 63%
[D7-D7] Y Paffendorf - Oberzier SECHTM N [DIR] / N-1 Sechtem - Paffendorf - Oberzier SECHTM S | 15.7 | 65%
24 | 1077.93 | 124%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 276.65 | 66%
[D7-D2] Urberach - Grosskrotzenburg [OPP] [D2] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 1077.93 | 20%
[D8-PL] Mikulowa PST1 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 234.18 | 38%
Total sum | 2031.88 | 3710%

## Slide 169
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220123 (part I)
CORE FB MC
Hour | MAX of ShadowPrice | RAM %
1 | 670.12 | 23%
[D2-D7] Grosskrotzenburg - Urberach UMAIN N2 [DIR] [D7] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 670.12 | 23%
2 | 506.22 | 98%
[D2-D7] Grosskrotzenburg - Urberach UMAIN N2 [DIR] [D7] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 506.22 | 30%
[PL-PL] Krosno Iskrzynia - Tarnow [OPP] / N-1 Nosovice - Varin | 48.22 | 69%
3 | 327.89 | 152%
[BE-FR] Achene - Lonny 19 [DIR] [FR] / N-1 Avelgem - Avelin 380.80 | 19.5 | 52%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Dobrzen | 58.24 | 62%
[D2-D7] Grosskrotzenburg - Urberach UMAIN N2 [DIR] [D7] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 327.89 | 38%
4 | 240.38 | 102%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Dobrzen | 73.16 | 63%
[D2-D7] Grosskrotzenburg - Urberach UMAIN N2 [DIR] [D7] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 240.38 | 38%
5 | 197.42 | 128%
[D2-D4] Grafenrheinfeld - Stalldorf 416 [DIR] [D2] / N-1 Grafenrheinfeld - Hoepfingen ge (411) | 69.52 | 28%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Dobrzen | 77.73 | 63%
[D2-D7] Grosskrotzenburg - Urberach UMAIN N2 [DIR] [D7] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 197.42 | 37%
6 | 282.82 | 127%
[D8-D8] Roehrsdorf - Remptendorf 574 [DIR] / N-1 Roehrsdorf - Weida 573 | 11.71 | 29%
[D2-D4] Grafenrheinfeld - Stalldorf 416 [DIR] [D2] / N-1 Grafenrheinfeld - Hoepfingen ge (411) | 282.82 | 31%
[PL-PL] Krosno Iskrzynia - Tarnow [OPP] / N-1 Nosovice - Varin | 72.37 | 67%
7 | 219.94 | 162%
[BE-FR] Achene - Lonny 19 [DIR] [FR] / N-1 Avelgem - Avelin 380.80 | 14.06 | 58%
[D2-D7] Grosskrotzenburg - Urberach UMAIN N2 [DIR] [D7] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 219.94 | 42%
[PL-PL] Krosno Iskrzynia - Tarnow [OPP] / N-1 Nosovice - Varin | 103.46 | 62%
8 | 295.69 | 157%
[BE-FR] Achene - Lonny 19 [DIR] [FR] / N-1 Avelgem - Avelin 380.80 | 22.47 | 64%
[D2-D7] Grosskrotzenburg - Urberach UMAIN N2 [DIR] [D7] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 295.69 | 36%
[PL-PL] Krosno Iskrzynia - Tarnow [OPP] / N-1 Nosovice - Varin | 128.49 | 57%

## Slide 170
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220123 (part II)
CORE FB MC
9 | 149.95 | 175%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 90.64 | 90%
[D2-D7] Grosskrotzenburg - Urberach UMAIN N2 [DIR] [D7] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 130.29 | 34%
[PL-PL] Krosno Iskrzynia - Tarnow [OPP] / N-1 Nosovice - Varin | 149.95 | 50%
16 | 4.48 | 183%
[D8-D8] Pasewalk - Vierraden 306 [DIR] / N-1 Vierraden - Neuenhagen 304 | 4.48 | 33%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 0.17 | 41%
[RO-RO] TR Rosiori 400/220 1 [DIR] / N-1 TR Iernut 400/220 1 | 0.08 | 26%
[BE-BE] PST Zandvliet 2 [DIR] [BE] / N-1 PST Zandvliet 1 | 0.12 | 82%
17 | 150.54 | 82%
[D8-D8] Pasewalk - Vierraden 306 [DIR] / N-1 Vierraden - Neuenhagen 304 | 26.28 | 41%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 150.54 | 41%
18 | 527.13 | 35%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 527.13 | 35%
19 | 248.35 | 35%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 248.35 | 35%
20 | 18.7 | 183%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 17.95 | 39%
[BE-FR] Achene - Lonny 19 [DIR] [FR] / N-1 Avelgem - Avelin 380.80 | 12.94 | 64%
[BE-BE] PST Zandvliet 2 [DIR] [BE] / N-1 PST Zandvliet 1 | 18.7 | 79%
22 | 16.32 | 214%
[BE-FR] Achene - Lonny 19 [DIR] [FR] / N-1 Avelgem - Avelin 380.80 | 0.19 | 55%
[BE-BE] PST Zandvliet 2 [DIR] [BE] / N-1 PST Zandvliet 1 | 5.67 | 74%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 16.32 | 85%
24 | 20.74 | 136%
[BE-FR] Achene - Lonny 19 [DIR] [FR] / N-1 Avelgem - Avelin 380.80 | 14.3 | 57%
[BE-BE] PST Zandvliet 2 [DIR] [BE] / N-1 PST Zandvliet 1 | 20.74 | 79%
Total sum | 670.12 | 1993%

## Slide 171
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220124 (part I)
CORE FB MC
Hour | MAX of ShadowPrice | RAM %
2 | 5.37 | 138%
[BE-BE] Achene - Gramme 380.10 [OPP] / N-1 Avelgem - Avelin 380.80 | 5.37 | 69%
[BE-BE] PST Van Eyck 2 [DIR] [BE] / N-1 PST Van Eyck 1 | 1.61 | 69%
3 | 12.15 | 127%
[BE-BE] Achene - Gramme 380.10 [OPP] / N-1 Avelgem - Avelin 380.80 | 12.15 | 71%
[BE-BE] PST Van Eyck 2 [DIR] [BE] / N-1 PST Van Eyck 1 | 3.65 | 57%
5 | 14.1 | 122%
[BE-FR] Achene - Lonny 19 [DIR] [FR] / N-1 Avelgem - Avelin 380.80 | 5.44 | 71%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 14.1 | 51%
6 | 75.06 | 146%
[BE-BE] Achene - Gramme 380.10 [OPP] / N-1 Avelgem - Avelin 380.80 | 14.63 | 73%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 2.78 | 54%
[D4-D7] Daxlanden - Weingarten GERMHM S [OPP] [D7] / N-1 Rheinau - Hoheneck KUGELB W | 75.06 | 20%
7 | 378.91 | 91%
[D4-D7] Daxlanden - Weingarten ge (Germersheim Sued) [OPP] [D4] / N-1 Rheinau - Hoheneck KUGELB W | 378.91 | 20%
[BE-BE] Achene - Gramme 380.10 [OPP] / N-1 Aubange - Moulaine 220.513 | 60.89 | 71%
8 | 99.76 | 60%
[D2-NL] Diele - Meeden SCHWARZ [OPP] [D2] / N-1 Diele - Meeden WEISS/W | 31.54 | 40%
[D4-D7] Daxlanden - Weingarten ge (Germersheim Sued) [OPP] [D4] / N-1 Rheinau - Hoheneck KUGELB W | 99.76 | 20%
12 | 24.72 | 84%
[BE-BE] Achene - Gramme 380.10 [OPP] / N-1 Avelgem - Avelin 380.80 | 20.42 | 43%
[BE-BE] PST Zandvliet 2 [DIR] [BE] / N-1 PST Zandvliet 1 | 24.72 | 42%

## Slide 172
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220124 (part II)
CORE FB MC
14 | 4894141.93 | 0%
[CZ-PL] Wielopole - Nosovice [OPP] [PL] / N-1 Albrechtice - Nosovice | 2730.21 | 0%
[PL-PL] Krosno Iskrzynia - Tarnow [OPP] / N-1 Sp.Nova Ves - Lemesany | 27066.03 | 0%
[D8-PL] Mikulowa - Hagenwerder 2 [DIR] [PL] / N-1 Hagenwerder - Mikulowa 1 | 2007490.04 | 0%
[PL-CZ] Kopanina - Liskovec [OPP] [PL] / N-1 Prosenice - Nosovice | 82413.03 | 0%
[PL-PL] Czarna - Mikulowa [OPP] / N-1 Dresden/Sued - Schmoelln 555 | 4894141.93 | 0%
[PL-PL] Czarna - Mikulowa [OPP] / N-1 Czarna - Pasikurowice | 2916025.11 | 0%
[PL-PL] Czarna - Pasikurowice [OPP] / N-1 Czarna - Polkowice 2 | 2356130.4 | 0%
[PL-PL] Krajnik - Plewiska [DIR] / N-1 Dunowo - Slupsk | 510216.02 | 0%
[D8-PL] Krajnik - Vierraden 1 [OPP] [PL] / N-1 Hradec - Rohrsdorf 1 | 31043.45 | 0%
[SK-PL] Lemesany - Krosno Iskrz 1 [DIR] [PL] / N-1 L.Mara - Sp.Nova Ves | 132032.51 | 0%
[CZ-PL] Dobrzen - Albrechtice [DIR] [PL] / N-1 V.Kapusany - Mukachevo (WPS) | 125049.22 | 0%
[PL-PL] Mikulowa - Pasikurowice [DIR] / N-1 Remptendorf - Redwitz 413 | 1211686.17 | 0%
17 | 496021.75 | 0%
[PL-PL] Czarna - Pasikurowice [DIR] / N-1 Hradec - Mirovka | 245701.44 | 0%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Nosovice | 120826.26 | 0%
[CZ-PL] Wielopole - Nosovice [OPP] [PL] / N-1 Albrechtice - Dobrzen | 47620.2 | 0%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Nosovice - Varin | 9445.03 | 0%
[D8-PL] Mikulowa - Hagenwerder 2 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 237620.76 | 0%
[D8-PL] Mikulowa - Hagenwerder 2 [OPP] [PL] / N-1 Prestice - Chrast | 148351.49 | 0%
[D8-PL] Mikulowa - Hagenwerder 1 [DIR] [PL] / N-1 Remptendorf - Redwitz 413 | 315296.34 | 0%
[PL-CZ] Kopanina - Liskovec [OPP] [PL] / N-1 Nosovice - Varin | 166115.65 | 0%
[SK-PL] Lemesany - Krosno Iskrz 1 [OPP] [PL] / N-1 Hradec - Reporyje | 68347.46 | 0%
[SK-PL] Lemesany - Krosno Iskrz 1 [OPP] [PL] / N-1 L.Mara - Varin | 141803.23 | 0%
[PL-PL] Mikulowa - Pasikurowice [OPP] / N-1 Vierraden - Neuenhagen 304 | 496021.75 | 0%
[PL-PL] Polaniec - Rzeszow [DIR] / N-1 Lemesany - Krosno Iskrz 1 | 429193.43 | 0%
23 | 8.43 | 75%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 8.43 | 75%
Total sum | 4894141.93 | 844%

## Slide 173
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220125 (part I)
CORE FB MC
Hour | MAX of ShadowPrice | RAM %
1 | 127.48 | 188%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 105.02 | 82%
[CZ-D2] Hradec - Etzenricht 441 [DIR] [D2] / N-1 Prestice - Etzenricht | 3.58 | 65%
[BE-FR] Achene - Lonny 380.19 [DIR] [BE] / N-1 Avelgem - Avelin 380.80 | 127.48 | 41%
2 | 64.44 | 186%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Nosovice | 64.44 | 69%
[BE-FR] Achene - Lonny 380.19 [DIR] [BE] / N-1 Avelgem - Avelin 380.80 | 34.3 | 47%
[BE-BE] PST Van Eyck 2 [DIR] [BE] / N-1 PST Van Eyck 1 | 10.03 | 70%
3 | 118.01 | 212%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Nosovice | 118.01 | 69%
[BE-FR] Achene - Lonny 380.19 [DIR] [BE] / N-1 Avelgem - Avelin 380.80 | 15.26 | 56%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 32.07 | 51%
[D2-D7] Grosskrotzenburg - Urberach UMAIN N2 [DIR] [D7] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 26.1 | 36%
4 | 111.64 | 165%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Nosovice | 111.64 | 68%
[BE-FR] Achene - Lonny 380.19 [DIR] [BE] / N-1 Horta - Mercator 380.73 | 3.47 | 59%
[D2-D7] Grosskrotzenburg - Urberach UMAIN N2 [DIR] [D7] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 37.37 | 39%
5 | 205.96 | 121%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Nosovice | 205.96 | 66%
[BE-FR] Achene - Lonny 380.19 [DIR] [BE] / N-1 Avelgem - Avelin 380.80 | 2.38 | 55%
6 | 169.33 | 135%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 169.33 | 77%
[BE-FR] Achene - Lonny 380.19 [DIR] [BE] / N-1 Aubange - Moulaine 220.513 | 1.47 | 58%
7 | 377.01 | 21%
[NL-NL] Eemshaven-Eemshaven het Hogeland 380 Z [DIR] / N-1 Eemshaven-Meeden-Zwolle 380 W | 377.01 | 21%
8 | 715.08 | 56%
[D2-NL] Diele - Meeden SCHWARZ [OPP] [D2] / N-1 Diele - Meeden WEISS/W | 715.08 | 27%
[D7-D7] Niederstedem - Osburg GILZEM O [DIR] / N-1 Niederstedem - Uchtelfangen UCHTLF W | 11.59 | 29%

## Slide 174
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220125 (part II)
CORE FB MC
9 | 414.96 | 126%
[AT-AT] Neusiedl - Wien Suedost 246A [OPP] / N-1 Gyor - Wien | 177.15 | 18%
[D2-NL] Diele - Meeden SCHWARZ [OPP] [D2] / N-1 Diele - Meeden WEISS/W | 363.24 | 9%
[BE-FR] Achene - Lonny 380.19 [DIR] [BE] / N-1 PST Van Eyck 2 | 19.34 | 51%
[AT-AT] Tauern - Weissenbach 222 [OPP] / N-1 Tauern - Weissenbach 221 | 414.96 | 4%
[AT-AT] Bisamberg 2 - Wien Suedost 227 [DIR] / N-1 Bisamberg - Kledering 228B | 116.18 | 19%
[AT-AT] Thaur - Y_Vill 273C-THA [DIR] / N-1 Westtirol - Zell 275 | 129.77 | 17%
[D7-D7] Sechtem - Weissenthurm MITREI [DIR] / N-1 Meckenheim - Sechtem BGEIST W | 338.96 | 8%
11 | 73.64 | 21%
[D2-NL] Diele - Meeden SCHWARZ [OPP] [D2] / N-1 Diele - Meeden WEISS/W | 73.64 | 17%
[AT-AT] St. Peter 2 - St. Peter 1 SPRHU41 [OPP] / N-1 St. Peter 2 - St. Peter 1 SPRHU42 | 32.05 | 3%
[D7-D7] Paffendorf - Rommerskirchen PAFFEN S [OPP] / N-1 Knapsack - Sechtem WABERG W | 24.23 | 1%
14 | 14.66 | 79%
[D2-NL] Diele - Meeden SCHWARZ [OPP] [D2] / N-1 Diele - Meeden WEISS/W | 14.66 | 27%
[AT-AT] Bisamberg 2 - Wien Suedost 227 [DIR] / N-1 Bisamberg - Kledering 228B | 0.22 | 19%
[NL-BE] Maasbracht-Van Eyck 380 W [DIR] [NL] / N-1 Gramme - Lixhe 380.11 | 0.5 | 34%
17 | 377.45 | 194%
[AT-D2] St. Peter 2 - Pleinting 258 [OPP] [AT] / N-1 Pleinting - Pirach 257 | 28.95 | 56%
[D2-NL] Diele - Meeden SCHWARZ [OPP] [D2] / N-1 Diele - Meeden WEISS/W | 377.45 | 18%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 82.03 | 77%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 9.35 | 42%
18 | 757.01 | 117%
[D2-NL] Diele - Meeden SCHWARZ [OPP] [D2] / N-1 Diele - Meeden WEISS/W | 243.68 | 4%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 106.83 | 81%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 757.01 | 22%
[CZ-D2] Hradec - Etzenricht 441 [DIR] [D2] / N-1 Prestice - Etzenricht | 24.19 | 9%
[D2-D8] Altenfeld - Redwitz 459 [DIR] [D8] / N-1 Altenfeld - Redwitz 460 | 112.35 | 1%

## Slide 175
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220125 (part III)
CORE FB MC
20 | 1403.36 | 89%
[D2-NL] Diele - Meeden SCHWARZ [OPP] [D2] / N-1 Diele - Meeden WEISS/W | 626.25 | 14%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 242.22 | 26%
[NL-BE] Maasbracht-Van Eyck 380 W [OPP] [NL] / N-1 Y-Courcelles (-Gramme - Tergnee) 380.31 | 46.19 | 1%
[D4-D7] Hoheneck - Pulverdingen ws [DIR] [D4] / N-1 Daxlanden - Weingarten ge | 1403.36 | 5%
[AT-SI] Obersielach - Podlog 247 [OPP] [AT] / N-1 Cirkovce-Podlog | 20.95 | 43%
21 | 528.99 | 75%
[D2-NL] Diele - Meeden SCHWARZ [OPP] [D2] / N-1 Diele - Meeden WEISS/W | 528.99 | 17%
[CZ-D2] Hradec - Etzenricht 441 [DIR] [D2] / N-1 Prestice - Kocin | 47.29 | 30%
[NL-BE] Maasbracht-Van Eyck 380 W [OPP] [NL] / N-1 Achene - Gramme 380.10 | 8.8 | 14%
[D7-D7] Oberzier - Y Dahlem SELHN W [DIR] / N-1 Dahlem - Rommersheim SELHN O | 180.66 | 13%
22 | 530.98 | 126%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 3.33 | 44%
[D2-NL] Diele - Meeden SCHWARZ [OPP] [D2] / N-1 Zwolle-Meeden 380 W | 530.98 | 20%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 27.88 | 62%
23 | 101 | 127%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 4.43 | 42%
[D2-NL] Diele - Meeden SCHWARZ [OPP] [D2] / N-1 Zwolle-Meeden 380 W | 101 | 20%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 1.6 | 66%
24 | 307.46 | 70%
[D4-D7] Hoheneck - Pulverdingen ws [DIR] [D4] / N-1 Daxlanden - Weingarten ge | 307.46 | 12%
[BE-FR] Achene - Lonny 380.19 [DIR] [BE] / N-1 Aubange - Moulaine 220.513 | 44.97 | 42%
[D4-D7] Daxlanden - Weingarten ge (Germersheim Sued) [OPP] [D4] / N-1 ALEGRO DC | 100.82 | 15%
Total sum | 1403.36 | 2109%

## Slide 176
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220126 (part I)
CORE FB MC
Hour | MAX of ShadowPrice | RAM %
1 | 319.8 | 235%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 169.12 | 76%
[BE-FR] Achene - Lonny 380.19 [DIR] [BE] / N-1 Avelgem - Avelin 380.80 | 240.29 | 51%
[BE-BE] PST Van Eyck 2 [DIR] [BE] / N-1 PST Van Eyck 1 | 71.09 | 63%
[AT-AT] Bisamberg 2 - Wien Suedost 227 [DIR] / N-1 Bisamberg - Kledering 228B | 319.8 | 45%
2 | 1107.54 | 222%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 370.38 | 78%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 14.73 | 90%
[AT-AT] Bisamberg 2 - Wien Suedost 227 [DIR] / N-1 Bisamberg - Kledering 228B | 19.95 | 50%
[D7-D7] Paffendorf - Rommerskirchen PAFFEN N [OPP] / N-1 Rommerskirchen - Sechtem VILLE W | 1107.54 | 3%
3 | 198.57 | 268%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 198.57 | 78%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Boxmeer-Dodewaard 380 Z | 68.96 | 20%
[BE-FR] Achene - Lonny 380.19 [DIR] [BE] / N-1 Avelgem - Avelin 380.80 | 70.2 | 55%
[BE-BE] PST Zandvliet 1 [DIR] [BE] / N-1 PST Zandvliet 2 | 128.54 | 64%
[D7-D7] Y Paffendorf - Oberzier SECHTM N [DIR] / N-1 Sechtem - Paffendorf - Oberzier SECHTM S | 31.43 | 51%
4 | 132.1 | 246%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 132.1 | 85%
[BE-FR] Achene - Lonny 380.19 [DIR] [BE] / N-1 Avelgem - Avelin 380.80 | 81.46 | 56%
[BE-BE] PST Zandvliet 2 [DIR] [BE] / N-1 PST Zandvliet 1 | 116.17 | 69%
[D2-D7] Grosskrotzenburg - Urberach UMAIN N2 [DIR] [D7] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 1.86 | 38%
5 | 357.71 | 219%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 223.61 | 87%
[BE-FR] Achene - Lonny 380.19 [DIR] [BE] / N-1 Horta - Mercator 380.73 | 29.75 | 51%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 17.44 | 51%
[D2-D7] Grosskrotzenburg - Urberach UMAIN N2 [DIR] [D7] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 357.71 | 30%
6 | 159.55 | 164%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 159.55 | 83%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 146.2 | 81%
7 | 4175.55 | 140%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 4175.55 | 24%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 121.25 | 81%
[D7-D7] Paffendorf - Rommerskirchen PAFFEN S [OPP] / N-1 Knapsack - Sechtem WABERG W | 89.26 | 18%
[D7-D7] Lambsheim - Weingarten LAMBSH W [DIR] / N-1 Hoheneck - Pulverdingen ws | 433.48 | 18%

## Slide 177
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220126 (part II)
CORE FB MC
8 | 4767.85 | 143%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 4767.85 | 26%
[CZ-D2] Hradec - Etzenricht 441 [DIR] [D2] / N-1 Prestice - Etzenricht | 284.19 | 20%
[D2-D8] Altenfeld - Redwitz 459 [DIR] [D8] / N-1 Altenfeld - Redwitz 460 | 1214.67 | 8%
[BE-FR] Achene - Lonny 380.19 [DIR] [BE] / N-1 Avelgem - Avelin 380.80 | 160.91 | 52%
[D7-D7] Lambsheim - Weingarten LAMBSH W [DIR] / N-1 Hoheneck - Pulverdingen ws | 655.08 | 11%
[D7-D7] Oberzier - Y Dahlem SELHN W [DIR] / N-1 Dahlem - Rommersheim SELHN O | 14.67 | 25%
9 | 2565.11 | 72%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [OPP] / N-1 Buers - Westtirol ws (421) | 380.06 | 17%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 2565.11 | 11%
[CZ-D2] Hradec - Etzenricht 441 [DIR] [D2] / N-1 Prestice - Kocin | 26.38 | 18%
[NL-BE] Maasbracht-Van Eyck 380 W [OPP] [NL] / N-1 Achene - Gramme 380.10 | 332.94 | 3%
[AT-AT] Bisamberg 2 - Wien Suedost 227 [DIR] / N-1 Bisamberg - Kledering 228B | 1857.97 | 10%
[D7-D7] Oberzier - Y Dahlem SELHN O [DIR] / N-1 Dahlem - Niederstedem SELHN W | 2083.97 | 12%
10 | 1678.13 | 120%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [OPP] / N-1 Buers - Westtirol ws (421) | 70.94 | 17%
[RO-RO] TR Iernut 400/220 1 [DIR] / N-1 TR Rosiori 400/220 1 | 67.22 | 19%
[BE-FR] Achene - Lonny 380.19 [DIR] [BE] / N-1 PST Van Eyck 2 | 300.32 | 46%
[AT-AT] Bisamberg 2 - Wien Suedost 227 [DIR] / N-1 Bisamberg - Kledering 228B | 1678.13 | 17%
[D2-D7] Grosskrotzenburg - Urberach UMAIN N2 [DIR] [D7] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 299.05 | 8%
[D7-D7] Oberzier - Y Dahlem SELHN O [DIR] / N-1 Dahlem - Niederstedem SELHN W | 956.7 | 12%
11 | 3105.64 | 146%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 3105.64 | 26%
[D2-D8] Altenfeld - Redwitz 459 [DIR] [D8] / N-1 Altenfeld - Redwitz 460 | 522.17 | 9%
[NL-BE] Maasbracht-Van Eyck 380 W [OPP] [NL] / N-1 Achene - Gramme 380.10 | 9.67 | 8%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 89.11 | 71%
[AT-AT] Bisamberg 2 - Wien Suedost 227 [DIR] / N-1 Bisamberg - Kledering 228B | 650.4 | 22%
[D2-D7] Grosskrotzenburg - Urberach UMAIN N2 [DIR] [D7] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 591.62 | 11%
12 | 5024 | 122%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [OPP] / N-1 Buers - Westtirol ws (421) | 56.5 | 17%
[HR-BA] 220kV Zakucac - Mostar [OPP] [HR] / N-1 Konjsko - Mostar | 1025.08 | 14%
[RO-RO] TR Rosiori 400/220 1 [DIR] / N-1 TR Iernut 400/220 1 | 873.42 | 26%
[D2-D2] Diele - Doerpen West [DIR] / N-1 Diele - Rhede -Doerpen West SCHWARZ | 32.1 | 10%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 5024 | 2%
[AT-AT] Suedburgenland - Wien Suedost 478 [OPP] / N-1 Oststeiermark - Wien Suedost 477 | 37.18 | 28%
[D2-D8] Altenfeld - Redwitz 459 [DIR] [D8] / N-1 Altenfeld - Redwitz 460 | 943.16 | 8%
[D2-D7] Grosskrotzenburg - Urberach UMAIN N2 [DIR] [D7] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 1153.67 | 11%
[NL-D7] Maasbracht - Oberzier SELFK WS [DIR] [D7] / N-1 Achene - Gramme 380.10 | 210.61 | 6%

## Slide 178
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220126 (part III)
CORE FB MC
13 | 124.27 | 86%
[D8-D8] Pasewalk - Vierraden 306 [DIR] / N-1 Vierraden - Neuenhagen 304 | 63.01 | 23%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 124.27 | 63%
14 | 85.13 | 184%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 85.13 | 63%
[BE-BE] PST Zandvliet 2 [DIR] [BE] / N-1 PST Zandvliet 1 | 10.35 | 52%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 35.42 | 69%
15 | 2536.84 | 163%
[HR-BA] 220kV Zakucac - Mostar [OPP] [HR] / N-1 Konjsko - Mostar | 100.77 | 14%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 161.25 | 63%
[D7-D2] Urberach - Grosskrotzenburg [OPP] [D2] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 1105.42 | 10%
[RO-RO] TR Iernut 400/220 1 [DIR] / N-1 TR Rosiori 400/220 1 | 382.93 | 20%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 2536.84 | 14%
[D2-D8] Altenfeld - Redwitz 459 [DIR] [D8] / N-1 Altenfeld - Redwitz 460 | 677.11 | 12%
[NL-BE] Maasbracht-Van Eyck 380 W [OPP] [NL] / N-1 Achene - Gramme 380.10 | 46.25 | 4%
[AT-AT] Bisamberg 2 - Wien Suedost 227 [DIR] / N-1 Bisamberg - Kledering 228B | 543.23 | 18%
[D7-D7] Lambsheim - Weingarten LAMBSH W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 386.53 | 9%
16 | 2553.77 | 165%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [OPP] / N-1 Buers - Westtirol ws (421) | 101.18 | 17%
[HR-BA] 220kV Zakucac - Mostar [OPP] [HR] / N-1 Konjsko - Mostar | 159.81 | 28%
[RO-RO] TR Rosiori 400/220 1 [DIR] / N-1 TR Iernut 400/220 1 | 607.05 | 25%
[D7-D2] Urberach - Grosskrotzenburg [OPP] [D2] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 943.53 | 6%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 2553.77 | 5%
[D2-D8] Altenfeld - Redwitz 459 [DIR] [D8] / N-1 Altenfeld - Redwitz 460 | 66.34 | 7%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Boxmeer-Dodewaard 380 Z | 249.85 | 10%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Nosovice | 232.26 | 52%
[NL-BE] Maasbracht-Van Eyck 380 W [OPP] [NL] / N-1 Achene - Gramme 380.10 | 96.61 | 1%
[AT-AT] Bisamberg 2 - Wien Suedost 227 [DIR] / N-1 Bisamberg - Kledering 228B | 386.62 | 8%
[D7-D7] Lambsheim - Weingarten LAMBSH W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 923.44 | 5%
17 | 3698.73 | 153%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [OPP] / N-1 Buers - Westtirol ws (421) | 303.57 | 17%
[HR-BA] 220kV Zakucac - Mostar [OPP] [HR] / N-1 Konjsko - Mostar | 1010.24 | 31%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 394.51 | 62%
[RO-RO] TR Rosiori 400/220 1 [DIR] / N-1 TR Iernut 400/220 1 | 1250.22 | 18%
[D7-D2] Urberach - Grosskrotzenburg [OPP] [D2] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 600.68 | 2%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 3698.73 | 0%
[D2-D8] Altenfeld - Redwitz 459 [DIR] [D8] / N-1 Altenfeld - Redwitz 460 | 189.49 | 3%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Zwolle-Hengelo 380 W | 469.37 | 2%
[NL-BE] Maasbracht-Van Eyck 380 W [OPP] [NL] / N-1 Achene - Gramme 380.10 | 134.05 | 0%
[AT-SI] Obersielach - Podlog 247 [OPP] [AT] / N-1 Cirkovce-Podlog | 234.72 | 17%
[D7-D7] Lambsheim - Weingarten LAMBSH W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 1301.18 | 1%

## Slide 179
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220126 (part IV)
CORE FB MC
18 | 6052.79 | 177%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [OPP] / N-1 Buers - Westtirol ws (421) | 344.61 | 17%
[HR-BA] 220kV Zakucac - Mostar [OPP] [HR] / N-1 Konjsko - Mostar | 1404.05 | 27%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 122.02 | 65%
[RO-RO] TR Rosiori 400/220 1 [DIR] / N-1 TR Iernut 400/220 1 | 668.84 | 19%
[D2-NL] Diele - Meeden SCHWARZ [DIR] [D2] / N-1 Diele - Meeden WEISS/W | 315.98 | 41%
[D2-D4] Grafenrheinfeld - Stalldorf 416 [DIR] [D2] / N-1 Hoepfingen - Hueffenhardt ge | 1354.6 | 3%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 6052.79 | 4%
[D2-D8] Altenfeld - Redwitz 459 [DIR] [D8] / N-1 Altenfeld - Redwitz 460 | 1828.5 | 2%
[NL-D7] Maasbracht - Oberzier SELFK WS [DIR] [D7] / N-1 Achene - Gramme 380.10 | 456.69 | 0%
19 | 4652.14 | 214%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [OPP] / N-1 Buers - Westtirol ws (421) | 539.05 | 17%
[HR-BA] 220kV Zakucac - Mostar [OPP] [HR] / N-1 Konjsko - Mostar | 811.1 | 43%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 305.35 | 60%
[D7-D2] Urberach - Grosskrotzenburg [OPP] [D2] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 559.04 | 4%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 4652.14 | 4%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Maasbracht-Eindhoven 380 W | 839.96 | 11%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Dobrzen | 121.69 | 60%
[NL-BE] Maasbracht-Van Eyck 380 W [OPP] [NL] / N-1 Achene - Gramme 380.10 | 222.8 | 1%
[AT-AT] Bisamberg 2 - Wien Suedost 227 [DIR] / N-1 Bisamberg - Kledering 228B | 495.55 | 6%
[D7-D7] Lambsheim - Weingarten LAMBSH W [DIR] / N-1 Hoepfingen - Hueffenhardt ge | 3270.16 | 2%
[D7-D7] Huellen - Y Huellen WESTFL W [OPP] / N-1 Hattingen - Witten KEMNAD S | 608.19 | 5%
20 | 3958.45 | 197%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [OPP] / N-1 Buers - Westtirol ws (421) | 432.19 | 31%
[HR-BA] 220kV Zakucac - Mostar [OPP] [HR] / N-1 Konjsko - Mostar | 243.82 | 53%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 53.24 | 63%
[D2-D4] Grafenrheinfeld - Stalldorf 416 [DIR] [D2] / N-1 Grafenrheinfeld - Hoepfingen ge (411) | 1385.8 | 5%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 3958.45 | 4%
[D2-D8] Altenfeld - Redwitz 459 [DIR] [D8] / N-1 Altenfeld - Redwitz 460 | 2307.87 | 4%
[NL-BE] Maasbracht-Van Eyck 380 W [OPP] [NL] / N-1 Achene - Gramme 380.10 | 273.04 | 2%
[AT-AT] Strass - Thaur 273B [DIR] / N-1 Strass - Thaur 274B | 266.79 | 24%
[AT-AT] Bisamberg 2 - Wien Suedost 227 [DIR] / N-1 Bisamberg - Kledering 228B | 1376.37 | 6%
[D7-D7] Lambsheim - Weingarten LAMBSH W [DIR] / N-1 Hoepfingen - Hueffenhardt ge | 174.35 | 5%

## Slide 180
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220126 (part V)
CORE FB MC
21 | 5355.25 | 214%
[HR-BA] 220kV Zakucac - Mostar [OPP] [HR] / N-1 Konjsko - Mostar | 1036.05 | 56%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 172.28 | 67%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 5355.25 | 5%
[AT-AT] Sarasdorf - Zurndorf 439A [OPP] / N-1 Sarasdorf - Zurndorf 440A | 128.45 | 3%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 191.33 | 60%
[D7-D7] Paffendorf - Rommerskirchen PAFFEN S [OPP] / N-1 Knapsack - Sechtem WABERG W | 1020.49 | 12%
[D7-D7] Lambsheim - Weingarten LAMBSH W [DIR] / N-1 Hoepfingen - Hueffenhardt ge | 305.81 | 11%
22 | 6374.94 | 294%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [OPP] / N-1 Buers - Westtirol ws (421) | 52.96 | 17%
[HR-BA] 220kV Zakucac - Mostar [OPP] [HR] / N-1 Konjsko - Mostar | 1353.82 | 61%
[HR-SI] 220kV Pehlin - Divaca [OPP] [HR] / N-1 Melina - Divaca | 173.58 | 112%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 274.3 | 62%
[D2-D4] Grafenrheinfeld - Stalldorf 416 [DIR] [D2] / N-1 Grafenrheinfeld - Hoepfingen ge (411) | 1629.83 | 8%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 6374.94 | 6%
[D2-D8] Altenfeld - Redwitz 459 [DIR] [D8] / N-1 Altenfeld - Redwitz 460 | 1770.5 | 6%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Maasbracht-Eindhoven 380 W | 242.06 | 20%
[NL-BE] Maasbracht-Van Eyck 380 W [OPP] [NL] / N-1 Y-Courcelles (-Gramme - Tergnee) 380.31 | 99.99 | 2%
23 | 712.61 | 152%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 591.79 | 68%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Boxmeer-Dodewaard 380 Z | 166.36 | 20%
[D8-PL] Krajnik - Vierraden 1 [OPP] [PL] / N-1 Mikulowa - Pasikurowice | 358.74 | 19%
[D7-D7] Huellen - Y Huellen WESTFL W [OPP] / N-1 Hattingen - Witten KEMNAD S | 712.61 | 21%
[D7-D7] Bischofsheim - Y Pfungstadt RIED W [DIR] / N-1 Pfungstadt - Urberach GRIESH O | 603.92 | 23%
24 | 1228.52 | 113%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 754.86 | 53%
[D7-D2] Urberach - Grosskrotzenburg [OPP] [D2] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 1228.52 | 20%
[D8-PL] Krajnik - Vierraden 1 [OPP] [PL] / N-1 Mikulowa - Pasikurowice | 591.56 | 20%
[D7-D7] Huellen - Y Huellen WESTFL W [OPP] / N-1 Hattingen - Witten KEMNAD S | 329.28 | 21%
Total sum | 6374.94 | 4207%

## Slide 181
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220128 (part I)
CORE FB MC
Hour | MAX of ShadowPrice | RAM %
1 | 1184.71 | 127%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 305.49 | 65%
[D8-PL] Krajnik - Vierraden 1 [OPP] [PL] / N-1 Mikulowa - Pasikurowice | 185.03 | 20%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 375.21 | 20%
[D7-D7] Mengede - Y Huellen WESTFL W [DIR] / N-1 Hattingen - Witten KEMNAD S | 1184.71 | 23%
2 | 982.06 | 122%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Dobrzen | 265.7 | 43%
[D8-PL] Krajnik - Vierraden 1 [OPP] [PL] / N-1 Mikulowa - Pasikurowice | 169.31 | 21%
[BE-BE] Achene - Gramme 380.10 [OPP] / N-1 Aubange - Moulaine 220.513 | 29.62 | 15%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 394.5 | 20%
[D7-D7] Mengede - Y Huellen WESTFL W [DIR] / N-1 Hattingen - Witten KEMNAD S | 982.06 | 23%
3 | 926.54 | 196%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 89.28 | 67%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Dobrzen | 93.43 | 43%
[AT-AT] Tauern - Tauern TAPST [DIR] / N-1 Westtirol 1 - Westtirol 2 WTRHU41 | 335.75 | 41%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 451.6 | 20%
[D7-D7] Mengede - Y Huellen WESTFL W [DIR] / N-1 Hattingen - Witten KEMNAD S | 926.54 | 25%
4 | 987.83 | 153%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 172.47 | 66%
[AT-AT] Tauern - Tauern TAPST [DIR] / N-1 Westtirol 1 - Westtirol 2 WTRHU41 | 354.3 | 42%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 399.18 | 20%
[D7-D7] Mengede - Y Huellen WESTFL W [DIR] / N-1 Hattingen - Witten KEMNAD S | 987.83 | 25%
5 | 864.49 | 212%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 78.62 | 69%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Dobrzen | 92.47 | 44%
[AT-AT] Tauern - Tauern TAPST [DIR] / N-1 Tauern - Weissenbach 221 | 74.38 | 54%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 393.02 | 20%
[D7-D7] Mengede - Y Huellen WESTFL W [DIR] / N-1 Hattingen - Witten KEMNAD S | 864.49 | 24%
6 | 915.96 | 141%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 306.51 | 75%
[D8-PL] Krajnik - Vierraden 1 [OPP] [PL] / N-1 Mikulowa - Pasikurowice | 109.96 | 22%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 289.17 | 20%
[D7-D7] Mengede - Y Huellen WESTFL W [DIR] / N-1 Hattingen - Witten KEMNAD S | 915.96 | 24%

## Slide 182
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220128 (part II)
CORE FB MC
7 | 750.8 | 164%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 505.5 | 80%
[NL-D2] Meeden-Diele 380 Z [OPP] [NL] / N-1 COBRA HVDC | 365.39 | 22%
[NL-NL] Diemen-Lelystad 380 W [OPP] / N-1 Boxmeer-Dodewaard 380 Z | 223.99 | 20%
[D8-PL] Krajnik - Vierraden 1 [OPP] [PL] / N-1 Mikulowa - Pasikurowice | 527.13 | 23%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 750.8 | 20%
8 | 1085.73 | 171%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 702.62 | 69%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 13.65 | 35%
[NL-D2] Meeden-Diele 380 Z [OPP] [NL] / N-1 COBRA HVDC | 433.3 | 22%
[D8-PL] Mikulowa PST1 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 314.6 | 25%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 1085.73 | 20%
9 | 1022.14 | 199%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 563.81 | 64%
[RO-RO] TR Rosiori 400/220 1 [DIR] / N-1 Rosiori - Gadalin | 0.53 | 24%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 182.78 | 34%
[NL-D2] Meeden-Diele 380 Z [OPP] [NL] / N-1 COBRA HVDC | 291.2 | 22%
[D8-PL] Mikulowa PST1 [OPP] [PL] / N-1 Hagenwerder - Mikulowa 1 | 127.46 | 25%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 1022.14 | 31%
10 | 644.77 | 167%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 343.01 | 67%
[RO-RO] TR Rosiori 400/220 1 [DIR] / N-1 Rosiori - Gadalin | 440.46 | 23%
[NL-D2] Meeden-Diele 380 Z [OPP] [NL] / N-1 COBRA HVDC | 468.94 | 22%
[BE-BE] Achene - Gramme 380.10 [OPP] / N-1 Aubange - Moulaine 220.513 | 259.56 | 23%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 644.77 | 31%
11 | 1246.56 | 143%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 166.29 | 69%
[RO-RO] TR Rosiori 400/220 1 [DIR] / N-1 Rosiori - Gadalin | 357.78 | 32%
[NL-D2] Meeden-Diele 380 Z [OPP] [NL] / N-1 COBRA HVDC | 136.32 | 22%
[D7-D7] Bischofsheim - Y Pfungstadt RIED W [DIR] / N-1 Pfungstadt - Urberach GRIESH O | 1246.56 | 20%
12 | 961.54 | 55%
[RO-RO] TR Rosiori 400/220 1 [DIR] / N-1 Rosiori - Gadalin | 313.19 | 36%
[D7-D7] Bischofsheim - Y Pfungstadt RIED W [DIR] / N-1 Pfungstadt - Urberach GRIESH O | 961.54 | 20%

## Slide 183
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220128 (part III)
CORE FB MC
13 | 347.42 | 129%
[RO-RO] TR Rosiori 400/220 1 [DIR] / N-1 Rosiori - Gadalin | 273.32 | 40%
[BE-BE] Achene - Gramme 380.10 [OPP] / N-1 Aubange - Moulaine 220.513 | 347.42 | 23%
[BE-BE] PST Van Eyck 2 [DIR] [BE] / N-1 PST Van Eyck 1 | 107.43 | 44%
[D7-D7] Bischofsheim - Y Pfungstadt RIED W [DIR] / N-1 Pfungstadt - Urberach GRIESH O | 197.8 | 22%
14 | 297.97 | 20%
[D7-D2] Urberach - Grosskrotzenburg [OPP] [D2] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 297.97 | 20%
15 | 113.01 | 49%
[D7-D2] Urberach - Grosskrotzenburg [OPP] [D2] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 113.01 | 20%
[BE-BE] Achene - Gramme 380.10 [OPP] / N-1 Aubange - Moulaine 220.513 | 5.94 | 30%
17 | 311.23 | 34%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 311.23 | 34%
18 | 241.47 | 36%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 241.47 | 36%
19 | 57.02 | 109%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 57.02 | 38%
[BE-FR] Achene - Lonny 19 [DIR] [FR] / N-1 Avelgem - Avelin 380.80 | 0.13 | 71%
20 | 96.15 | 129%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 96.15 | 85%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 58.99 | 44%
21 | 399.71 | 87%
[BE-FR] Avelgem - Avelin 80 [DIR] [FR] / N-1 Avelgem - Mastaing 380.79 | 2.43 | 56%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 399.71 | 31%
22 | 599.83 | 31%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 599.83 | 31%
23 | 1041.05 | 100%
[D7-D2] Urberach - Grosskrotzenburg [OPP] [D2] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 1041.05 | 20%
[CZ-SK] Nosovice - Varin [DIR] [SK] / N-1 Krizovany - Sokolnice | 28.06 | 81%
24 | 582.18 | 123%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 53.34 | 73%
[D7-D2] Urberach - Grosskrotzenburg [OPP] [D2] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 204.87 | 20%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 582.18 | 30%
Total sum | 1246.56 | 2698%

## Slide 184
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220130 (part I)
CORE FB MC
Hour | MAX of ShadowPrice | RAM %
1 | 1407.58 | 143%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 794.57 | 48%
[AT-AT] Salzburg - Tauern 231A [DIR] / N-1 Salzburg - Tauern 232A | 470.56 | 31%
[D8-PL] Krajnik - Vierraden 1 [OPP] [PL] / N-1 Mikulowa - Pasikurowice | 959.58 | 20%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 1407.58 | 20%
[D7-D7] Mengede - Y Huellen WESTFL W [DIR] / N-1 Hattingen - Witten KEMNAD S | 464.61 | 25%
2 | 1304.55 | 181%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 55.9 | 53%
[AT-AT] Salzburg - Tauern 231A [DIR] / N-1 Salzburg - Tauern 232A | 833.51 | 32%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Dobrzen | 440.3 | 32%
[D8-PL] Krajnik - Vierraden 1 [OPP] [PL] / N-1 Mikulowa - Pasikurowice | 740.54 | 20%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 1304.55 | 20%
[D7-D7] Mengede - Y Huellen WESTFL W [DIR] / N-1 Hattingen - Witten KEMNAD S | 530.56 | 24%
3 | 1594.09 | 133%
[AT-AT] Salzburg - Tauern 231A [DIR] / N-1 Salzburg - Tauern 232A | 1069.76 | 33%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Dobrzen | 462.23 | 36%
[D8-PL] Krajnik - Vierraden 1 [OPP] [PL] / N-1 Mikulowa - Pasikurowice | 782.72 | 20%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 1594.09 | 20%
[D7-D7] Mengede - Y Huellen WESTFL W [DIR] / N-1 Hattingen - Witten KEMNAD S | 46.86 | 24%
4 | 1051.6 | 137%
[AT-AT] Salzburg - Tauern 231A [DIR] / N-1 Salzburg - Tauern 232A | 878.51 | 34%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Dobrzen | 366.14 | 41%
[D8-PL] Krajnik - Vierraden 1 [OPP] [PL] / N-1 Mikulowa - Pasikurowice | 516.89 | 20%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 1051.6 | 20%
[D7-D7] Mengede - Y Huellen WESTFL W [DIR] / N-1 Hattingen - Witten KEMNAD S | 747.99 | 24%
5 | 936.59 | 137%
[AT-AT] Salzburg - Tauern 231A [DIR] / N-1 Salzburg - Tauern 232A | 734.81 | 33%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Dobrzen | 313.14 | 41%
[D8-PL] Krajnik - Vierraden 1 [OPP] [PL] / N-1 Mikulowa - Pasikurowice | 414.66 | 20%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 936.59 | 20%
[D7-D7] Mengede - Y Huellen WESTFL W [DIR] / N-1 Hattingen - Witten KEMNAD S | 904.32 | 24%

## Slide 185
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220130 (part II)
CORE FB MC
6 | 1102.46 | 171%
[AT-AT] Salzburg - Tauern 231A [DIR] / N-1 Salzburg - Tauern 232A | 209.76 | 32%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Dobrzen | 296.78 | 41%
[D8-PL] Krajnik - Vierraden 1 [OPP] [PL] / N-1 Mikulowa - Pasikurowice | 357.17 | 20%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 844.55 | 20%
[D7-D7] Mengede - Y Huellen WESTFL W [DIR] / N-1 Hattingen - Witten KEMNAD S | 1102.46 | 23%
[AT-AT] Tauern - Tauern TAPST [DIR] / N-1 Schwarzenbach - Tauern 417B | 268.94 | 34%
7 | 918.93 | 258%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Gyor - Neusiedl | 39.02 | 83%
[RO-RO] Resita - Timisoara c1 [DIR] / N-1 Resita - Timisoara c2 | 19.65 | 46%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Dobrzen | 172.38 | 44%
[D8-PL] Krajnik - Vierraden 1 [OPP] [PL] / N-1 Mikulowa - Pasikurowice | 115.82 | 20%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 694.35 | 20%
[D7-D7] Mengede - Y Huellen WESTFL W [DIR] / N-1 Hattingen - Witten KEMNAD S | 918.93 | 25%
[D7-D7] Eiberg - Y Ohligs OERKHS O [DIR] / N-1 Y-Ohligs - Eiberg - St. Peter PROEWPEN | 550.45 | 20%
8 | 1588.19 | 177%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 291.64 | 65%
[RO-RO] Resita - Timisoara c1 [DIR] / N-1 Resita - Timisoara c2 | 81.61 | 48%
[D8-PL] Krajnik - Vierraden 1 [OPP] [PL] / N-1 Mikulowa - Pasikurowice | 154.76 | 20%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 482.44 | 20%
[D7-D7] Mengede - Y Huellen WESTFL W [DIR] / N-1 Hattingen - Witten KEMNAD S | 1588.19 | 25%
9 | 1329.17 | 252%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 22.96 | 57%
[NL-D2] Meeden-Diele 380 Z [OPP] [NL] / N-1 Diele - Meeden WEISS/W | 292.41 | 29%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Dobrzen | 375.24 | 36%
[SK-HU] Levice - God [DIR] [SK] / N-1 R.Sobota - Sajoivanka | 26.01 | 65%
[D8-PL] Krajnik - Vierraden 1 [OPP] [PL] / N-1 Mikulowa - Pasikurowice | 558.02 | 20%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 462.15 | 20%
[D7-D7] Mengede - Y Huellen WESTFL W [DIR] / N-1 Hattingen - Witten KEMNAD S | 1329.17 | 26%
10 | 1826.61 | 401%
[D8-D8] Pasewalk - Vierraden 306 [DIR] / N-1 Vierraden - Neuenhagen 304 | 1826.61 | 23%
[HR-BA] 220kV Zakucac - Mostar [OPP] [HR] / N-1 Konjsko - Mostar | 49.06 | 84%
[SI-AT] 400 kV Maribor - Kainachtal 1 [OPP] [SI] / N-1 Maribor-Kainachtal 2 | 14.15 | 82%
[RO-RO] Resita - Timisoara c1 [DIR] / N-1 Resita - Timisoara c2 | 289.97 | 47%
[NL-D2] Meeden-Diele 380 Z [OPP] [NL] / N-1 Diele - Meeden WEISS/W | 500.87 | 28%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Dobrzen | 542.19 | 29%
[SK-HU] Levice - God [DIR] [SK] / N-1 R.Sobota - Sajoivanka | 4.78 | 63%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 640.04 | 20%
[D7-D7] Mengede - Y Huellen WESTFL W [DIR] / N-1 Hattingen - Witten KEMNAD S | 1051.7 | 26%

## Slide 186
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220130 (part III)
CORE FB MC
11 | 1540.64 | 424%
[D8-D8] Pasewalk - Vierraden 306 [DIR] / N-1 Vierraden - Neuenhagen 304 | 1135.85 | 24%
[HR-BA] 220kV Zakucac - Mostar [OPP] [HR] / N-1 Konjsko - Mostar | 45.86 | 102%
[SI-AT] 400 kV Maribor - Kainachtal 1 [OPP] [SI] / N-1 Maribor-Kainachtal 2 | 10.39 | 83%
[RO-RO] Resita - Timisoara c1 [DIR] / N-1 Resita - Timisoara c2 | 246.88 | 54%
[NL-D2] Meeden-Diele 380 Z [OPP] [NL] / N-1 Diele - Meeden WEISS/W | 142.45 | 30%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Nosovice | 611.38 | 27%
[SK-HU] Levice - God [DIR] [SK] / N-1 R.Sobota - Sajoivanka | 36.22 | 58%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 396 | 20%
[D7-D7] Mengede - Y Huellen WESTFL W [DIR] / N-1 Hattingen - Witten KEMNAD S | 1540.64 | 25%
12 | 1433.4 | 403%
[HR-BA] 220kV Zakucac - Mostar [OPP] [HR] / N-1 Konjsko - Mostar | 51.98 | 115%
[SI-AT] 400 kV Maribor - Kainachtal 1 [OPP] [SI] / N-1 Maribor-Kainachtal 2 | 1.1 | 80%
[RO-RO] Resita - Timisoara c1 [DIR] / N-1 Resita - Timisoara c2 | 350.01 | 57%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Nosovice | 608.28 | 29%
[SK-HU] Levice - God [DIR] [SK] / N-1 R.Sobota - Sajoivanka | 20.54 | 57%
[D8-PL] Krajnik - Vierraden 1 [OPP] [PL] / N-1 Mikulowa - Pasikurowice | 560.54 | 20%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 585.14 | 20%
[D7-D7] Mengede - Y Huellen WESTFL W [DIR] / N-1 Hattingen - Witten KEMNAD S | 1433.4 | 25%
13 | 1607.11 | 283%
[RO-RO] Resita - Timisoara c1 [DIR] / N-1 Resita - Timisoara c2 | 132.03 | 54%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Nosovice | 501.51 | 32%
[SK-HU] Levice - God [DIR] [SK] / N-1 R.Sobota - Sajoivanka | 17.19 | 57%
[D8-PL] Krajnik - Vierraden 1 [OPP] [PL] / N-1 Mikulowa - Pasikurowice | 426.12 | 20%
[RO-RS] Portile de Fier - Djerdap [DIR] [RO] / N-1 Resita - Timisoara | 153.12 | 79%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 539.53 | 20%
[D7-D7] Mengede - Y Huellen WESTFL W [DIR] / N-1 Hattingen - Witten KEMNAD S | 1607.11 | 23%
14 | 1571.56 | 325%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Gyor - Neusiedl | 68.8 | 67%
[SI-AT] 400 kV Maribor - Kainachtal 1 [OPP] [SI] / N-1 Maribor-Kainachtal 2 | 8.48 | 87%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Nosovice | 461.99 | 31%
[D8-PL] Krajnik - Vierraden 1 [OPP] [PL] / N-1 Mikulowa - Pasikurowice | 278.48 | 20%
[RO-RS] Portile de Fier - Djerdap [DIR] [RO] / N-1 Resita - Timisoara | 161.84 | 78%
[D7-D7] Mengede - Y Huellen WESTFL W [DIR] / N-1 Hattingen - Witten KEMNAD S | 1571.56 | 22%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Dahlem - Niederstedem SELHN W | 422.37 | 20%

## Slide 187
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220130 (part IV)
CORE FB MC
15 | 1376.53 | 452%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Gyor - Neusiedl | 119.78 | 62%
[HR-BA] 220kV Zakucac - Mostar [OPP] [HR] / N-1 Konjsko - Mostar | 95.31 | 119%
[RO-RS] Portile de Fier - Djerdap [DIR] [RO] / N-1 Tantareni-Kozlodui | 16.12 | 72%
[SI-AT] 400 kV Maribor - Kainachtal 1 [OPP] [SI] / N-1 Maribor-Kainachtal 2 | 41.2 | 80%
[NL-D2] Meeden-Diele 380 Z [OPP] [NL] / N-1 Diele - Meeden WEISS/W | 315.23 | 26%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Nosovice | 458.91 | 32%
[D8-PL] Krajnik - Vierraden 1 [OPP] [PL] / N-1 Mikulowa - Pasikurowice | 315.74 | 20%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 372.43 | 20%
[D7-D7] Mengede - Y Huellen WESTFL W [DIR] / N-1 Hattingen - Witten KEMNAD S | 1376.53 | 23%
16 | 1389.06 | 284%
[SI-AT] 400 kV Maribor - Kainachtal 1 [OPP] [SI] / N-1 Maribor-Kainachtal 2 | 47.06 | 82%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 124.5 | 42%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 77.92 | 31%
[NL-D2] Meeden-Diele 380 Z [OPP] [NL] / N-1 Diele - Meeden WEISS/W | 337.5 | 29%
[CZ-PL] Wielopole - Nosovice [DIR] [PL] / N-1 Albrechtice - Dobrzen | 515.18 | 31%
[D8-PL] Krajnik - Vierraden 1 [OPP] [PL] / N-1 Mikulowa - Pasikurowice | 687.46 | 20%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Rheinau - Hoheneck KUGELB W | 278.8 | 24%
[D7-D7] Mengede - Y Huellen WESTFL W [DIR] / N-1 Hattingen - Witten KEMNAD S | 1389.06 | 25%
17 | 861.51 | 162%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 744.74 | 45%
[SK-SK] V.Dur - Levice 2 [DIR] / N-1 V.Dur - Levice 1 | 17.79 | 29%
[NL-D2] Meeden-Diele 380 Z [OPP] [NL] / N-1 Diele - Meeden WEISS/W | 861.51 | 27%
[D8-PL] Krajnik - Vierraden 1 [OPP] [PL] / N-1 Mikulowa - Pasikurowice | 730.13 | 20%
[D7-D7] Huellen - Y Huellen WESTFL W [OPP] / N-1 Hattingen - Witten KEMNAD S | 800.75 | 22%
[D7-D7] Buerstadt - Y Pfungstadt RIED W [OPP] / N-1 Buerstadt - Pfungstadt RIED O | 517.08 | 20%
18 | 917.41 | 129%
[D8-D8] Pasewalk - Vierraden 306 [DIR] / N-1 Vierraden - Neuenhagen 304 | 917.41 | 24%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 858.82 | 42%
[D2-NL] Diele - Meeden SCHWARZ [DIR] [D2] / N-1 Diele - Meeden WEISS/W | 503 | 43%
[D7-D2] Urberach - Grosskrotzenburg [OPP] [D2] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 630.81 | 20%

## Slide 188
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220130 (part IV)
CORE FB MC
19 | 1342.38 | 103%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 844.79 | 44%
[D2-D2] Conneforde - Diele ROT [DIR] / N-1 Conneforde - Diele WEISS | 1342.38 | 20%
[D7-D2] Urberach - Grosskrotzenburg [OPP] [D2] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 734.02 | 20%
[D8-PL] Krajnik - Vierraden 1 [OPP] [PL] / N-1 Mikulowa - Pasikurowice | 527.26 | 19%
20 | 1533.11 | 87%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 757.75 | 47%
[D7-D2] Urberach - Grosskrotzenburg [OPP] [D2] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 1533.11 | 20%
[D8-PL] Krajnik - Vierraden 1 [OPP] [PL] / N-1 Mikulowa - Pasikurowice | 509 | 19%
21 | 1344.98 | 112%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 549.07 | 52%
[D7-D2] Urberach - Grosskrotzenburg [OPP] [D2] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 1344.98 | 20%
[D2-D2] Conneforde - Diele WEISS [DIR] / N-1 Conneforde - Diele ROT | 8.71 | 20%
[D8-PL] Krajnik - Vierraden 1 [OPP] [PL] / N-1 Mikulowa - Pasikurowice | 361.67 | 19%
22 | 1120.47 | 152%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 255.7 | 52%
[D2-NL] Diele - Meeden SCHWARZ [DIR] [D2] / N-1 Diele - Meeden WEISS/W | 16.34 | 52%
[D7-D2] Urberach - Grosskrotzenburg [OPP] [D2] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 1120.47 | 20%
[AT-AT] Tauern - Tauern TAPST [DIR] / N-1 Tauern - Weissenbach 221 | 11.79 | 28%
23 | 1041.25 | 74%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 260.18 | 53%
[D2-D7] Grosskrotzenburg - Urberach UMAIN N2 [DIR] [D7] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 1041.25 | 21%
24 | 1066.53 | 117%
[SK-PL] Lemesany - Krosno Iskrz 2 [OPP] [PL] / N-1 Lemesany - Krosno Iskrz 1 | 137.84 | 54%
[AT-AT] Tauern - Tauern TAPST [DIR] / N-1 Tauern - Weissenbach 221 | 313.36 | 41%
[D2-D7] Grosskrotzenburg - Urberach UMAIN N2 [DIR] [D7] / N-1 Dettingen - Grosskrotzenburg UMAIN S1 | 1066.53 | 22%
Total sum | 1826.61 | 5098%

## Slide 189
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220131 (part I)
CORE FB MC
Hour | MAX of ShadowPrice | RAM %
1 | 1040146.96 | 0%
[D4-FR] Eichstetten - Muhlbach rt [OPP] [D4] / N-1 Daxlanden - Weingarten ge | 189879.67 | 0%
[AT-AT] Obersielach - Rosegg 267C [OPP] / N-1 Feistritz - Obersielach 268 | 289267.32 | 0%
[AT-D4] Westtirol 2 - Buers 421 [DIR] [AT] / N-1 Westtirol 1 - Westtirol 2 WTRHU41 | 500899.61 | 0%
[AT-CZ] Duernrohr 1 - Slavetice 437 [DIR] [AT] / N-1 Slavetice - Durnrohr 2 | 19651.49 | 0%
[D4-D7] Hoheneck - Pulverdingen ws [OPP] [D4] / N-1 Daxlanden - Weingarten ge | 311226.6 | 0%
[NL-BE] Rilland-Zandvliet 380 W [DIR] [NL] / N-1 PST Zandvliet 2 | 6027.45 | 0%
[AT-SI] Obersielach - Podlog 247 [OPP] [AT] / N-1 Cirkovce-Krsko | 245895.65 | 0%
[NL-BE] Maasbracht-Van Eyck 380 W [DIR] [NL] / N-1 Gramme - Lixhe 380.11 | 8117.73 | 0%
[AT-D7] Westtirol 1 - Leupolz 412 [OPP] [AT] / N-1 Westtirol - Voehringen | 1040146.96 | 0%
[AT-HU] Zurndorf - Gyoer 439B [DIR] [AT] / BASECASE | 2511.73 | 0%
2 | 25124.76 | 0%
[D8-D8] Baerwalde - Schmoelln 551 [DIR] / N-1 Baerwalde - Schmoelln 552 | 14435.1 | 0%
[AT-AT] Obersielach - Rosegg 267C [OPP] / N-1 Feistritz - Obersielach 268 | 2891.68 | 0%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Neusiedl - Wien Suedost 246A | 25124.76 | 0%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [DIR] / N-1 Westtirol - Leupolz | 4195.91 | 0%
[AT-CZ] Duernrohr 1 - Slavetice 437 [DIR] [AT] / N-1 Slavetice - Durnrohr 2 | 14049.83 | 0%
[NL-BE] Maasbracht-Van Eyck 380 W [OPP] [NL] / N-1 Achene - Gramme 380.10 | 598.04 | 0%
[D2-D2] Conneforde - Unterweser GELB [DIR] / N-1 Wehrendorf - Ohlensehlen - St.Huelfe DUEMM S1 | 9085.43 | 0%
[BE-BE] Avelgem - Horta 380.102 [DIR] / N-1 Avelgem - Horta 380.101 | 14339.25 | 0%
[AT-SI] Obersielach - Podlog 247 [DIR] [AT] / N-1 Kainachtal - Obersielach 471 | 8138.41 | 0%
3 | 71285.21 | 0%
[AT-D2] St. Peter 2 - Pleinting 258 [DIR] [AT] / N-1 Pirach - St. Peter 256 | 71285.21 | 0%
[AT-SI] Kainachtal - Maribor 473 [OPP] [AT] / N-1 Maribor-Kainachtal 2 | 44448.07 | 0%
[CZ-D8] Hradec - Rohrsdorf 445 [OPP] [D8] / N-1 Hradec - Rohrsdorf 2 | 17666.64 | 0%
[AT-AT] Suedburgenland - Wien Suedost 478 [OPP] / N-1 Oststeiermark - Wien Suedost 477 | 69111.21 | 0%
[AT-CZ] Duernrohr 1 - Slavetice 437 [DIR] [AT] / N-1 Slavetice - Durnrohr 2 | 199.61 | 0%
[NL-BE] Maasbracht-Van Eyck 380 W [OPP] [NL] / N-1 Y-Courcelles (-Gramme - Tergnee) 380.31 | 8542.02 | 0%
[AT-SI] Obersielach - Podlog 247 [DIR] [AT] / N-1 Maribor-Kainachtal 1 | 37051.34 | 0%
[BE-FR] Avelgem - Mastaing 380.79 [OPP] [BE] / N-1 Avelgem - Avelin 380.80 | 22834.07 | 0%
[AT-HU] Zurndorf - Gyoer 439B [DIR] [AT] / N-1 Sarasdorf - Zurndorf 440A | 27062.38 | 0%

## Slide 190
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220131 (part II)
CORE FB MC
4 | 944818.23 | 0%
[AT-CZ] Duernrohr 1 - Slavetice 437 [OPP] [AT] / N-1 Slavetice - Durnrohr 2 | 7608.46 | 0%
[D4-FR] Eichstetten - Muhlbach rt [OPP] [D4] / N-1 Muhlbach - Sierentz 1 | 944818.23 | 0%
[AT-HU] Zurndorf - Gyoer 439B [OPP] [AT] / BASECASE | 10975.09 | 0%
[AT-AT] Suedburgenland - Wien Suedost 478 [OPP] / N-1 Oststeiermark - Wien Suedost 477 | 35144.94 | 0%
[AT-SI] Obersielach - Podlog 247 [OPP] [AT] / N-1 Cirkovce-Krsko | 170842.2 | 0%
[BE-FR] Avelgem - Avelin 380.80 [OPP] [BE] / N-1 Avelgem - Mastaing 380.79 | 69746.62 | 0%
[D7-D7] Buerstadt - Lambsheim BUERST W [DIR] / N-1 Maasbracht - Van Eyck 380 White/28 | 908524.11 | 0%
5 | 122966.25 | 0%
[AT-CZ] Duernrohr 1 - Slavetice 437 [OPP] [AT] / N-1 Slavetice - Durnrohr 2 | 20137.19 | 0%
[D4-D7] Daxlanden - Weingarten ge (Germersheim Sued) [OPP] [D4] / N-1 Rheinau - Hoheneck KUGELB O | 38165.22 | 0%
[AT-AT] Salzburg - Tauern 231A [DIR] / N-1 Salzburg - Tauern 232A | 68153.49 | 0%
[NL-BE] Rilland-Zandvliet 380 W [DIR] [NL] / N-1 PST Zandvliet 2 | 76.61 | 0%
[BE-FR] Avelgem - Avelin 380.80 [OPP] [BE] / N-1 Avelgem - Mastaing 380.79 | 11107.54 | 0%
[AT-HU] Zurndorf - Gyoer 439B [OPP] [AT] / N-1 Gabcikovo - Gonyu | 104726.76 | 0%
[NL-D7] Maasbracht - Oberzier SELFK WS [DIR] [D7] / N-1 Achene - Gramme 380.10 | 4913.79 | 0%
[AT-HU] Zurndorf - Gyoer 439B [DIR] [AT] / N-1 Sarasdorf - Zurndorf 440A | 122966.25 | 0%
6 | 40648.44 | 0%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [DIR] / N-1 Buers - Westtirol ws (421) | 35675.55 | 0%
[AT-CZ] Duernrohr 1 - Slavetice 437 [OPP] [AT] / N-1 Slavetice - Durnrohr 2 | 2908.98 | 0%
[AT-SI] Kainachtal - Maribor 473 [DIR] [AT] / N-1 Maribor-Kainachtal 2 | 4437.92 | 0%
[NL-BE] Maasbracht-Van Eyck 380 W [DIR] [NL] / N-1 ALEGRO DC | 8437.51 | 0%
[NL-BE] Maasbracht-Van Eyck 380 W [OPP] [NL] / N-1 Y-Courcelles (-Gramme - Tergnee) 380.31 | 3544.69 | 0%
[AT-SI] Obersielach - Podlog 247 [DIR] [AT] / N-1 Cirkovce-Krsko | 27674.78 | 0%
[AT-HU] Zurndorf - Gyoer 439B [DIR] [AT] / N-1 Sarasdorf - Zurndorf 440A | 23553.74 | 0%
[D2-D2] Conneforde - Diele ROT [OPP] / N-1 Conneforde - Diele WEISS | 40648.44 | 0%
7 | 6356.83 | 0%
[AT-HU] Wien Suedost - Gyoer 245 [DIR] [AT] / N-1 Gyor - Neusiedl | 337.5 | 0%
[CZ-D8] Hradec - Rohrsdorf 445 [OPP] [D8] / N-1 Hradec - Rohrsdorf 2 | 1441.36 | 0%
[AT-HU] Zurndorf - Gyoer 439B [OPP] [AT] / N-1 Szombathely - Zurndorf | 3105.8 | 0%
[AT-SI] Kainachtal - Maribor 473 [DIR] [AT] / N-1 Maribor-Kainachtal 2 | 1078.94 | 0%
[AT-AT] Obersielach - Obersielach OSRHU41 [OPP] / N-1 Obersielach - Obersielach OSRHU42 | 6356.83 | 0%
[NL-BE] Maasbracht-Van Eyck 380 W [OPP] [NL] / N-1 Y-Courcelles (-Gramme - Tergnee) 380.31 | 107.64 | 0%
[AT-AT] St. Peter 2 - St. Peter 1 SPRHU41 [OPP] / N-1 St. Peter 2 - St. Peter 1 SPRHU42 | 3079.32 | 0%
[AT-SI] Obersielach - Podlog 247 [DIR] [AT] / N-1 Cirkovce-Krsko | 663.16 | 0%
[D7-D7] Y Paffendorf - Oberzier SECHTM S [OPP] / N-1 Sechtem - Paffendorf - Oberzier SECHTM N | 109.1 | 0%
[AT-HU] Zurndorf - Gyoer 439B [DIR] [AT] / BASECASE | 5784.01 | 0%

## Slide 191
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220131 (part III)
CORE FB MC
8 | 7192.35 | 0%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [DIR] / N-1 Buers - Westtirol rt (422) | 7192.35 | 0%
[AT-SI] Kainachtal - Maribor 473 [DIR] [AT] / N-1 Maribor-Kainachtal 2 | 1446.91 | 0%
[AT-HU] Zurndorf - Gyoer 439B [OPP] [AT] / BASECASE | 573.66 | 0%
[AT-CZ] Duernrohr 1 - Slavetice 437 [DIR] [AT] / N-1 Slavetice - Durnrohr 2 | 2014.54 | 0%
[AT-AT] Sarasdorf - Zurndorf 439A [DIR] / N-1 Sarasdorf - Zurndorf 440A | 2056.79 | 0%
[NL-BE] Rilland-Zandvliet 380 W [DIR] [NL] / N-1 PST Zandvliet 2 | 2655.19 | 0%
[NL-BE] Maasbracht-Van Eyck 380 W [OPP] [NL] / N-1 Gramme - Lixhe 380.11 | 3038.51 | 0%
[NL-D7] Maasbracht - Oberzier SELFK WS [DIR] [D7] / N-1 Achene - Gramme 380.10 | 1548.39 | 0%
9 | 1252.54 | 0%
[AT-AT] Neusiedl - Wien Suedost 246A [OPP] / N-1 Gyor - Wien | 1187.02 | 0%
[CZ-D8] Hradec - Rohrsdorf 445 [OPP] [D8] / N-1 Hradec - Rohrsdorf 2 | 148.75 | 0%
[AT-SI] Kainachtal - Maribor 473 [DIR] [AT] / N-1 Maribor-Kainachtal 2 | 8.93 | 0%
[AT-AT] Sarasdorf - Zurndorf 439A [DIR] / N-1 Sarasdorf - Zurndorf 440A | 896.17 | 0%
[AT-HU] Zurndorf - Gyoer 439B [OPP] [AT] / N-1 Sarasdorf - Zurndorf 440A | 1252.54 | 0%
[AT-SI] Obersielach - Podlog 247 [OPP] [AT] / N-1 Cirkovce-Krsko | 200.77 | 0%
[D7-D7] Y Paffendorf - Oberzier SECHTM N [DIR] / N-1 Sechtem - Paffendorf - Oberzier SECHTM S | 66.6 | 0%
10 | 15656.71 | 0%
[AT-AT] Neusiedl - Wien Suedost 246A [OPP] / N-1 Gyor - Wien | 1408.88 | 0%
[CZ-D8] Hradec - Rohrsdorf 445 [OPP] [D8] / N-1 Hradec - Rohrsdorf 2 | 5356.75 | 0%
[CZ-D2] Prestice - Etzenricht 442 [DIR] [D2] / N-1 Hradec - Etzenricht | 10173.34 | 0%
[D2-D2] Conneforde - Diele ROT [DIR] / N-1 Conneforde - Diele WEISS | 703.09 | 0%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [DIR] / N-1 Westtirol - Leupolz | 4653.74 | 0%
[AT-AT] Sarasdorf - Zurndorf 439A [DIR] / N-1 Sarasdorf - Zurndorf 440A | 1275.67 | 0%
[AT-HU] Zurndorf - Gyoer 439B [OPP] [AT] / N-1 Sarasdorf - Zurndorf 440A | 2889.43 | 0%
[NL-BE] Maasbracht-Van Eyck 380 W [OPP] [NL] / N-1 Y-Courcelles (-Gramme - Tergnee) 380.31 | 420.21 | 0%
[AT-D7] Westtirol 1 - Leupolz 412 [DIR] [AT] / N-1 Buers - Westtirol rt (422) | 15656.71 | 0%
11 | 1096.4 | 0%
[AT-AT] Neusiedl - Wien Suedost 246A [OPP] / N-1 Gyor - Wien | 578.97 | 0%
[CZ-D2] Hradec - Etzenricht 441 [OPP] [D2] / N-1 Prestice - Kocin | 90.61 | 0%
[AT-SI] Kainachtal - Maribor 473 [DIR] [AT] / N-1 Maribor-Kainachtal 2 | 6.56 | 0%
[AT-AT] Sarasdorf - Zurndorf 439A [DIR] / N-1 Sarasdorf - Zurndorf 440A | 193.34 | 0%
[D2-D8] Helmstedt - Wolmirstedt 491 [DIR] [D8] / N-1 Helmstedt - Wolmirstedt 492 | 1096.4 | 0%
[AT-HU] Zurndorf - Gyoer 439B [OPP] [AT] / N-1 Sarasdorf - Zurndorf 440A | 516.83 | 0%
[NL-BE] Maasbracht-Van Eyck 380 W [OPP] [NL] / N-1 Y-Courcelles (-Gramme - Tergnee) 380.31 | 321.18 | 0%
[AT-SI] Obersielach - Podlog 247 [OPP] [AT] / N-1 Cirkovce-Krsko | 95.93 | 0%
[BE-FR] Avelgem - Avelin 380.80 [OPP] [BE] / N-1 Avelgem - Mastaing 380.79 | 476.99 | 0%

## Slide 192
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220131 (part IV)
CORE FB MC
12 | 14731.31 | 0%
[AT-SI] Kainachtal - Maribor 473 [DIR] [AT] / N-1 Maribor-Kainachtal 2 | 1731.68 | 0%
[AT-HU] Zurndorf - Gyoer 439B [OPP] [AT] / BASECASE | 14731.31 | 0%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [DIR] / N-1 Westtirol - Leupolz | 3534.09 | 0%
[AT-CZ] Duernrohr 1 - Slavetice 437 [DIR] [AT] / N-1 Slavetice - Durnrohr 2 | 3510.32 | 0%
[AT-AT] Sarasdorf - Zurndorf 439A [DIR] / N-1 Sarasdorf - Zurndorf 440A | 1993.3 | 0%
[AT-SI] Obersielach - Podlog 247 [OPP] [AT] / N-1 Cirkovce-Krsko | 2393.36 | 0%
[D4-D7] Daxlanden - Weingarten ge (Germersheim Sued) [OPP] [D4] / N-1 ALEGRO DC | 508.46 | 0%
[D7-D7] Y Paffendorf - Oberzier SECHTM N [DIR] / N-1 Maasbracht - Van Eyck 380 White/28 | 157.05 | 0%
[AT-HU] Zurndorf - Gyoer 439B [DIR] [AT] / N-1 Gabcikovo - Gonyu | 13705.37 | 0%
13 | 6829.83 | 0%
[AT-D2] St. Peter 2 - Altheim 233_230 [DIR] [AT] / N-1 St. Peter - Altheim_Simbach 234_230 | 1495.34 | 0%
[D2-D8] Mecklar - Eisenach 450 [OPP] [D8] / N-1 Mecklar - Vieselbach 449 | 374.23 | 0%
[AT-AT] Sarasdorf - Zurndorf 439A [DIR] / N-1 Sarasdorf - Zurndorf 440A | 934.38 | 0%
[D2-D8] Helmstedt - Wolmirstedt 491 [DIR] [D8] / N-1 Helmstedt - Wolmirstedt 492 | 818.26 | 0%
[AT-HU] Zurndorf - Gyoer 439B [OPP] [AT] / N-1 Sarasdorf - Zurndorf 440A | 309.85 | 0%
[NL-BE] Rilland-Zandvliet 380 W [DIR] [NL] / N-1 PST Zandvliet 2 | 34.82 | 0%
[AT-SI] Obersielach - Podlog 247 [OPP] [AT] / N-1 Cirkovce-Krsko | 5467.12 | 0%
[AT-AT] Rosegg - Villach Sued 267B [DIR] / N-1 Feistritz - Villach 266C | 2339.94 | 0%
[AT-SI] Obersielach - Podlog 247 [DIR] [AT] / N-1 Maribor-Kainachtal 1 | 6829.83 | 0%
14 | 2751.04 | 0%
[AT-HU] Neusiedl - Gyoer 246B [OPP] [AT] / N-1 Gyor - Wien | 177.14 | 0%
[AT-SI] Kainachtal - Maribor 473 [DIR] [AT] / N-1 Maribor-Kainachtal 2 | 1993.42 | 0%
[AT-HU] Zurndorf - Gyoer 439B [OPP] [AT] / BASECASE | 65.4 | 0%
[AT-AT] Sarasdorf - Zurndorf 439A [DIR] / N-1 Sarasdorf - Zurndorf 440A | 564.37 | 0%
[D2-D8] Helmstedt - Wolmirstedt 491 [DIR] [D8] / N-1 Helmstedt - Wolmirstedt 492 | 401.7 | 0%
[AT-CH] Westtirol 1 - Pradella 427 [DIR] [AT] / N-1 Westtirol 1 - Pradella 428 | 1185.54 | 0%
[D2-D8] Altenfeld - Redwitz 459 [OPP] [D8] / N-1 Altenfeld - Redwitz 460 | 2751.04 | 0%
15 | 4189.93 | 0%
[D4-FR] Eichstetten - Muhlbach rt [OPP] [D4] / N-1 Daxlanden - Weingarten ge | 800.66 | 0%
[AT-HU] Zurndorf - Gyoer 439B [OPP] [AT] / BASECASE | 934.65 | 0%
[AT-AT] Obersielach - Rosegg 267C [OPP] / N-1 Feistritz - Obersielach 268 | 4189.93 | 0%
[AT-AT] Salzburg - Tauern 231A [DIR] / N-1 Salzburg - Tauern 232A | 4085.65 | 0%
[AT-AT] Sarasdorf - Zurndorf 439A [DIR] / N-1 Sarasdorf - Zurndorf 440A | 573.23 | 0%
[AT-SI] Obersielach - Podlog 247 [OPP] [AT] / N-1 Cirkovce-Krsko | 3098.75 | 0%
[D7-D7] Paffendorf - Rommerskirchen PAFFEN S [OPP] / N-1 Brauweiler - Rommerskirchen BRAUWL W | 104.58 | 0%

## Slide 193
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220131 (part V)
CORE FB MC
16 | 3662.36 | 0%
[AT-SI] Kainachtal - Maribor 473 [OPP] [AT] / N-1 Maribor-Kainachtal 2 | 1255.53 | 0%
[CZ-D2] Prestice - Etzenricht 442 [DIR] [D2] / N-1 Hradec - Etzenricht | 1073.63 | 0%
[AT-CZ] Duernrohr 1 - Slavetice 437 [DIR] [AT] / N-1 Slavetice - Durnrohr 2 | 103.05 | 0%
[AT-AT] Sarasdorf - Zurndorf 439A [DIR] / N-1 Sarasdorf - Zurndorf 440A | 20.29 | 0%
[D2-D8] Helmstedt - Wolmirstedt 491 [DIR] [D8] / N-1 Helmstedt - Wolmirstedt 492 | 1705.6 | 0%
[AT-SI] Obersielach - Podlog 247 [DIR] [AT] / N-1 Cirkovce-Podlog | 3662.36 | 0%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [DIR] / N-1 Oberbrunn/Kruen - Silz 251 | 165.3 | 0%
17 | 6329.63 | 0%
[AT-SI] Kainachtal - Maribor 473 [OPP] [AT] / N-1 Maribor-Kainachtal 2 | 1412.11 | 0%
[D4-FR] Eichstetten - Muhlbach rt [OPP] [D4] / N-1 Muhlbach - Sierentz 1 | 1716.56 | 0%
[AT-CZ] Duernrohr 1 - Slavetice 437 [DIR] [AT] / N-1 Slavetice - Durnrohr 2 | 1052.57 | 0%
[AT-AT] Sarasdorf - Zurndorf 439A [DIR] / N-1 Sarasdorf - Zurndorf 440A | 254.74 | 0%
[D8-D2] Remptendorf - Redwitz 414 [DIR] [D8] / N-1 Remptendorf - Redwitz 413 | 6329.63 | 0%
[AT-SI] Obersielach - Podlog 247 [DIR] [AT] / N-1 Cirkovce-Krsko | 5217.54 | 0%
[NL-D7] Maasbracht - Oberzier SELFK WS [OPP] [D7] / N-1 Maasbracht - Siersdorf SELFK SW/Z | 1814.43 | 0%
[AT-HU] Zurndorf - Gyoer 439B [DIR] [AT] / BASECASE | 360.32 | 0%
18 | 24712.79 | 0%
[AT-CZ] Duernrohr 1 - Slavetice 437 [OPP] [AT] / N-1 Slavetice - Durnrohr 2 | 2974.63 | 0%
[AT-AT] Sarasdorf - Zurndorf 439A [DIR] / N-1 Sarasdorf - Zurndorf 440A | 869.35 | 0%
[NL-BE] Maasbracht-Van Eyck 380 W [DIR] [NL] / N-1 ALEGRO DC | 853.47 | 0%
[AT-D4] Meiningen - Buers 406A [OPP] [AT] / N-1 Walgau - Werben 405B | 24712.79 | 0%
[AT-AT] Tauern - Weissenbach 222 [OPP] / N-1 Tauern - Weissenbach 221 | 11130.33 | 0%
[AT-SI] Obersielach - Podlog 247 [OPP] [AT] / N-1 Cirkovce-Podlog | 1048.87 | 0%
[D4-D7] Daxlanden - Weingarten ge (Germersheim Sued) [OPP] [D4] / N-1 Buerstadt - Lambsheim BUERST W | 9434.25 | 0%
[D7-D7] Y Paffendorf - Oberzier SECHTM N [DIR] / N-1 Sechtem - Paffendorf - Oberzier SECHTM S | 570.19 | 0%
19 | 19912.99 | 0%
[AT-CZ] Duernrohr 1 - Slavetice 437 [OPP] [AT] / N-1 Slavetice - Durnrohr 2 | 1715.04 | 0%
[D7-D7] Gronau - Gronau TR 441 E [OPP] / N-1 Gronau - Kusenhorst HAMALD | 19912.99 | 0%
[NL-NL] Krimpen a/d IJssel-Geertruidenberg 380 W [OPP] / N-1 Krimpen a/d IJssel-Geertruidenberg 380 Z | 497.89 | 0%
[AT-AT] Sarasdorf - Zurndorf 439A [DIR] / N-1 Sarasdorf - Zurndorf 440A | 848.26 | 0%
[AT-SI] Obersielach - Podlog 247 [DIR] [AT] / N-1 Maribor-Kainachtal 1 | 275.65 | 0%
[AT-HU] Zurndorf - Gyoer 439B [DIR] [AT] / BASECASE | 648.25 | 0%
[D2-D2] Conneforde - Diele ROT [OPP] / N-1 Conneforde - Diele WEISS | 17678.73 | 0%

## Slide 194
Parallel Run KPI report
KPI 10: Highest non-zero shadow prices in each hour for the simulated BD20220131 (part VI)
CORE FB MC
20 | 26163.17 | 0%
[AT-AT] Sarasdorf - Zurndorf 439A [DIR] / N-1 Sarasdorf - Zurndorf 440A | 2648.04 | 0%
[NL-BE] Maasbracht-Van Eyck 380 W [DIR] [NL] / N-1 ALEGRO DC | 491.23 | 0%
[AT-SI] Obersielach - Podlog 247 [OPP] [AT] / N-1 Cirkovce-Podlog | 26163.17 | 0%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [OPP] / N-1 Westtirol - Voehringen | 13681.19 | 0%
[D4-D7] Herbertingen - Tiengen TIENGN N [DIR] [D7] / N-1 Pradella-Y/Punt LN300153 | 6112.05 | 0%
[AT-AT] Oststeiermark - Wien Suedost 477 [OPP] / N-1 Suedburgenland - Wien Suedost 478 | 16708.14 | 0%
[AT-HU] Zurndorf - Gyoer 439B [DIR] [AT] / BASECASE | 1444.67 | 0%
21 | 9068.01 | 0%
[AT-HU] Neusiedl - Gyoer 246B [DIR] [AT] / N-1 Gyor - Wien | 470.59 | 0%
[AT-SI] Kainachtal - Maribor 473 [OPP] [AT] / N-1 Maribor-Kainachtal 2 | 3356.52 | 0%
[D8-D8] Roehrsdorf - Remptendorf 574 [DIR] / N-1 Remptendorf - Weida 575 | 3.7 | 0%
[AT-CZ] Duernrohr 1 - Slavetice 437 [DIR] [AT] / N-1 Slavetice - Durnrohr 2 | 259.94 | 0%
[NL-BE] Maasbracht-Van Eyck 380 W [OPP] [NL] / N-1 Achene - Gramme 380.10 | 30.16 | 0%
[AT-SI] Obersielach - Podlog 247 [DIR] [AT] / N-1 Cirkovce-Podlog | 9068.01 | 0%
[AT-HU] Zurndorf - Gyoer 439B [OPP] [AT] / N-1 Gabcikovo - Gonyu | 352.14 | 0%
[D7-D7] Y Paffendorf - Oberzier SECHTM S [DIR] / N-1 Sechtem - Paffendorf - Oberzier SECHTM N | 42.07 | 0%
22 | 21504.26 | 0%
[AT-CZ] Duernrohr 1 - Slavetice 437 [OPP] [AT] / N-1 Slavetice - Durnrohr 2 | 2013.84 | 0%
[AT-SI] Kainachtal - Maribor 473 [DIR] [AT] / N-1 Maribor-Kainachtal 2 | 350.36 | 0%
[NL-BE] Rilland-Zandvliet 380 W [DIR] [NL] / N-1 PST Zandvliet 2 | 1632.71 | 0%
[AT-AT] Westtirol 1 - Westtirol 2 WTRHU41 [DIR] / N-1 Oberbrunn/Kruen - Silz 251 | 5507.17 | 0%
[AT-D7] Westtirol 1 - Leupolz 412 [OPP] [AT] / N-1 Buers - Westtirol rt (422) | 21504.26 | 0%
[AT-HU] Zurndorf - Gyoer 439B [DIR] [AT] / BASECASE | 2110.63 | 0%
23 | 6071.36 | 0%
[AT-CZ] Duernrohr 1 - Slavetice 437 [OPP] [AT] / N-1 Slavetice - Durnrohr 2 | 2649.24 | 0%
[AT-SI] Kainachtal - Maribor 473 [DIR] [AT] / N-1 Maribor-Kainachtal 2 | 357.96 | 0%
[AT-AT] Sarasdorf - Zurndorf 439A [DIR] / N-1 Sarasdorf - Zurndorf 440A | 1524.96 | 0%
[AT-HU] Zurndorf - Gyoer 439B [OPP] [AT] / N-1 Gabcikovo - Gonyu | 1316.69 | 0%
[NL-BE] Maasbracht-Van Eyck 380 W [OPP] [NL] / N-1 Gramme - Lixhe 380.11 | 744.62 | 0%
[D2-D2] Conneforde - Diele ROT [OPP] / N-1 Conneforde - Diele WEISS | 6071.36 | 0%
24 | 1808.96 | 0%
[AT-CZ] Duernrohr 1 - Slavetice 437 [OPP] [AT] / N-1 Slavetice - Durnrohr 2 | 1808.96 | 0%
[AT-D2] St. Peter 2 - Pleinting 258 [DIR] [AT] / N-1 Pirach - St. Peter 256 | 1665.82 | 0%
[CZ-D2] Hradec - Etzenricht 441 [OPP] [D2] / N-1 Prestice - Etzenricht | 1086.16 | 0%
[AT-AT] Sarasdorf - Zurndorf 439A [DIR] / N-1 Sarasdorf - Zurndorf 440A | 503.46 | 0%
[AT-HU] Zurndorf - Gyoer 439B [OPP] [AT] / N-1 Gabcikovo - Gonyu | 509.38 | 0%
[D2-D7] Asslar - Dauersberg WESTW W1 [OPP] [D7] / N-1 Kriftel - Limburg HESSEN O | 58.4 | 0%
[NL-D7] Maasbracht - Oberzier SELFK WS [DIR] [D7] / N-1 Achene - Gramme 380.10 | 1510.23 | 0%
Total sum | 1040146.96 | 0%

## Slide 195
Parallel Run KPI report
KPI 11: Core Social Welfare
BD20220102

## Slide 196
Parallel Run KPI report
KPI 11: Core Social Welfare
BD20220103

## Slide 197
Parallel Run KPI report
KPI 11: Core Social Welfare
BD20220104

## Slide 198
Parallel Run KPI report
KPI 11: Core Social Welfare
BD20220105

## Slide 199
Parallel Run KPI report
KPI 11: Core Social Welfare
BD20220106

## Slide 200
Parallel Run KPI report
KPI 11: Core Social Welfare
BD20220107

## Slide 201
Parallel Run KPI report
KPI 11: Core Social Welfare
BD20220108

## Slide 202
Parallel Run KPI report
KPI 11: Core Social Welfare
BD20220109

## Slide 203
Parallel Run KPI report
KPI 11: Core Social Welfare
BD20220110

## Slide 204
Parallel Run KPI report
KPI 11: Core Social Welfare
BD20220111

## Slide 205
Parallel Run KPI report
KPI 11: Core Social Welfare
BD20220112

## Slide 206
Parallel Run KPI report
KPI 11: Core Social Welfare
BD20220113

## Slide 207
Parallel Run KPI report
KPI 11: Core Social Welfare
BD20220114

## Slide 208
Parallel Run KPI report
KPI 11: Core Social Welfare
BD20220115

## Slide 209
Parallel Run KPI report
KPI 11: Core Social Welfare
BD20220116

## Slide 210
Parallel Run KPI report
KPI 11: Core Social Welfare
BD20220118

## Slide 211
Parallel Run KPI report
KPI 11: Core Social Welfare
BD20220119

## Slide 212
Parallel Run KPI report
KPI 11: Core Social Welfare
BD20220120

## Slide 213
Parallel Run KPI report
KPI 11: Core Social Welfare
BD20220121

## Slide 214
Parallel Run KPI report
KPI 11: Core Social Welfare
BD20220123

## Slide 215
Parallel Run KPI report
KPI 11: Core Social Welfare
BD20220124

## Slide 216
Parallel Run KPI report
KPI 11: Core Social Welfare
BD20220125

## Slide 217
Parallel Run KPI report
KPI 11: Core Social Welfare
BD20220126

## Slide 218
Parallel Run KPI report
KPI 11: Core Social Welfare
BD20220128

## Slide 219
Parallel Run KPI report
KPI 11: Core Social Welfare
BD20220130

## Slide 220
Parallel Run KPI report
KPI 11: Core Social Welfare
BD20220131

## Slide 221
Parallel Run KPI report
KPI 12: Paradoxically rejected blocks (PRBs)
Chart: Number of PRBs
| 20220102 | 20220103 | 20220104 | 20220105 | 20220106 | 20220107 | 20220108 | 20220109 | 20220110 | 20220111 | 20220112 | 20220113 | 20220114 | 20220115 | 20220116 | 20220118 | 20220119 | 20220120 | 20220121 | 20220123 | 20220124 | 20220125 | 20220126 | 20220128 | 20220130 | 20220131
Number of PRBs | 3 | 19 | 7 | 20 | 8 | 13 | 6 | 11 | 10 | 19 | 10 | 23 | 11 | 9 | 17 | 8 | 25 | 15 | 14 | 9 | 9 | 12 | 16 | 16 | 10 | 13
Number of PRB_Prod | 5 | 13 | 8 | 23 | 9 | 21 | 17 | 8 | 8 | 12 | 21 | 36 | 23 | 17 | 13 | 10 | 34 | 92 | 20 | 9 | 9 | 20 | 21 | 15 | 19 | 9