## Limitations
Description of issue / limitation | FROM BD | TO BD
The results are calculated according to the ID CCM and the Core TSOs are confident the central tooling is stable enough to start the External //Run. Core TSOs would like to emphasize that: - The central business process is still subject to short-term changes. - Core TSOs are continuously improving the local processes. - Core TSOs will continue to analyse the EXT//Run results to improve the results both in terms of levels of ID ATCs and security of the grid. | 2022-12-05 | TBD
Due to an issue in the CCCt, the RefProg contains zero values for DE-DK2 borders. | 2022-12-05 | TBD
The values reported are global net positions instead of Core net positions | 2022-12-05 | TBD
Due to the testing of developed features in the ID validation tool, HOPS IVAs were not fully representative (it's not possible to judge the level of representativeness for provided IVAs in the specified period) | 5.12.2022. | 18.01.2023.
After the local validation tool and the grid security assessment, it was found that the ČEPS validation tool produced stricter IVAs than what was absolutely necessary from the grid security point of view. The IVAs applied in the given period were not fully representative. It is expected that further IVAs will be less frequent. | 2022-12-05 | 2023-03-28
IVA values provided by SEPS on BD 02/02/2023 are not representative as they were mistakenly provided during the testing of the local validation tool. | 2023-02-02 | 2023-02-02