## IDCC(a)
Parameters for the IDCC(a) capacity calculation process
Common parameters for all TSOs
PTDF threshold | 0.5%
RAM_ID threshold | 10 MW
FRM | 10%
PTDFs of CNECs with a RAM below the RAM_ID threshold will be set to zero during the ATC extraction step if they are below the PTDF threshold.
The FRM is the flow reliability margin, which is the reliability margin as defined in Article 2(14) of the CACM Regulation applied to a CNE.
Individual parameters per TSO
| 50 Hertz | Amprion | APG | CEPS | ELES | ELIA | HOPS | MAVIR | PSE | RTE | SEPS | TTG | TTN | TEL | TNG
rLTAincl | 0.2 | 0.2 | 0 | 1 | 1 | 1 | 1 | 0.2 | 0 | 1 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2
rAMRid | 0.2 | 0.2 | 0 | 0.7 | 0.7 | 0.2 | 0.4 | 0.2 | 0.2 | 0.2 | 0.5 | 0.2 | 0.2 | 0.2 | 0.2
The parameters rLTAincl and rAMRid are used to modify the RAMf,DA according to Article 11(2) of the ID CCM.
The parameter rLTAincl determines which share of LTAs will be taken into account for the IDCC(a) capacity calculation. A parameter of 0.2 means that 20% of the LTAs will be taken into account.
The parameter rAMRid determines which share of minRAM will be taken into account for the IDCC(a) capacity calculation. A parameter of 0.2 means that a 20% minRAM is applied.
Note that the RAMf,DA will be adapted to reflect the already allocated capacities according to Article 11 (1) of the ID CCM. rLTAincl and rAMRid will therefore not guarantee any minimum capacity available for ID trade.

## IDCC(b)
Parameters for the IDCC(b) capacity calculation process
Common parameters for all TSOs
PTDF threshold | 3%
RAM_ID threshold | 50 MW
FRM | 5%
PTDFs of CNECs with a RAM below the RAM_ID threshold will be set to zero during the ATC extraction step if they are below the PTDF threshold.
The FRM is the flow reliability margin, which is the reliability margin as defined in Article 2(14) of the CACM Regulation applied to a CNE.